## Offsets
Site | Start | End | Offset_in | Overall_Offset_in | Neg_Level_as_ZeroFlow | Notes | Analyst
CAR-070 | 2019-05-11 14:15 | 2019-05-19 00:10 | 0 | 0.09 | TRUE |  | AM
CAR-070 | 2019-07-01 15:50 | 2019-10-01 | -0.35 |  | TRUE |  | AM
CAR-072 | 2019-05-01 | 2019-05-01 14:00 | -11 | 0 | TRUE |  | AM
CAR-072 | 2019-05-01 12:45 | 2019-05-02 16:00 | 5 | 0 | TRUE |  | AM
CAR-072 | 2019-05-01 14:00 | 2019-05-01 16:05 | 4 | 0 | TRUE |  | AM
CAR-072 | 2019-05-02 16:05 | 2019-05-02 17:05 | -4 | 0 | TRUE |  | AM
CAR-072B | 2019-07-01 14:45 | 2019-09-15 23:55 | -0.2 | -0.065 | TRUE | not sure where this data is not working | AM
CAR-072O |  |  |  | -0.045 | TRUE | not sure where this data is not working | LD
SDG-072 | 2019-05-01 | 2019-05-02 13:20 | 0 | 0.06 | TRUE |  | AM
SDG-072 | 2019-08-30 16:40 | 2019-09-15 12:00 | -0.2 | 0.06 | TRUE | offset after reinstall | AM
SDG-080 |  |  |  | 0 | TRUE |  | AM
SDG-084 | 2019-05-02 23:00 | 2019-05-05 23:30 | -1 | -0.1 | TRUE | Looks like a probable obstruction in the v, offset to match baseflow (AM) | AM
SDG-084J | 2019-05-01 | 2019-05-06 13:55 | 2.65 |  | TRUE |  | LD
SDG-084J | 2019-06-18 13:30 | 2019-10-01 12:00 | 0.25 | 0.1 | TRUE | New probe installed 6/18 | AM
SDG-085 |  |  |  | 0 | false |  | AM
SDG-085G |  |  |  | 0.1 | TRUE |  | AM
SDG-085M |  |  | 0 | 0.03 | FALSE |  | AM
SDR-036 | 2019-05-01 | 2019-05-31 23:59 | 0 | 0 | TRUE |  | LD
SDR-041 | 2019-05-01 | 2019-05-04 17:45 | 3.5 | 0 | TRUE |  | AM
SDR-041 | 2019-05-04 17:45 | 2019-05-07 03:55 | 3.1 | 1.63 | TRUE |  | AM
SDR-041 | 2019-07-16 12:05 | 2019-10-01 | 2.9 |  | TRUE |  | AM
SDR-064 |  |  | 0 | -0.15 | TRUE |  | AM
SDR-097 |  |  |  | -0.05 | TRUE |  | AM
SDR-098 | 2019-08-01 | 2019-09-15 23:55 | -0.18 |  | TRUE |  | AM
SDR-1024 |  |  |  |  | TRUE |  | LD
SDR-1031 |  |  |  |  | TRUE |  | LD
SDR-127 | 2019-06-17 14:05 | 2019-09-15 23:59 | -0.7 | 0 | TRUE |  | AM
SDR-127B |  |  | 0 | -0.025 | TRUE |  | AM
SDR-203A |  |  |  |  | TRUE |  | AM
SDR-204A |  |  |  |  | TRUE |  | LD
SDR-207 |  |  | 0 | 0.15 | TRUE |  | AM
SDR-223 |  |  |  |  | TRUE |  | AM
SDR-228 |  |  |  |  | TRUE |  | AM
SDR-568 |  |  |  |  | TRUE |  | JN
SDR-723 |  |  |  |  | TRUE |  | JN
SDR-740 |  |  |  |  | TRUE |  | AM
SDR-751 |  |  |  |  | TRUE |  | JN
SDR-772 |  |  | 0 | 0.2 | TRUE |  | JN
SDR-780 |  |  |  |  | TRUE |  | LD
SDR-939 |  |  |  |  | True |  | AM
SLR-045 | 2019-05-01 | 2019-05-01 20:15 |  | 0 | TRUE |  | JN
SLR-045A | 2019-05-01 | 2019-05-01 20:15 | 2.2 | 0.5 | TRUE |  | LD
SLR-045A | 2019-07-01 11:45 | 2019-07-15 15:00 | 2.2 |  |  |  | JN
SLR-045A | 2019-07-15 15:05 | 2019-07-31 23:55 | 0.65 | 0.5 | TRUE |  | JN
SLR-045B |  |  |  | 0.1 | TRUE |  | LD
SLR-095 | 2019-05-07 15:35 | 2019-05-09 17:00 | 0 | 0 | TRUE |  | JN
SLR-095 | 2019-06-17 14:30 | 2019-09-30 23:55 | 0.1 | 0 | TRUE |  | AM
SWT-019 | 2019-05-01 | 2019-05-07 18:30 | 4.25 |  | TRUE |  | LD
SWT-019 | 2019-05-07 18:30 | 2019-05-08 17:00 | 3.5 |  | TRUE |  | LD
SWT-019 |  |  |  | 0.25 | TRUE |  | LD
SWT-030 |  |  |  |  | TRUE |  | AM
SWT-055 |  |  |  |  | TRUE |  | LD
SWT-055A |  |  | 0 | 0 | TRUE |  | JN

## Clips
Site | Start | End | Reason | Notes | Analyst
CAR-070 | 2019-05-01 | 2019-05-02 20:00 | Bad data |  | AM
CAR-070 | 2019-05-06 09:00 | 2019-05-06 14:00 | Storm |  | AM
CAR-070 | 2019-05-07 03:00 | 2019-05-07 11:00 | Storm |  | LD
CAR-070 | 2019-05-09 02:45 | 2019-05-09 14:00 | Storm |  | LD
CAR-070 | 2019-05-11 03:40 | 2019-05-11 12:20 | Storm |  | LD
CAR-070 | 2019-05-16 09:00 | 2019-05-16 15:00 | Storm |  | AM
CAR-070 | 2019-05-19 | 2019-05-20 15:00 | Storm |  | AM
CAR-070 | 2019-05-26 08:00 | 2019-05-26 13:00 | Storm |  | AM
CAR-070 | 2019-05-26 19:00 | 2019-05-31 06:00 | Storm/ Bad Data |  | AM
CAR-070 | 2019-06-13 12:55 | 2019-06-17 12:35 | Data gap-Battery failure | Battery failure | AM
CAR-070 | 2019-06-21 05:55 | 2019-06-21 11:55 | Storm |  | JN
CAR-070 | 2019-07-01 15:35 | 2019-07-01 15:50 | removed probe to clean |  | LD
CAR-072 | 2019-05-01 | 2019-05-01 16:10 | Leaking |  | LD
CAR-072 | 2019-05-02 16:00 | 2019-05-02 17:10 | Bad data |  | LD
CAR-072 | 2019-05-07 03:00 | 2019-05-07 17:00 | Storm |  | LD
CAR-072 | 2019-05-09 02:45 | 2019-05-09 17:20 | Storm |  | LD
CAR-072 | 2019-05-11 03:40 | 2019-05-11 17:20 | Storm |  | LD
CAR-072 | 2019-05-16 09:00 | 2019-05-16 19:00 | Storm |  | LD
CAR-072 | 2019-05-19 02:00 | 2019-05-22 07:00 | Storm |  | LD
CAR-072 | 2019-05-26 08:15 | 2019-05-26 11:15 | Storm |  | LD
CAR-072 | 2019-05-26 19:00 | 2019-05-28 01:00 | Storm |  | AM
CAR-072 | 2019-06-21 05:55 | 2019-06-21 11:55 | Storm |  | JN
CAR-072 | 2019-07-01 13:50 | 2019-07-01 14:00 | erroneous data |  | AM
CAR-072 | 2019-08-01 13:50 | 2019-08-01 14:50 | Sprinkler shooting into weir? |  | AM
CAR-072 | 2019-09-15 12:50 | 2019-09-15 23:55 | obstruction in weir-confirmed by gamecam |  | AM
CAR-072B | 2019-05-01 | 2019-05-02 08:00 | Bad data |  | AM
CAR-072B | 2019-05-06 09:00 | 2019-05-06 16:00 | Storm |  | LD
CAR-072B | 2019-05-07 03:15 | 2019-05-07 11:15 | Storm | 15 min data | LD
CAR-072B | 2019-05-09 02:00 | 2019-05-09 11:30 | Storm | 15 min data | LD
CAR-072B | 2019-05-09 23:00 | 2019-05-10 01:00 | Storm | 15 min data | LD
CAR-072B | 2019-05-11 05:00 | 2019-05-11 11:15 | Storm | 15 min data | AM
CAR-072B | 2019-05-16 07:00 | 2019-05-16 17:00 | Storm |  | AM
CAR-072B | 2019-05-19 01:00 | 2019-05-21 02:00 | Storm |  | AM
CAR-072B | 2019-05-26 19:00 | 2019-05-27 10:00 | Storm |  | AM
CAR-072B | 2019-06-21 05:55 | 2019-06-21 11:55 | Storm |  | JN
CAR-072B | 2019-07-01 14:15 | 2019-07-01 14:45 | erroneous data |  | AM
CAR-072O | 2019-05-01 | 2019-05-06 18:00 | Storm | 15 min data | LD
CAR-072O | 2019-05-07 03:15 | 2019-05-07 11:15 | Storm | 15 min data | LD
CAR-072O | 2019-05-09 03:30 | 2019-05-09 11:30 | Storm | 15 min data | LD
CAR-072O | 2019-05-11 05:00 | 2019-05-11 12:45 | Storm | 15 min data | AM
CAR-072O | 2019-05-16 09:00 | 2019-05-16 16:00 | Storm |  | AM
CAR-072O | 2019-05-19 01:30 | 2019-05-20 16:00 | Storm |  | AM
CAR-072O | 2019-05-26 07:00 | 2019-05-27 16:00 | Storm |  | AM
CAR-072O | 2019-06-17 03:00 | 2019-06-17 11:55 | Storm/Obstruction in weir-confirmed |  | AM
CAR-072O | 2019-06-21 05:55 | 2019-06-21 11:55 | Storm |  | AM
SDG-072 | 2019-05-01 12:00 | 2019-05-13 01:00 | Storm/Weir leaking and replaced |  | LD
SDG-072 | 2019-05-06 08:40 | 2019-05-07 17:15 | Storm |  | AM
SDG-072 | 2019-05-16 09:15 | 2019-05-16 20:00 | Storm |  | AM
SDG-072 | 2019-05-19 01:00 | 2019-05-23 16:00 | Storm |  | AM
SDG-072 | 2019-05-26 07:00 | 2019-05-27 19:00 | Storm |  | AM
SDG-072 | 2019-06-16 22:00 | 2019-06-17 23:55 | Storm |  | AM
SDG-072 | 2019-06-21 01:55 | 2019-06-21 11:55 | Storm |  | AM
SDG-072 | 2019-08-29 13:40 | 2019-08-30 16:55 | Repairing leak |  | AM
SDG-072 | 2019-08-30 16:55 | 2019-09-02 05:30 | Obstruction in weir-confirmed |  | AM
SDG-072 | 2019-09-04 15:30 | 2019-09-09 12:20 | Obstruction in weir-confirmed |  | AM
SDG-080 | 2019-05-01 | 2019-05-02 14:00 | Bad sensor |  | LD
SDG-080 | 2019-05-06 08:25 | 2019-05-06 12:00 | Storm |  | LD
SDG-080 | 2019-05-07 03:00 | 2019-05-07 11:00 | Storm |  | LD
SDG-080 | 2019-05-11 03:00 | 2019-05-11 09:25 | Storm |  | LD
SDG-080 | 2019-05-11 16:25 | 2019-05-12 09:00 | Storm |  | AM
SDG-080 | 2019-05-16 09:00 | 2019-05-20 18:00 | Storm/Bad data? (weird offset) |  | AM
SDG-080 | 2019-05-23 09:00 | 2019-05-23 13:00 | Storm |  | AM
SDG-080 | 2019-05-26 07:00 | 2019-05-27 16:00 | Storm |  | AM
SDG-080 | 2019-06-02 17:00 | 2019-06-04 10:20 | Obstruction in weir-confirmed |  | AM
SDG-080 | 2019-06-10 17:00 | 2019-06-12 02:30 | Obstruction in weir-unconfirmed |  | AM
SDG-080 | 2019-06-21 01:55 | 2019-06-21 11:55 | Storm |  | AM
SDG-080 | 2019-07-09 03:45 | 2019-07-12 08:45 | debris |  | RF
SDG-080 | 2019-07-29 22:45 | 2019-07-30 10:45 | debris |  | AM
SDG-080 | 2019-08-01 22:45 | 2019-08-08 10:45 | debris |  | AM
SDG-080 | 2019-09-03 15:00 | 2019-09-05 10:25 | debris |  | AM
SDG-084 | 2019-05-02 22:45 | 2019-05-02 23:15 | BadData | Bad data? | LD
SDG-084 | 2019-05-06 08:25 | 2019-05-06 12:00 | Storm | 15 min data | LD
SDG-084 | 2019-05-06 20:00 | 2019-05-07 12:00 | Storm | 15 min data | LD
SDG-084 | 2019-05-08 20:00 | 2019-05-09 12:00 | Storm | 15 min data; rain in Encinitas gauge but not RB | LD
SDG-084 | 2019-05-10 23:00 | 2019-05-12 | Storm | 15 min data | LD
SDG-084 | 2019-05-16 09:00 | 2019-05-16 15:00 | Storm |  | LD
SDG-084 | 2019-05-19 09:00 | 2019-05-20 21:00 | Storm |  | AM
SDG-084 | 2019-05-20 21:00 | 2019-06-18 00:40 | Bad sensor | Hard to say when this issue started but the Ultrasonic shows almost no change and this sensor was registering several inches of level | LD
SDG-084 | 2019-05-21 13:00 | 2019-05-21 22:00 | Storm |  | LD
SDG-084 | 2019-05-23 09:00 | 2019-05-23 13:00 | Storm |  | LD
SDG-084 | 2019-05-26 07:00 | 2019-05-26 13:00 | Storm |  | LD
SDG-084 | 2019-05-26 19:00 | 2019-05-27 10:00 | Storm |  | JN
SDG-084 | 2019-07-01 16:45 | 2019-07-02 14:00 | debris- confirmed by game cam |  | JN
SDG-084 | 2019-07-08 19:15 | 2019-07-11 18:30 | debris- confirmed by game cam |  | JN
SDG-084 | 2019-07-16 15:40 | 2019-07-22 13:30 | battery failure |  | RF
SDG-084 | 2019-07-16 15:45 | 2019-07-22 13:15 | Data gap. Possible battery failure. |  | JN
SDG-084 | 2019-07-24 20:24 | 2019-07-26 16:05 | debris- confirmed by game cam |  | JN
SDG-084 | 2019-07-28 20:15 | 2019-07-30 06:20 | debris |  | JN
SDG-084 | 2019-07-30 06:20 | 2019-08-01 | bad probe- replaced |  | AM
SDG-084 | 2019-08-19 05:00 | 2019-08-23 14:45 | debris- confirmed by game cam |  | AM
SDG-084 | 2019-08-26 18:00 | 2019-08-29 13:15 | debris- confirmed by game cam |  | AM
SDG-084 | 2019-09-05 20:45 | 2019-09-08 05:45 | debris- confirmed by game cam |  | AM
SDG-084 | 2019-09-08 20:45 | 2019-09-15 23:55 | debris- confirmed by game cam |  | AM
SDG-084J | 2019-05-01 | 2019-05-06 14:05 | Bad data |  | AM
SDG-084J | 2019-05-16 09:00 | 2019-05-23 13:00 | Storm | No noticeable storm peaks on hydrographs | AM
SDG-084J | 2019-06-14 17:35 | 2019-06-15 05:05 | Data dropout |  | AM
SDG-084J | 2019-06-18 13:10 | 2019-06-18 13:25 | Replacing probe |  | AM
SDG-084J | 2019-06-29 00:15 | 2019-06-29 04:10 | Data dropout |  | JN
SDG-084J | 2019-07-12 14:15 | 2019-07-13 19:00 | erroneous data | determined erroneous by virtue of no change in conductivity data | JN
SDG-084J | 2019-07-31 11:45 | 2019-07-31 21:10 | cleaned out sediment causing ponded water level drop |  | LD
SDG-085 | 2019-05-06 08:25 | 2019-05-06 12:00 | Storm |  | LD
SDG-085 | 2019-05-07 03:00 | 2019-05-07 11:00 | Storm |  | LD
SDG-085 | 2019-05-11 03:00 | 2019-05-11 09:25 | Storm |  | LD
SDG-085 | 2019-05-11 16:25 | 2019-05-12 09:00 | Storm |  | LD
SDG-085 | 2019-05-16 09:00 | 2019-05-16 15:00 | Storm |  | LD
SDG-085 | 2019-05-19 09:45 | 2019-05-19 17:00 | Storm |  | LD
SDG-085 | 2019-05-19 22:00 | 2019-05-20 19:00 | Storm |  | LD
SDG-085 | 2019-05-26 07:00 | 2019-05-26 14:00 | Storm |  | LD
SDG-085 | 2019-05-26 07:00 | 2019-05-26 14:00 | Storm |  | LD
SDG-085 | 2019-05-26 18:00 | 2019-05-27 06:00 | Storm |  | AM
SDG-085 | 2019-06-04 12:15 | 2019-06-07 17:15 | Obstruction in weir-confirmed |  | JN
SDG-085 | 2019-07-01 21:00 | 2019-07-02 13:00 | debris- confirmed by game cam |  | JN
SDG-085 | 2019-07-03 05:30 | 2019-07-05 22:00 | debris- confirmed by game cam |  | JN
SDG-085 | 2019-07-07 08:05 | 2019-07-07 10:00 | debris- confirmed by game cam |  | JN
SDG-085 | 2019-07-13 21:00 | 2019-07-14 13:00 | debris- confirmed by game cam |  | JN
SDG-085 | 2019-07-18 20:00 | 2019-07-25 21:45 | debris- confirmed by game cam |  | LD
SDG-085 | 2019-09-03 | 2019-09-04 07:40 | sensor error? Possibly buried in sediment and clogged the probe
SDG-085G | 2019-05-06 08:25 | 2019-05-06 12:00 | Storm | 15 min data | LD
SDG-085G | 2019-05-06 23:00 | 2019-05-07 12:00 | Storm | 15 min data | LD
SDG-085G | 2019-05-11 17:00 | 2019-05-11 20:15 | Storm | 15 min data | AM
SDG-085G | 2019-05-16 09:00 | 2019-05-16 15:00 | Storm |  | AM
SDG-085G | 2019-05-19 09:45 | 2019-05-19 17:00 | Storm |  | AM
SDG-085G | 2019-05-19 22:00 | 2019-05-20 19:00 | Storm |  | AM
SDG-085G | 2019-05-26 07:00 | 2019-05-26 14:00 | Storm |  | AM
SDG-085G | 2019-05-26 18:00 | 2019-05-27 06:00 | Storm |  | LD
SDG-085M | 2019-05-06 00:45 | 2019-05-07 15:25 | Storm | storm flows seem small and suspect | AM
SDG-085M | 2019-05-06 23:00 | 2019-05-07 12:00 | Storm |  | AM
SDG-085M | 2019-05-16 09:00 | 2019-05-16 15:00 | Data Gap |  | AM
SDG-085M | 2019-05-19 09:45 | 2019-05-21 16:00 | Storm |  | RF
SDR-036 | 2019-05-06 09:45 | 2019-05-06 19:00 | Storm |  | LD
SDR-036 | 2019-05-07 04:20 | 2019-05-07 14:00 | Storm |  | LD
SDR-036 | 2019-05-08 04:50 | 2019-05-08 07:00 | Storm |  | LD
SDR-036 | 2019-05-08 20:30 | 2019-05-09 02:00 | Storm |  | LD
SDR-036 | 2019-05-09 20:45 | 2019-05-10 03:00 | Storm |  | LD
SDR-036 | 2019-05-11 08:00 | 2019-05-11 19:00 | Storm |  | AM
SDR-036 | 2019-05-16 09:50 | 2019-05-16 19:00 | Storm |  | AM
SDR-036 | 2019-05-19 10:20 | 2019-05-20 18:00 | Storm |  | AM
SDR-036 | 2019-05-22 01:00 | 2019-05-23 14:00 | Storm |  | AM
SDR-036 | 2019-05-26 09:00 | 2019-05-27 16:00 | Storm |  | AM
SDR-036 | 2019-06-04 05:00 | 2019-06-04 06:00 | Storm |  | AM
SDR-036 | 2019-06-16 19:00 | 2019-06-17 13:00 | Storm |  | LD
SDR-041 | 2019-05-06 09:35 | 2019-05-06 14:30 | Storm |  | AM
SDR-041 | 2019-05-07 03:30 | 2019-05-18 | Storm/Probe damaged by storm |  | AM
SDR-041 | 2019-05-19 10:10 | 2019-07-16 12:00 | Storm/Probe damaged by storm |  | JN
SDR-041 | 2019-07-18 10:40 | 2019-07-18 13:00 | debris- confirmed by game cam |  | JN
SDR-041 | 2019-07-20 18:00 | 2019-07-21 02:00 | debris- confirmed by game cam |  | JN
SDR-041 | 2019-07-23 01:15 | 2019-07-23 03:45 | debris- confirmed by game cam |  | JN
SDR-041 | 2019-07-23 12:05 | 2019-07-24 14:00 | debris- confirmed by game cam |  | JN
SDR-041 | 2019-07-25 15:00 | 2019-07-25 18:55 | debris- confirmed by game cam |  | JN
SDR-041 | 2019-07-29 15:35 | 2019-07-30 00:15 | debris- confirmed by game cam |  | AM
SDR-041 | 2019-08-13 | 2019-08-14 12:00 | debris- confirmed by game cam |  | AM
SDR-041 | 2019-08-20 02:25 | 2019-08-27 02:25 | debris- confirmed by game cam |  | AM
SDR-041 | 2019-08-31 19:00 | 2019-09-01 | debris- confirmed by game cam |  | AM
SDR-041 | 2019-09-04 14:45 | 2019-09-05 | Storm |  | LD
SDR-064 | 2019-05-06 07:00 | 2019-05-06 12:00 | Storm |  | LD
SDR-064 | 2019-05-07 03:00 | 2019-05-07 10:00 | Storm |  | LD
SDR-064 | 2019-05-10 03:00 | 2019-05-10 09:00 | Storm |  | LD
SDR-064 | 2019-05-11 06:00 | 2019-05-11 17:15 | Storm |  | AM
SDR-064 | 2019-05-16 10:00 | 2019-05-16 15:00 | Storm |  | AM
SDR-064 | 2019-05-19 10:10 | 2019-05-19 16:00 | Storm |  | AM
SDR-064 | 2019-05-19 22:30 | 2019-05-20 18:00 | Storm |  | AM
SDR-064 | 2019-05-22 08:00 | 2019-05-22 22:00 | Storm |  | AM
SDR-064 | 2019-05-23 12:30 | 2019-05-23 20:30 | Storm |  | AM
SDR-064 | 2019-05-26 09:00 | 2019-05-27 09:30 | Storm |  | LD
SDR-097 | 2019-05-06 09:30 | 2019-05-06 23:45 | Storm |  | LD
SDR-097 | 2019-05-07 04:00 | 2019-05-08 12:00 | Storm |  | LD
SDR-097 | 2019-05-10 06:30 | 2019-05-10 14:00 | Storm |  | LD
SDR-097 | 2019-05-11 08:00 | 2019-05-12 23:00 | Storm |  | AM
SDR-097 | 2019-05-16 10:00 | 2019-05-17 04:00 | Storm |  | AM
SDR-097 | 2019-05-19 10:00 | 2019-05-21 12:00 | Storm |  | AM
SDR-097 | 2019-05-22 05:20 | 2019-05-23 23:00 | Storm |  | AM
SDR-097 | 2019-05-26 09:00 | 2019-05-28 10:00 | Storm |  | AM
SDR-098 | 2019-05-01 | 2019-05-04 12:00 | Bad sensor |  | LD
SDR-098 | 2019-05-06 09:40 | 2019-05-06 17:00 | Storm |  | LD
SDR-098 | 2019-05-07 04:00 | 2019-05-07 15:00 | Storm |  | LD
SDR-098 | 2019-05-08 20:00 | 2019-05-09 01:00 | Storm |  | LD
SDR-098 | 2019-05-09 21:00 | 2019-05-10 00:30 | Storm |  | LD
SDR-098 | 2019-05-11 08:00 | 2019-05-11 16:00 | Storm |  | AM
SDR-098 | 2019-05-16 10:00 | 2019-05-17 04:00 | Storm |  | AM
SDR-098 | 2019-05-19 10:00 | 2019-05-21 12:00 | Storm |  | AM
SDR-098 | 2019-05-22 05:20 | 2019-05-23 23:00 | Storm |  | AM
SDR-098 | 2019-05-26 09:00 | 2019-05-27 12:00 | Storm |  | AM
SDR-1024 | 2019-05-06 09:05 | 2019-05-06 13:35 | Storm |  | AM
SDR-1024 | 2019-05-07 03:00 | 2019-05-07 12:00 | Storm |  | AM
SDR-1024 | 2019-05-10 04:20 | 2019-05-10 09:00 | Storm |  | AM
SDR-1024 | 2019-05-11 08:15 | 2019-05-11 19:30 | Storm |  | AM
SDR-1024 | 2019-05-16 08:00 | 2019-05-16 18:50 | Storm |  | AM
SDR-1024 | 2019-05-19 10:15 | 2019-05-20 17:00 | Storm |  | AM
SDR-1024 | 2019-05-22 05:30 | 2019-05-23 15:45 | Storm |  | AM
SDR-1024 | 2019-05-26 20:25 | 2019-05-27 13:45 | Storm |  | AM
SDR-1024 | 2019-06-17 12:45 | 2019-06-18 01:00 | Data gap (batteries) |  | JN
SDR-1024 | 2019-07-18 06:00 | 2019-07-25 | Data Missing. Potentially due to connection issues from logger. |  | AM
SDR-1031 | 2019-05-06 09:05 | 2019-05-06 13:35 | Storm |  | AM
SDR-1031 | 2019-05-07 03:00 | 2019-05-07 12:00 | Storm |  | AM
SDR-1031 | 2019-05-08 21:15 | 2019-05-09 05:45 | Storm |  | AM
SDR-1031 | 2019-05-10 04:45 | 2019-05-10 13:10 | Storm |  | AM
SDR-1031 | 2019-05-11 08:15 | 2019-05-11 19:30 | Storm |  | AM
SDR-1031 | 2019-05-16 10:00 | 2019-05-16 18:50 | Storm |  | AM
SDR-1031 | 2019-05-19 10:15 | 2019-05-20 17:00 | Storm |  | AM
SDR-1031 | 2019-05-22 05:30 | 2019-05-23 15:45 | Storm |  | AM
SDR-1031 | 2019-05-26 09:30 | 2019-05-27 13:45 | Storm |  | AM
SDR-1031 | 2019-06-17 03:15 | 2019-06-17 16:15 | Storm |  | AM
SDR-127 | 2019-05-01 | 2019-05-13 06:30 | Missing data/Bad sensor |  | AM
SDR-127 | 2019-05-16 09:00 | 2019-05-16 21:00 | Storm |  | AM
SDR-127 | 2019-05-19 10:00 | 2019-05-21 02:00 | Storm |  | AM
SDR-127 | 2019-05-21 22:00 | 2019-05-23 15:00 | Storm |  | AM
SDR-127 | 2019-05-26 07:00 | 2019-05-27 12:00 | Storm
SDR-127 | 2019-06-20 16:30 | 2019-06-20 22:32 | Leaf Obstruction at crest of weir
SDR-127 | 2019-06-22 03:32 | 2019-06-22 13:32 | Leaf Obstruction at crest of weir
SDR-127 | 2019-06-23 00:32 | 2019-06-23 08:32 | Leaf Obstruction at crest of weir
SDR-127 | 2019-06-23 15:32 | 2019-06-24 02:38 | Leaf Obstruction at crest of weir
SDR-127 | 2019-06-28 06:39 | 2019-06-28 22:39 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-05-27 12:00 | 2019-06-17 14:05 | Bad sensor |  | AM
SDR-127 | 2019-07-01 20:43 | 2019-07-07 00:55 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-07-07 23:55 | 2019-07-08 22:55 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-07-09 06:55 | 2019-07-17 11:20 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-07-31 17:30 | 2019-08-01 09:30 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-08-01 16:20 | 2019-08-03 01:20 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-08-08 15:20 | 2019-08-08 21:20 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-08-12 08:20 | 2019-08-14 13:00 | Leaf bomb! |  | AM
SDR-127 | 2019-08-17 20:20 | 2019-08-21 00:30 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-08-26 11:20 | 2019-08-29 16:30 | Leaf Obstruction at crest of weir |  | LD
SDR-127B | 2019-05-06 05:15 | 2019-05-06 19:00 | Storm |  | LD
SDR-127B | 2019-05-07 03:15 | 2019-05-07 19:00 | Storm |  | LD
SDR-127B | 2019-05-08 06:30 | 2019-05-08 10:00 | Storm |  | LD
SDR-127B | 2019-05-08 19:45 | 2019-05-09 09:00 | Storm |  | LD
SDR-127B | 2019-05-09 20:30 | 2019-05-10 02:00 | Storm |  | LD
SDR-127B | 2019-05-10 05:45 | 2019-05-10 08:00 | Storm |  | LD
SDR-127B | 2019-05-11 08:00 | 2019-05-11 21:20 | Storm |  | AM
SDR-127B | 2019-05-16 09:00 | 2019-05-16 21:00 | Storm |  | AM
SDR-127B | 2019-05-19 10:00 | 2019-05-21 02:00 | Storm |  | AM
SDR-127B | 2019-05-21 22:00 | 2019-05-23 15:00 | Storm |  | AM
SDR-127B | 2019-05-26 07:00 | 2019-05-27 12:00 | Storm |  | AM
SDR-203A | 2019-05-06 09:00 | 2019-05-06 12:20 | Storm |  | AM
SDR-203A | 2019-05-07 03:40 | 2019-05-07 14:45 | Storm |  | AM
SDR-203A | 2019-05-08 19:35 | 2019-05-09 10:00 | Storm |  | AM
SDR-203A | 2019-05-09 20:25 | 2019-05-09 23:30 | Storm |  | AM
SDR-203A | 2019-05-11 04:30 | 2019-05-12 01:50 | Storm |  | AM
SDR-203A | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm |  | AM
SDR-203A | 2019-05-19 10:10 | 2019-06-04 12:00 | Storm |  | AM
SDR-203A | 2019-06-10 07:15 | 2019-06-11 00:15 | Obstruction in weir-unconfirmed |  | AM
SDR-203A | 2019-06-14 17:25 | 2019-06-15 05:15 | Data dropout |  | AM
SDR-203A | 2019-07-03 17:00 | 2019-07-15 12:15 | Weir popped open |  | AM
SDR-204A | 2019-05-06 09:00 | 2019-05-06 12:20 | Storm |  | AM
SDR-204A | 2019-05-07 03:40 | 2019-05-07 14:45 | Storm |  | AM
SDR-204A | 2019-05-08 19:35 | 2019-05-09 10:00 | Storm |  | AM
SDR-204A | 2019-05-09 20:25 | 2019-05-09 23:30 | Storm |  | AM
SDR-204A | 2019-05-11 04:30 | 2019-05-12 01:50 | Storm |  | AM
SDR-204A | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm |  | AM
SDR-204A | 2019-05-19 10:10 | 2019-06-18 09:45 | Storm/Bad probe |  | AM
SDR-204A | 2019-07-11 00:05 | 2019-07-11 01:20 | Data dropout |  | RF
SDR-204A | 2019-07-11 00:05 | 2019-07-11 01:20 | Data dropout |  | JN
SDR-204A | 2019-07-11 00:05 | 2019-07-11 01:20 | Data dropout |  | JN
SDR-204A | 2019-07-15 01:10 | 2019-07-15 03:55 | Data dropout |  | JN
SDR-204A | 2019-07-17 00:05 | 2019-07-17 00:45 | Data dropout |  | JN
SDR-204A | 2019-07-23 00:05 | 2019-07-23 00:45 | Data dropout |  | JN
SDR-204A | 2019-07-23 17:15 | 2019-07-23 19:05 | Data dropout |  | JN
SDR-204A | 2019-07-28 00:05 | 2019-07-28 00:45 | Data dropout |  | JN
SDR-204A | 2019-07-29 00:05 | 2019-07-29 01:10 | Data dropout |  | JN
SDR-204A | 2019-07-30 00:05 | 2019-07-30 00:45 | Data dropout |  | AM
SDR-207 | 2019-05-06 09:00 | 2019-05-06 18:00 | Storm |  | AM
SDR-207 | 2019-05-07 04:00 | 2019-05-07 14:45 | Storm |  | AM
SDR-207 | 2019-05-08 20:05 | 2019-05-09 10:00 | Storm |  | AM
SDR-207 | 2019-05-11 04:30 | 2019-05-12 01:50 | Storm |  | AM
SDR-207 | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm |  | AM
SDR-207 | 2019-05-19 10:10 | 2019-05-20 22:10 | Storm |  | AM
SDR-207 | 2019-05-22 04:30 | 2019-05-23 17:10 | Storm |  | AM
SDR-207 | 2019-05-26 09:00 | 2019-05-27 17:45 | Storm |  | AM
SDR-207 | 2019-06-17 | 2019-06-19 | Storm |  | AM
SDR-207 | 2019-07-08 00:05 | 2019-07-08 00:20 | Data dropout |  | RF
SDR-207 | 2019-07-08 00:05 | 2019-07-08 00:20 | Data dropout |  | JN
SDR-207 | 2019-07-08 00:05 | 2019-07-08 00:20 | Data dropout |  | AM
SDR-223 | 2019-05-07 04:00 | 2019-05-11 14:55 | Storm |  | AM
SDR-223 | 2019-05-09 21:30 | 2019-05-10 12:45 | Storm |  | AM
SDR-223 | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm |  | AM
SDR-223 | 2019-05-19 08:10 | 2019-05-20 13:15 | Storm |  | AM
SDR-223 | 2019-05-22 01:15 | 2019-05-23 13:55 | Storm |  | AM
SDR-223 | 2019-05-26 21:20 | 2019-05-28 16:00 | Storm |  | AM
SDR-228 | 2019-05-06 09:00 | 2019-05-06 14:10 | Storm |  | AM
SDR-228 | 2019-05-07 04:00 | 2019-05-07 12:15 | Storm |  | AM
SDR-228 | 2019-05-09 21:30 | 2019-05-10 12:45 | Storm |  | AM
SDR-228 | 2019-05-11 07:45 | 2019-05-11 14:55 | Storm |  | AM
SDR-228 | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm |  | AM
SDR-228 | 2019-05-19 10:10 | 2019-05-20 13:15 | Storm |  | AM
SDR-228 | 2019-05-22 07:45 | 2019-05-23 13:55 | Storm |  | AM
SDR-228 | 2019-05-26 09:00 | 2019-05-28 16:00 | Storm |  | AM
SDR-568 | 2019-05-07 02:00 | 2019-05-11 20:30 | Storm |  | AM
SDR-568 | 2019-05-16 08:00 | 2019-05-16 17:50 | Storm |  | AM
SDR-568 | 2019-05-19 10:10 | 2019-05-21 02:15 | Storm |  | AM
SDR-568 | 2019-05-22 01:25 | 2019-05-23 20:50 | Storm |  | AM
SDR-568 | 2019-05-26 09:00 | 2019-05-27 19:35 | Storm |  | AM
SDR-568 | 2019-06-18 00:20 | 2019-06-18 12:10 | Storm |  | AM
SDR-723 | 2019-05-06 09:00 | 2019-05-06 20:05 | Storm |  | AM
SDR-723 | 2019-05-07 02:00 | 2019-05-07 15:10 | Storm |  | AM
SDR-723 | 2019-05-10 02:30 | 2019-05-10 15:35 | Storm |  | AM
SDR-723 | 2019-05-11 07:45 | 2019-05-11 20:30 | Storm |  | AM
SDR-723 | 2019-05-16 08:00 | 2019-05-16 17:50 | Storm |  | AM
SDR-723 | 2019-05-19 10:10 | 2019-05-21 02:15 | Storm |  | AM
SDR-723 | 2019-05-21 21:15 | 2019-05-23 20:50 | Storm |  | AM
SDR-723 | 2019-05-26 09:00 | 2019-05-27 19:35 | Storm |  | AM
SDR-740 | 2019-05-06 09:00 | 2019-05-06 14:15 | Storm |  | AM
SDR-740 | 2019-05-07 02:00 | 2019-05-07 13:40 | Storm |  | AM
SDR-740 | 2019-05-10 02:30 | 2019-05-10 12:50 | Storm |  | AM
SDR-740 | 2019-05-11 07:45 | 2019-05-11 20:15 | Storm |  | AM
SDR-740 | 2019-05-16 08:00 | 2019-05-16 16:20 | Storm |  | AM
SDR-740 | 2019-05-19 10:10 | 2019-05-20 17:15 | Storm |  | AM
SDR-740 | 2019-05-21 02:10 | 2019-05-21 04:10 | Storm |  | AM
SDR-740 | 2019-05-21 23:00 | 2019-05-23 13:15 | Storm |  | AM
SDR-740 | 2019-05-26 09:00 | 2019-05-27 07:25 | Storm
SDR-751 | 2019-05-06 09:00 | 2019-05-06 12:30 | Storm
SDR-751 | 2019-05-07 03:50 | 2019-05-07 10:15 | Storm
SDR-751 | 2019-05-10 06:20 | 2019-05-10 12:50 | Storm
SDR-751 | 2019-05-11 07:45 | 2019-05-11 20:15 | Storm
SDR-751 | 2019-05-16 08:00 | 2019-05-16 16:20 | Storm
SDR-751 | 2019-05-19 10:10 | 2019-05-20 17:15 | Storm
SDR-751 | 2019-05-21 23:00 | 2019-05-23 13:15 | Storm
SDR-751 | 2019-05-26 09:30 | 2019-05-27 07:25 | Storm |  | AM
SDR-751 | 2019-07-18 09:20 | 2019-07-18 16:05 | Weird spike | Appears to be bad data. | LD
SDR-772 | 2019-05-06 12:00 | 2019-05-07 01:00 | Storm |  | LD
SDR-772 | 2019-05-07 10:15 | 2019-05-08 03:00 | Storm |  | LD
SDR-772 | 2019-05-09 02:45 | 2019-05-09 13:00 | Storm |  | LD
SDR-772 | 2019-05-10 02:00 | 2019-05-10 07:30 | Storm |  | LD
SDR-772 | 2019-05-11 12:00 | 2019-05-12 10:00 | Storm |  | GM
SDR-772 | 2019-06-17 06:00 | 2019-06-17 20:00 | Storm |  | GM
SDR-772 | 2019-06-29 | 2019-06-29 04:30 | data gap |  | GM
SDR-772 | 2019-06-30 00:30 | 2019-06-30 04:30 | data gap |  | LD
SDR-780 | 2019-05-09 02:45 | 2019-05-09 07:00 | Storm |  | LD
SDR-780 | 2019-05-11 13:00 | 2019-05-12 02:00 | Storm |  | GM
SDR-780 | 2019-06-17 08:00 | 2019-06-17 20:00 | Storm |  | GM
SDR-780 | 2019-06-25 10:00 | 2019-06-25 10:15 | Probe pulled |  | GM
SDR-780 | 2019-06-29 | 2019-06-29 04:30 | data gap |  | GM
SDR-780 | 2019-06-29 05:30 | 2019-06-29 09:30 | data gap |  | LD
SDR-780 | 2019-07-14 18:30 | 2019-07-15 12:20 | Debris | Removed since this raised flow was noticebly higher than surrounding high flows. | LD
SDR-939 | 2019-05-06 14:00 | 2019-05-07 01:00 | Storm |  | LD
SDR-939 | 2019-05-07 10:15 | 2019-05-08 03:00 | Storm |  | LD
SDR-939 | 2019-05-08 23:00 | 2019-05-09 09:00 | Storm |  | LD
SDR-939 | 2019-05-09 20:00 | 2019-05-10 07:30 | Storm |  | LD
SDR-939 | 2019-05-11 13:00 | 2019-05-12 07:00 | Storm |  | AM
SLR-045 | 2019-05-01 | 2019-05-01 20:20 | Missing data/Bad sensor |  | AM
SLR-045 | 2019-05-06 09:00 | 2019-05-06 11:00 | Storm |  | AM
SLR-045 | 2019-05-11 07:00 | 2019-05-11 11:00 | Storm |  | AM
SLR-045 | 2019-05-16 08:00 | 2019-05-16 14:00 | Storm | 15 min data | AM
SLR-045 | 2019-05-19 07:00 | 2019-05-20 14:00 | Storm |  | AM
SLR-045 | 2019-05-22 06:00 | 2019-05-22 13:00 | Storm |  | AM
SLR-045 | 2019-05-26 07:00 | 2019-05-28 | Storm |  | GM
SLR-045 | 2019-06-17 04:00 | 2019-06-17 11:00 | Storm |  | GM
SLR-045 | 2019-06-21 06:30 | 2019-06-21 10:00 | Storm |  | AM
SLR-045 | 2019-07-08 06:55 | 2019-07-08 18:55 | Obstruction in weir-confirmed by gamecam |  | AM
SLR-045 | 2019-08-14 10:15 | 2019-08-15 09:15 | Patching weir-pulled probe out |  | AM
SLR-045 | 2019-08-07 08:40 | 2019-08-08 08:40 | Obstruction in weir-confirmed by gamecam |  | AM
SLR-045A | 2019-05-01 | 2019-05-01 13:45 | Bad data/not installed correctly | 15 min data | AM
SLR-045A | 2019-05-06 09:00 | 2019-05-06 11:00 | Storm |  | AM
SLR-045A | 2019-05-09 21:00 | 2019-05-10 17:00 | Bad data |  | AM
SLR-045A | 2019-05-11 07:00 | 2019-05-11 11:00 | Storm |  | AM
SLR-045A | 2019-05-13 | 2019-05-13 16:45 | Bad data |  | AM
SLR-045A | 2019-05-14 11:30 | 2019-05-15 02:45 | Bad data |  | AM
SLR-045A | 2019-05-16 08:00 | 2019-05-16 14:00 | Storm |  | AM
SLR-045A | 2019-05-19 07:00 | 2019-05-20 14:00 | Storm |  | AM
SLR-045A | 2019-05-22 06:00 | 2019-05-22 13:00 | Storm |  | AM
SLR-045A | 2019-05-26 07:00 | 2019-05-28 | Storm |  | JN
SLR-045A | 2019-07-09 13:15 | 2019-07-15 13:30 | Bad data-doesn't match with game cam | May have been sediment issue | RF
SLR-045A | 2019-07-15 13:30 | 2019-07-15 14:30 | Weird spike in level data |  | JN
SLR-045A | 2019-07-15 13:30 | 2019-07-15 14:30 | Bad data |  | JN
SLR-045A | 2019-07-22 18:50 | 2019-07-23 05:50 | debris- confirmed by game cam |  | GM
SLR-045B | 2019-06-03 | 2019-06-03 03:00 | Storm |  | GM
SLR-045B | 2019-06-17 02:00 | 2019-06-17 11:00 | Storm |  | GM
SLR-045B | 2019-06-21 | 2019-06-25 13:00 | data gap |  | GM
SLR-045B | 2019-06-27 07:00 | 2019-06-27 16:00 | data gap |  | GM
SLR-045B | 2019-06-28 05:30 | 2019-06-28 14:00 | data gap |  | GM
SLR-045B | 2019-06-29 05:15 | 2019-06-29 13:30 | data gap |  | JN
SLR-045B | NA |  |  | 15 min data | AM
SLR-095 | 2019-05-06 09:00 | 2019-05-07 11:00 | Storm |  | AM
SLR-095 | 2019-05-07 03:00 | 2019-05-09 10:00 | Storm/sediment fouling |  | AM
SLR-095 | 2019-05-10 07:00 | 2019-05-10 10:00 | Storm |  | AM
SLR-095 | 2019-05-11 07:40 | 2019-05-11 22:45 | Storm |  | AM
SLR-095 | 2019-05-16 08:00 | 2019-05-16 20:30 | Storm |  | AM
SLR-095 | 2019-05-19 02:00 | 2019-05-20 04:30 | Storm |  | AM
SLR-095 | 2019-05-19 02:00 | 2019-06-17 16:30 | Bad sensor |  | GM
SLR-095 | 2019-06-21 06:30 | 2019-06-21 11:30 | Storm |  | AM
SLR-095 | 2019-07-17 07:15 | 2019-07-19 13:30 | Obstruction in weir-confirmed by game cam |  | AM
SLR-095 | 2019-07-22 20:25 | 2019-07-23 06:25 | Obstruction in weir-confirmed by game cam
SLR-095 | 2019-07-29 21:25 | 2019-07-30 05:25 | Obstruction in weir-confirmed by game cam |  | AM
SWT-019 | 2019-04-20 | 2019-05-08 18:00 | Bad probe |  | AM
SWT-019 | 2019-05-09 23:10 | 2019-05-10 09:00 | Storm |  | AM
SWT-019 | 2019-05-11 09:30 | 2019-05-11 12:25 | Storm |  | AM
SWT-019 | 2019-05-16 10:05 | 2019-05-16 14:30 | Storm |  | AM
SWT-019 | 2019-05-19 10:30 | 2019-05-19 15:20 | Storm |  | AM
SWT-019 | 2019-05-19 21:00 | 2019-05-20 13:40 | Storm |  | AM
SWT-019 | 2019-05-22 05:45 | 2019-05-22 08:30 | Storm |  | AM
SWT-019 | 2019-05-26 21:15 | 2019-05-27 08:15 | Storm |  | AM
SWT-019 | 2019-06-21 05:00 | 2019-06-21 10:00 | Storm |  | AM
SWT-030 | 2019-05-06 08:00 | 2019-05-06 11:30 | Storm |  | AM
SWT-030 | 2019-05-07 04:10 | 2019-05-07 06:55 | Storm |  | AM
SWT-030 | 2019-05-10 01:00 | 2019-05-10 07:45 | Storm |  | AM
SWT-030 | 2019-05-11 06:30 | 2019-05-11 12:50 | Storm |  | AM
SWT-030 | 2019-05-16 09:45 | 2019-05-16 13:35 | Storm |  | AM
SWT-030 | 2019-05-19 10:00 | 2019-05-20 08:50 | Storm |  | AM
SWT-030 | 2019-05-21 22:50 | 2019-05-22 21:00 | Storm |  | AM
SWT-030 | 2019-05-26 22:30 | 2019-05-27 02:40 | Storm |  | RF
SWT-030 | 2019-07-06 | 2019-07-06 04:00 | Data dropout |  | RF
SWT-030 | 2019-07-09 03:55 | 2019-07-09 09:10 | Data dropout |  | RF
SWT-030 | 2019-07-10 00:20 | 2019-07-10 04:20 | Data dropout |  | RF
SWT-030 | 2019-07-11 00:10 | 2019-07-11 04:10 | Data dropout |  | RF
SWT-030 | 2019-07-14 00:10 | 2019-07-14 04:10 | Data dropout |  | RF
SWT-030 | 2019-07-17 | 2019-07-17 04:00 | Data dropout |  | RF
SWT-030 | 2019-07-20 00:20 | 2019-07-20 04:20 | Data dropout |  | RF
SWT-030 | 2019-07-22 05:30 | 2019-07-22 09:20 | Data dropout |  | AM
SWT-055 | 2019-05-06 09:50 | 2019-05-07 14:00 | Storm |  | AM
SWT-055 | 2019-05-10 04:40 | 2019-05-10 10:30 | Storm |  | AM
SWT-055 | 2019-05-10 06:15 | 2019-05-09 21:00 | Storm |  | AM
SWT-055 | 2019-05-11 08:10 | 2019-05-11 21:30 | Storm |  | AM
SWT-055 | 2019-05-16 10:35 | 2019-05-16 19:45 | Storm |  | AM
SWT-055 | 2019-05-19 10:35 | 2019-05-23 17:00 | Storm |  | AM
SWT-055 | 2019-05-25 07:00 | 2019-05-27 06:00 | Storm |  | GM
SWT-055 | 2019-06-17 14:00 | 2019-06-17 20:00 | Storm |  | GM
SWT-055 | 2019-06-21 02:30 | 2019-06-21 19:00 | Storm |  | GM
SWT-055 | 2019-06-30 | 2019-06-30 00:30 | Data gap |  | RF
SWT-055 | 2019-07-01 09:25 | 2019-07-01 13:25 | Data dropout |  | RF
SWT-055 | 2019-07-03 09:15 | 2019-07-03 13:15 | Data dropout |  | RF
SWT-055 | 2019-07-09 00:15 | 2019-07-09 04:15 | Data dropout |  | RF
SWT-055 | 2019-07-19 00:20 | 2019-07-19 04:20 | Data dropout |  | RF
SWT-055 | 2019-07-20 00:20 | 2019-07-20 04:20 | Data dropout |  | RF
SWT-055 | 2019-07-22 00:15 | 2019-07-22 04:15 | Data dropout |  | RF
SWT-055 | 2019-07-23 | 2019-07-23 00:10 | Data dropout |  | RF
SWT-055 | 2019-07-24 | 2019-07-24 00:10 | Data dropout |  | RF
SWT-055 | 2019-07-24 13:05 | 2019-07-24 17:05 | Data dropout |  | AM
SWT-055A | 2019-05-06 09:00 | 2019-05-06 18:45 | Storm |  | AM
SWT-055A | 2019-05-07 04:00 | 2019-05-07 13:55 | Storm |  | AM
SWT-055A | 2019-05-10 04:40 | 2019-05-10 10:30 | Storm |  | AM
SWT-055A | 2019-05-10 06:15 | 2019-05-09 21:00 | Storm |  | AM
SWT-055A | 2019-05-11 08:10 | 2019-05-11 21:30 | Storm |  | AM
SWT-055A | 2019-05-16 09:20 | 2019-05-16 19:45 | Storm |  | AM
SWT-055A | 2019-05-19 08:25 | 2019-05-23 17:00 | Storm |  | AM
SWT-055A | 2019-05-26 21:25 | 2019-05-27 06:00 | Storm |  | AM
SWT-055A | 2019-05-31 05:00 | 2019-05-31 16:50 | Bad data |  | GM
SWT-055A | 2019-06-17 14:00 | 2019-06-17 19:00 | Storm |  | GM
SWT-055A | 2019-06-21 02:30 | 2019-06-21 19:00 | Storm

## Data Deliverable Notes
Site | Notes | Completed by
CAR-070 | Data gap 6/13-17 due to battery failure. High flow 8/7 was likely not stormflow, since there was no rain observed by gauges or cameras, but there was a drop in conductivity. This flow may have been a permitted discharge? Offset was adjusted for final deliverable | AM
CAR-072 | No notes | AM
CAR-072B | No notes. Data from July-September adjusted for final deliverable | AM
CAR-072O | No notes. No baseflow, just regularly occurring overnight peak flows | AM
SDG-072 | Daily pattern of flows except for Monday. Weir was patched Aug 30. Potentially leaking in August. Slightly higher flows following weir repair. | AM
SDG-080 | High baseflow and regular daily high flows. | AM
SDG-084 | new probe installed 8/5. Lots of foam in pictures indicating possible wash water source but flows are usually at night. High TDS during low flows (possibly groundwater) drops during higher flows (tap/reclaimed water influence). Some periods of very foamy water | AM
SDG-084J | Very odd flow pattern after 8/20. Seems like a seasonal trend downward. One weird flow spike was deemed erroneous since there was no change in temp or conductivity but the one flow spike was deemed legitimate since there was an associated blast of sediment and change in conductivity | AM
SDG-085 | None. Daily high flows | AM
SDG-085G | No notes | AM
SDG-085M | No Notes. Air temp unusually high, typically above 85-95 | AM
SDR-036 | No baseflow, just a few intermittent flows usually around 5am
SDR-041 | Large sustained flow 8/15 for about 8 hours, with increased TDS
SDR-064 | Site demobed in July, no August data deliverable
SDR-097
SDR-098 | Regular pattern of early morning higher flows. Offset was adjusted sligthly for the August data
SDR-1024
SDR-1031
SDR-127 | Lots of leaf debris made monitoring challenging. Very irregular flows, doesn't seem to follow any pattern
SDR-127B
SDR-203A
SDR-204A
SDR-207
SDR-223
SDR-228
SDR-568
SDR-723
SDR-740
SDR-751
SDR-772
SDR-780
SDR-939
SLR-045 | Weird red color 7/30
SLR-045A
SLR-045B
SLR-095 | High flow 8/30 confirmed by game cam
SWT-019
SWT-030
SWT-055
SWT-055A

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only