## Form Responses 1
Timestamp | SITE ID | Date | Time | Flow Condition | NOTES | Site Photo or Video? | Height above (or below) v-notch (cm) | 2. AFTER: Height above (or below) v-notch (cm) | 1. Flow Measurement, Time in Seconds | 1. Flow Measurement, Volume in mL | 2. Flow Measurement, Time in Seconds | 2. Flow Measurement, Volume in mL | 3. Flow Measurement, Time in Seconds | 3. Flow Measurement, Volume in mL | Specific Conductivity (uS/cm)
2019-05-03 18:08 | LAB_TEST | 2019-05-03 | 18:00 | Flowing | 2 small pumps I think |  | 5 |  | 3.5 | 3050
2019-05-03 18:15 | LAB_TEST | 2019-05-03 | 18:15 | Flowing | 2 small pumps |  | 5 |  | 3.6 | 3000
2019-05-03 18:18 | LAB_TEST | 2019-05-03 | 18:20 | Flowing | 2 small pumps |  | 5 |  | 6.7 | 5900
2019-05-06 10:27 | SDR-772 | 2019-05-06 | 10:19 | Flowing | A few leaves in v notch were cleared. | https://drive.google.com/open?id=1XtAT9daqZt7-bHWJM4RloBz6Fyubicln | 4.6 |  | 10.97 | 7500
2019-05-06 10:41 | SDR-780 | 2019-05-06 | 10:31 | Flowing | Water level near top of v notch. Flow estimate is rough due to high flow. | https://drive.google.com/open?id=1YljKTjwJjkNURf5BJeQWW78hGy60Gv8f | 14 |  | 0.74 | 11400
2019-05-06 11:09 | SDR-203A | 2019-05-06 | 10:55 | Flowing | Floating rat site, lower outfall | https://drive.google.com/open?id=1LykeNoujYIjD5JPuduaR8ISOEF2kLZJ3 | 3.2 |  | 17.18 | 5200
2019-05-06 11:18 | SDR-939 | 2019-05-06 | 11:12 | Flowing | No issues | https://drive.google.com/open?id=1Q725apwYH3rrpvige1hIRCVpebsUoyKt | 1.4 |  | 15.19 | 400
2019-05-06 11:21 | SDR-204A | 2019-05-06 | 10:59 | Flowing | Floating rat site, lower outfall. | https://drive.google.com/open?id=1E25RdT3011EeydtVV6xnC36aUnYH1iTO | 2.5 |  | 22.29 | 4200
2019-05-06 11:30 | SDR-036 | 2019-05-06 | 11:24 | Flowing | Everything looks good | https://drive.google.com/open?id=1LWloFybWirAlzBXcJp3FryOs8pAWWzMj | 5.5 |  | 4.87 | 5600
2019-05-06 11:39 | SDR-127 | 2019-05-06 | 11:32 | Flowing | Mosquito lady site. No issues. | https://drive.google.com/open?id=1XOptoZ4Q85FCj6SwgA1H6C-FM72Mp2JL | 4.7 |  | 4.6 | 4200
2019-05-06 11:50 | SDR-207 | 2019-05-06 | 11:45 | Flowing | Everything looks fine. | https://drive.google.com/open?id=15qNOnnXnUzovaAV4G3I5SnBNZL8wo7Jq | 8.7 |  | 1.88 | 8200
2019-05-06 12:03 | SDR-041 | 2019-05-06 | 11:56 | Flowing | At Ha Hana road sign. Weir is bowing out quite a bit but no issues. | https://drive.google.com/open?id=1Z_1f9EkmgJId3PlPX8puu5j4AFQ-PlPm | 3 |  | 7.11 | 2400
2019-05-06 12:18 | SDR-740 | 2019-05-06 | 12:14 | Flowing | No issues | https://drive.google.com/open?id=18tPGeVuQOIE6UVYK1RyuxC3JLJbwl7kh | 1.4 |  | 15.95 | 400
2019-05-06 12:30 | SDR-1024 | 2019-05-06 | 12:19 | Flowing | No issues | https://drive.google.com/open?id=1U99JFA7MfpPp-vH18L8DDZscG82LFg5t | 1.4 |  | 16.24 | 400
2019-05-06 12:40 | SDR-751 | 2019-05-06 | 0:29 | Flowing | No issues | https://drive.google.com/open?id=1k7_rkpdNgdWCvx4_NMTYDq-6BfXyI6s6 | 1 |  | 15.42 | 200
2019-05-06 12:55 | SDR-228 | 2019-05-06 | 12:50 | Flowing | No issues | https://drive.google.com/open?id=17WlrNSl9m63xM1PJOL_9LONk4vQ5N6xP | 0.9 |  | 16.15 | 200
2019-05-06 13:10 | SDR-723 | 2019-05-06 | 13:04 | Flowing | No issues. | https://drive.google.com/open?id=16cpJuJmGYWQR3WlYx_UN1q3Q-prkrOjG | 0.9 |  | 15.45 | 110
2019-05-06 13:27 | SDR-064 | 2019-05-06 | 13:15 | Ponded | Water level was right at bottom of v notch but no flow | https://drive.google.com/open?id=153-bfsQm6aStyd2zY5eNF7ma7R2JD_8r | 0 |  | 60 | 0
2019-05-06 13:44 | SDR-1024 | 2019-05-06 | 13:36 | Flowing | Use these numbers for SDR 1024 calibration, not earlier ones. See photo for SDR 1024 from earlier submission. |  | 1 |  | 16.54 | 320
2019-05-06 13:52 | SDR-1031 | 2019-05-06 | 13:41 | Flowing | No issues | https://drive.google.com/open?id=1LC-WwULYvKVRoKJW_NG_v6pJ3gBvuffh | 6 |  | 16.06 | 50
2019-05-06 13:57 | SDR-098 | 2019-05-06 | 13:51 | Flowing | No issues | https://drive.google.com/open?id=1TrBDx29w_8bAmpJRkQ-rjftrS3m5PJ1w | 1.9 |  | 16.1 | 1220
2019-05-06 14:00 | SDR-097 | 2019-05-06 | 13:46 | Flowing | No issues. | https://drive.google.com/open?id=1_smv8wxy0ws0AXSkhHFDi6XyMWhC9So3 | 0.9 |  | 18.22 | 150
2019-05-06 16:08 | SLR-045A | 2019-05-06 | 16:01 | Flowing | Smells like chlorine |  | 7.6
2019-05-06 16:11 | SLR-045B | 2019-05-06 | 15:55 | Ponded | Can't tell if leaking. Too wet from flow at SLR-045A. Cement is close to bottom of V |  | 0
2019-05-06 16:54 | SLR-045 | 2019-05-06 | 16:40 | Flowing | Same flow as 045A. Very clear water
2019-05-06 18:08 | CAR-072O | 2019-05-06 | 17:33 | Ponded | Moved logger higher. Cable wasn't fully plugged in
2019-05-06 18:11 | CAR-070 | 2019-05-06 | 18:08 | Flowing | Great waterfowl presence
2019-05-06 18:37 | CAR-072 | 2019-05-06 | 18:24 | Flowing | H1 = 2in H2 = 6in B1 = 4in both sides B2 = 12in C1 = C2 = 16.5in
2019-05-06 18:38 | CAR-072B | 2019-05-06 | 18:29 | Flowing | H1 = 2in H2 = 6in B1 = 4in both sides B2 = 12in C1 = C2 = 4.75in |  | 1.7
2019-05-07 11:34 | LAB_TEST | 2019-05-07 | 11:30 | Flowing | Leaf |  | 5 |  | 3 | 1100
2019-05-07 11:34 | LAB_TEST | 2019-05-07 | 11:30 | Flowing | Leaf |  | 5 |  | 3 | 1100
2019-05-07 12:07 | SWT-019 | 2019-05-07 | 12:00 | Flowing | Weird maggot things in pool | https://drive.google.com/open?id=159zx9JoWOb8PyZYHKcOeIikAYl88cwKk | 0.3 |  | 180.25 | 110
2019-05-07 12:46 | SWT-030 | 2019-05-07 | 0:31 | Flowing | No issues | https://drive.google.com/open?id=1k0UnwxoMBbwmy8nJ5NuKG7ADirF4e8bf | 2.5 |  | 9.61 | 2020
2019-05-07 13:05 | SDR-036 | 2019-05-07 | 13:00 | Flowing | Sedimentation at sensor |  | 1.4 |  | 25 | 300 | 20 | 290 | 20 | 290
2019-05-07 15:18 | SWT-055 | 2019-05-07 | 13:04 | Flowing | Water overflowing on side, weir bowing, water at top of v notch | https://drive.google.com/open?id=1EzFpTU2lV1S_So7I3BbV6AUQSKmIVbqJ, https://drive.google.com/open?id=11eM5BcsY1mFJHsVr10IrJX9E3MfJnMBd | 14.5 |  | 1.03 | 14200
2019-05-07 13:32 | SDR-127 | 2019-05-07 | 13:25 | Flowing | Murky | https://drive.google.com/open?id=1WD9y2a2DDESmv6bRnM0gX7svipbgv9pm | 1.7 |  | 20 | 1490 | 10 | 750 | 20 | 1500
2019-05-07 13:57 | SWT-055A | 2019-05-07 | 13:33 | Flowing | Patched concrete in right side since it was below top of weir plate. | https://drive.google.com/open?id=157lIFmRrHi7xLF7hYukOgaUZipPX2Eiw, https://drive.google.com/open?id=1vVhFsIVkXR-3Q0Vmu626zNL8LOEiurXB | 9 |  | 0.84 | 3100
2019-05-07 13:57 | SDR-207 | 2019-05-07 | 13:45 | Flowing | Flowing sedimentation | https://drive.google.com/open?id=1gWXFKvZ6aMaoNv-j8lcwLJr3aJoTvFMl | 8.2 |  | 1.1 | 4100 | 1.2 | 4440 | 1.2 | 4480
2019-05-07 15:22 | SDR-772 | 2019-05-07 | 15:07 | Flowing | No issues | https://drive.google.com/open?id=1-32C2k5CFw1heXgKjMk72-mn-GThPSrj | 0.7 |  | 53.27 | 355
2019-05-07 15:46 | SDR-780 | 2019-05-07 | 15:41 | Flowing | Could not get telemetry to connect | https://drive.google.com/open?id=1UCMVSoHNaYRhCgCcOS3Djjy0OB4QQAUz | 8 |  | 1.3 | 4090
2019-05-07 16:22 | SDR-939 | 2019-05-07 | 16:09 | Flowing | Barely any flow. Not measurable. | https://drive.google.com/open?id=19NYYSa0p7BPz_TIX1kuOq4zAN7vuJsl- | 0.1
2019-05-07 16:36 | SDG-084 | 2019-05-07 | 16:25 | Flowing | Flowing well. | https://drive.google.com/open?id=1s1poyL5RcfS95aklBd2rN5cKz3PyX18V | 3.2 |  | 7.41 | 1750 | 4.25 | 1025 | 11.78 | 2375
2019-05-07 16:51 | SDG-085 | 2019-05-07 | 16:45 | Flowing | Flowing good. | https://drive.google.com/open?id=1wbPiAVbu4JaXfTuFP4r8AvPFMWmZn9zX | 4.1 |  | 6.73 | 3640 | 4.38 | 1870 | 2.94 | 1560
2019-05-08 10:30 | SDG-072 | 2019-05-08 | 10:22 | Ponded | No flow today. Site was also visited yesterday and a hole was plugged with concrete and no flow was visible. | https://drive.google.com/open?id=1tpMAP1vPL5Dl8Y-1x6Ru14M1gCxgD21O | 7.3 |  | 60 | 0
2019-05-08 10:35 | SWT-019 | 2019-05-06 | 22:26 | Flowing | Probe cable pushes itself loose from Port connection. Used string to keep it tied down |  | 1 |  | 15 | 140
2019-05-08 11:02 | SDG-084 | 2019-05-08 | 11:00 | Flowing | No issues | https://drive.google.com/open?id=1CY_UGnpCYeEvnSlNOUJ60kjxK8Hj0aIm | 2.9 |  | 2.9 | 530 | 2.6 | 510 | 3 | 495
2019-05-08 11:26 | SDG-085 | 2019-05-08 | 11:20 | Flowing | No issues | https://drive.google.com/open?id=1oRJngBYQBMUZiiOlh5nLDuNa5gk7R8lE | 3.8 |  | 2.8 | 1325 | 6.2 | 3140 | 3.75 | 1740
2019-05-08 12:27 | SDG-085G | 2019-05-08 | 12:20 | Ponded | Flow very small / non measurable | https://drive.google.com/open?id=1pTCuMepFk8myM3KgShEKJT_mk9a__Ujx, https://drive.google.com/open?id=1rfk3g0jgVmyK5GQLAacPqVOH0027v20z, https://drive.google.com/open?id=1z8gHFNRdURAP9vfgQzBRPL5KKl52cjFp | 0.3 |  | 60 | 0 | 60 | 0 | 60 | 0
2019-05-08 12:39 | SDR-036 | 2019-05-08 | 12:31 | Flowing | SDR-036 12:31, 50ml 1cm H1 = 2in H2 = 6in B1 = 4in both sides B2 = 12in C1 = C2 = 26in |  | 1 |  | 15 | 50
2019-05-08 13:10 | SDR-780 | 2019-05-08 | 13:04 | Flowing | Installed new batteries. Previous batteries were rechargeables. SDR-780 13:04, 600ml 8cm H1 = 2inin H2 = 6in B1 = 13.5in both sides B2 = 12in C1 = 3'6" left C2 = 13'5" |  | 8 |  | 2 | 600
2019-05-08 13:17 | SDG-084J | 2019-05-08 | 13:05 | Flowing | Man hole on sidewalk near intersection | https://drive.google.com/open?id=1AjCIVzLoWR7dJu1k1YubRswIFjyG7a5Z, https://drive.google.com/open?id=1yIWY_sRCaMXWVhZCtTbQ51ijHYzo-wQX | 1.8 |  | 8.9 | 765 | 9.2 | 775 | 10.5 | 885
2019-05-08 14:22 | SDR-939 | 2019-05-08 | 14:20 | Ponded | None |  | 0
2019-05-08 14:40 | SWT-030 | 2019-05-08 | 9:55 | Flowing | None |  | 2.5 |  | 30 | 6140 | 30 | 6360 | 30 | 6250
2019-05-08 14:43 | SWT-055 | 2019-05-08 | 10:40 | Flowing | High flow |  | 10 |  | 1.47 | 7620 | 1.25 | 7230 | 1.44 | 7580
2019-05-08 14:49 | SDR-223 | 2019-05-08 | 11:55 | Flowing | None |  | 0.6 |  | 60 | 170 | 60 | 160 | 60 | 160
2019-05-08 14:51 | SDR-203A | 2019-05-08 | 13:25 | Ponded | None |  | 0 |  | 60 | 0
2019-05-08 14:53 | SDR-204A | 2019-05-08 | 13:30 | Flowing | None |  | 0.6 |  | 60 | 180 | 60 | 170 | 60 | 170
2019-05-08 15:45 | SDR-204A | 2019-05-08 | 13:30 | Flowing | None |  | 0.6 |  | 60 | 180 | 60 | 170 | 60 | 170
2019-05-08 15:48 | SDG-084J | 2019-05-08 | 13:05 | Flowing | Man hole on sidewalk near intersection | https://drive.google.com/open?id=1uNgfOVVi6OuSrTsDIL3115oo8SAY2ApB, https://drive.google.com/open?id=12xfwXnWgQLGO7UPliz_QD6u94d4Ozy9I | 1.8 |  | 8.9 | 765 | 9.2 | 775 | 10.5 | 885
2019-05-08 15:51 | SDG-085M | 2019-05-08 | 13:50 | Flowing | Large manhole in street | https://drive.google.com/open?id=1EbBEmj2n48gddgtkUFyPImjCgT2YppQU | 2.1 |  | 9.5 | 1010 | 7.2 | 760 | 6.7 | 700
2019-05-08 15:58 | CAR-072 | 2019-05-08 | 15:50 | Flowing | No issues | https://drive.google.com/open?id=1960PlhHcuuv2_dmZ_rdfN02XdCViGwHi | 2.3 |  | 5.5 | 620 | 10.2 | 1090 | 12.7 | 1360
2019-05-08 16:35 | SDR-568 | 2019-05-08 | 12:10 | Breakaway popped open | Both breakaways popped open. Site was repaired with new breakaways and patched up with more cement.
2019-05-09 09:46 | CAR-072O | 2019-05-08 | 17:30 | Ponded | No flow / extremely minor trickle . East side of the street but pin is on west side. | https://drive.google.com/open?id=1KOZxCWkVOxZyyHBU_8_eMAFtLbW2moco | 0.1 |  | 60 | 0 | 60 | 0 | 60 | 0
2019-05-09 09:51 | CAR-070 | 2019-05-08 | 16:45 | Flowing | Swans / backyard / west of bridge | https://drive.google.com/open?id=1ptrbDyZ5AyrnodpvaL0jP-jbZbI4Tdyj | 2.5 |  | 7.6 | 1260 | 9.8 | 1600 | 13.5 | 2170
2019-05-09 10:04 | SWT-019 | 2019-05-09 | 9:56 | Flowing | No issues | https://drive.google.com/open?id=1g6lvviYsrC340yCZm7jTRLngTKdUqe15 | 0.7 |  | 60 | 300 | 45 | 245 | 60 | 305
2019-05-09 10:12 | SLR-095 | 2019-05-09 | 10:05 | Flowing | Sand around sensor | https://drive.google.com/open?id=1y_i8CkzSmWJGKUgJAPo_LdHlEqOGrxgh | 3 |  | 6.91 | 1320 | 4.01 | 810 | 4 | 800
2019-05-09 10:21 | SDR-036 | 2019-05-09 | 10:18 | Flowing | Installed camera | https://drive.google.com/open?id=1fjrC5zyl9gAWmepI_E5Oqm_8ubJXjzQG, https://drive.google.com/open?id=1t2xJU4xo5WW0e3U34txnIVuuUkIz9rE- | 0.8 |  | 15.24 | 180
2019-05-09 10:23 | CAR-072B | 2019-05-08 | 16:15 | Flowing | Inside 72 pipe sand buildup. | https://drive.google.com/open?id=16LvXGlP2EzkoUZNslxLZ_VlNCz52KNEJ | 1.5 |  | 9.5 | 370 | 15.5 | 610 | 12 | 460
2019-05-09 10:27 | CAR-072 | 2019-05-08 | 15:50 | Flowing | Mouth of culvert / edge of lake / lake san Marcos. | https://drive.google.com/open?id=1ZLYKshdhgY7gOpbekPI_aDxq5opJxRCa | 2.3 |  | 5.5 | 620 | 10.2 | 1090 | 12.7 | 1360
2019-05-09 10:40 | SWT-030 | 2019-05-09 | 10:31 | Flowing | No issues | https://drive.google.com/open?id=1AVdd6R_XIM-oPJ9FJOhibOTCN7W4R-zH | 3.6 |  | 3.76 | 1460 | 7.49 | 2800 | 6.89 | 2460
2019-05-09 10:42 | SDR-127 | 2019-05-09 | 10:35 | Flowing | Installed camera. | https://drive.google.com/open?id=1Yi1nCwnV35F1sRDHmRdKcOKoQQOQo3bW | 1.2 |  | 14.97 | 480
2019-05-09 11:04 | SDR-064 | 2019-05-09 | 11:01 | Ponded | Installed camera. Water was ponded behind weir below v. | https://drive.google.com/open?id=1uO1opBtZ18NQR-qsMe7PgVBvm2YX66Kw | -0.8 |  | 60 | 0
2019-05-09 11:13 | SWT-055 | 2019-05-09 | 11:05 | Flowing | Very high flow, made flow measurements difficult. | https://drive.google.com/open?id=1fr8iPrKeWg9ZluWJn0s_ehpyJskhL8MK | 10.5 |  | 0.87 | 4420 | 0.85 | 5460 | 1.11 | 5570
2019-05-09 11:48 | SWT-055A | 2019-05-09 | 11:40 | Flowing | Fast flow but able to capture. | https://drive.google.com/open?id=1yKxiKxLkhAAuMhMR8gg_ywtCs0v7isNn | 9.5 |  | 1.8 | 6850 | 0.8 | 3930 | 1.23 | 4680
2019-05-09 12:20 | SDR-223 | 2019-05-09 | 0:18 | Flowing | Barely flowing, non-measurable. | https://drive.google.com/open?id=1p1jkqoIcw5OwJR9xRsVwomKJ6CHq4h6j | 0.8 |  | 60 | 0
2019-05-09 12:43 | SDR-568 | 2019-05-09 | 12:40 | Flowing | No issues | https://drive.google.com/open?id=1nHybqM1Bb6CAdXPPtkWpvmInKwF-Zu73 | 3.3 |  | 4.45 | 1410 | 4.34 | 1360 | 8.45 | 2670
2019-05-09 14:02 | SDR-098 | 2019-05-09 | 13:55 | Ponded | No flow, ponding. Significant sediment accumulation observed. | https://drive.google.com/open?id=1OQKhiFCLCvQhuuBxVn7gk1PP4g0kw7o9
2019-05-09 14:41 | SDR-1031 | 2019-05-09 | 14:39 | Flowing | Very low flow. Not able to calibrate. | https://drive.google.com/open?id=1Jd3pG89gNk5A2Jx9R9KHlUrwq4T28wZ9 | 0.2
2019-05-09 15:00 | SDR-751 | 2019-05-09 | 14:55 | Flowing | Low flow. | https://drive.google.com/open?id=1P8H5WgMZZNkC2VvopDxdcIWui6tMpJ_z | 0.7 |  | 60.23 | 280 | 90.02 | 440 | 45.08 | 210
2019-05-09 15:34 | SDR-1024 | 2019-05-09 | 15:20 | Flowing | Low flow | https://drive.google.com/open?id=1cyn8bbRumXJIdp77Pj-nTYeq2MTpZUb3 | 1 |  | 39.39 | 395 | 45.3 | 450 | 60.08 | 570
2019-05-09 15:41 | SDR-740 | 2019-05-09 | 15:34 | Ponded, possibly leaking. | Ponding below V notch. Possible leak, attempting patch. |  | -2.6 |  | 60 | 0
2019-05-09 16:02 | SDR-097 | 2019-05-09 | 16:00 | Ponded | Ponded, fixed leak with concrete. No flow. | https://drive.google.com/open?id=17vVpYRXvutAX8UOZj1VMh_f4X7IzO4sB | -1.4
2019-05-09 16:15 | SDR-568 | 2019-05-08 | 12:10 | Breakaway popped open | Both breakaways popped open. Site was repaired with new breakaways and patched up with more cement.
2019-05-09 16:32 | SDR-207 | 2019-05-09 | 16:30 | Flowing | No issues | https://drive.google.com/open?id=1G2fQXczMraOMnBpGcm0OyHGj_1xGbp8Q | 7.4 |  | 1.65 | 3600 | 1.1 | 2680 | 1.75 | 3890
2019-05-09 21:27 | SLR-095 | 2019-05-09 | 10:10 | Flowing | Energy dissipating location | https://drive.google.com/open?id=1ln-rBTKx0i5eGA8VhhP6kTjfgGMMm-jt | 3 |  | 6.91 | 1320 | 4.01 | 810 | 4 | 800
2019-05-09 21:30 | SLR-045A | 2019-05-09 | 11:05 | Flowing | Very fast flow. Main weir | https://drive.google.com/open?id=1-4Bin3N8ndNff8eDFNJycQqpyLP2tbka | 7.5 |  | 0.6 | 1050 | 0.4 | 1170 | 0.4 | 1070
2019-05-09 21:32 | SLR-045B | 2019-05-09 | 11:10 | Ponded | No flow. | https://drive.google.com/open?id=1DN9yNgTPLp4g_hWWzbIhDdhpHLIxltNH | 0 |  | 60 | 0 | 60 | 0 | 60 | 0
2019-05-09 21:34 | SLR-045 | 2019-05-09 | 11:25 | Flowing | Downhill from 45A and 45B | https://drive.google.com/open?id=1OptW1bw5VMQ0fmMzqfJMFDfE2IyTE8Pv | 4.8 |  | 1.4 | 850 | 1 | 500 | 0.55 | 380
2019-05-09 21:36 | CAR-072O | 2019-05-09 | 12:15 | Trickle flow. Ponded yesterday. | Trickle flow. Was ponded yesterday. |  | 0.5 |  | 60 | 60 | 120 | 100 | 60 | 40
2019-05-09 21:38 | CAR-072 | 2019-05-09 | 13:10 | Flowing | End of main culvert. No hobo download today |  | 4 |  | 2.4 | 990 | 1.1 | 620 | 1.6 | 740
2019-05-09 21:41 | CAR-072B | 2019-05-09 | 13:20 | Flowing | Sand inside weir. 72b inside long drain. |  | 1.5 |  | 2.5 | 130 | 15.5 | 710 | 10.2 | 470
2019-05-09 21:44 | CAR-070 | 2019-05-09 | 13:45 | Flowing | Swans / backyards |  | 2.75 |  | 5.1 | 980 | 3.8 | 720 | 4 | 790
2019-05-09 21:46 | SDG-072 | 2019-05-09 | 2:50 | Ponded | Leak fixed on 5/7. Was left bottom side. Water level seems to be slowly rising. Water level 1” below bottom of V. | https://drive.google.com/open?id=15v8hd2LWevFefGL01Y2jchs7lPmfT7mO | 1 |  | 60 | 0 | 60 | 0 | 60 | 0
2019-05-09 21:48 | SDG-084 | 2019-05-09 | 15:00 | Flowing | Medical office parking lot |  | 3 |  | 3.63 | 720 | 3.31 | 540 | 3.53 | 700
2019-05-09 21:50 | SDG-085 | 2019-05-09 | 15:15 | Flowing | Behind credit union bank |  | 4 |  | 2.4 | 1300 | 1.5 | 940 | 1.1 | 540
2019-05-09 21:51 | SDG-085G | 2019-05-09 | 15:45 | Ponded | 4s ranch and deer ridge road. No flow. |  | 0 |  | 60 | 0 | 60 | 0 | 60 | 0
2019-05-09 21:53 | SDG-085M | 2019-05-09 | 16:05 | Flowing | Prairie springs and cimarron crest |  | 2.5 |  | 4.4 | 590 | 5.4 | 700 | 5.4 | 680
2019-05-09 21:56 | SDG-084J | 2019-05-09 | 16:25 | Flowing | Done canyon and lone quail rd |  | 1.5 |  | 5.4 | 400 | 7.1 | 500 | 7.06 | 530
2019-05-10 10:37 | SDR-568 | 2019-05-08 | 12:10 | Breakaway popped open | Both breakaways popped open. Site was repaired with new breakaways and patched up with more cement.
2019-05-10 10:46 | SWT-019 | 2019-05-10 | 10:37 | Flowing | Flow increased after the first measurement due to rain flow. Second level was 0.7cm and third was 1.0cm. |  | 0.6 |  | 45 | 130 | 45 | 430 | 45 | 1180
2019-05-10 11:17 | SWT-030 | 2019-05-10 | 11:10 | Flowing | None |  | 2.5 |  | 30 | 6200 | 30 | 6300
2019-05-10 11:17 | SLR-045B | 2019-05-10 | 10:30 | Ponded | Low flow, unable to sample. | https://drive.google.com/open?id=1xfr0cuPMuq7DkTiAIiuEzctMph4CEf59 | 0
2019-05-10 11:20 | SLR-045A | 2019-05-10 | 10:40 | Flowing | No issues. | https://drive.google.com/open?id=1-mwXkwl4v9Kapn3MpODSOu2PIBXIfWcR | 7.75 |  | 1.26 | 3340 | 0.95 | 2410 | 0.77 | 2050
2019-05-10 11:24 | SLR-045 | 2019-05-10 | 10:58 | Flowing | No issues | https://drive.google.com/open?id=1992ELl72lSrffmDtCARyDUPp-mN6N6BX | 7.5 |  | 0.88 | 2430 | 1.02 | 2320 | 1.25 | 2980
2019-05-10 11:33 | SWT-055 | 2019-05-10 | 11:31 | Flowing | High flow |  | 10 |  | 1.68 | 7050 | 1.66 | 7030
2019-05-10 11:46 | SWT-055A | 2019-05-10 | 11:43 | Flowing | None |  | 7.7 |  | 2.69 | 7950 | 2.57 | 6800 | 2.14 | 6300
2019-05-10 12:01 | CAR-072O | 2019-05-10 | 11:59 | Ponded | Very small amount of flow, level less than 0.5 cm | https://drive.google.com/open?id=1_P3v7dl3jJk2y0ufsTywd_22Ohxabgx2 | 0 |  | 60 | 0 |  |  |  | 0
2019-05-10 12:14 | SDR-223 | 2019-05-10 | 12:10 | Flowing | None |  | 0.7 |  | 60 | 290 | 60 | 295
2019-05-10 12:19 | CAR-072 | 2019-05-10 | 12:15 | Flowing | No issues | https://drive.google.com/open?id=1kQI7ywKQ6Omxi7qzODXZgTc0sz9RU_MR | 3.3 |  | 4.36 | 1310 | 3.23 | 1040 | 3.52 | 1180
2019-05-10 12:24 | SDR-568 | 2019-05-10 | 12:17 | Flowing | None |  | 1.3 |  | 30 | 1010 | 30 | 990 | 30 | 1010
2019-05-10 12:36 | CAR-072B | 2019-05-10 | 12:21 | Flowing | No issues. | https://drive.google.com/open?id=1e1NejO8Y2qjIMQYiECboaQtX7g7eL2Rg | 2.25 |  | 37.98 | 1580 | 23.82 | 990 | 27.03 | 1100
2019-05-10 12:53 | CAR-070 | 2019-05-10 | 12:50 | Flowing | No issues | https://drive.google.com/open?id=16Zae9Fug8yRGCiF9ROMq9RlvRIm8q-Sm | 2.75 |  | 7.02 | 1510 | 4.49 | 850 | 4.88 | 940
2019-05-10 13:19 | SDR-203A | 2019-05-10 | 12:50 | Ponded | None |  | 0 |  | 60 | 0
2019-05-10 13:19 | SDR-203A | 2019-05-10 | 12:50 | Ponded | None |  | 0 |  | 60 | 0
2019-05-10 13:22 | SDR-203A | 2019-05-10 | 12:50 | Ponded | None |  | 0 |  | 60 | 0
2019-05-10 13:25 | SDR-203A | 2019-05-10 | 12:50 | Ponded | None |  | 0 |  | 60 | 0
2019-05-10 13:38 | SDR-939 | 2019-05-10 | 13:27 | Flowing | None |  | 0.5 |  | 30 | 160 | 30 | 150
2019-05-10 13:40 | SDR-204A | 2019-05-10 | 12:55 | Flowing | Small leakage observed and repaired with cement. |  | 0.7 |  | 60 | 240 | 60 | 225 | 60 | 230
2019-05-10 14:04 | SLR-095 | 2019-05-10 | 11:26 | Flowing | flowing no problems found |  | 2.9 |  | 15 | 2650 | 15 | 2650
2019-05-10 14:05 | SDG-085 | 2019-05-10 | 12:30 | Flowing | all look good |  | 3.4 |  | 10 | 2430 | 10 | 2430
2019-05-10 14:08 | SDG-084 | 2019-05-10 | 12:59 | Flowing | all good |  | 3.4 |  | 10 | 2430 | 10 | 2430
2019-05-10 14:10 | SDG-085 | 2019-05-10 | 12:00 | Flowing | all good |  | 3.9 |  | 7 | 2700 | 7 | 2700
2019-05-10 14:17 | SDG-084J | 2019-05-10 | 14:00 | Flowing | No issues. | https://drive.google.com/open?id=1aVFDjfhLpJXom72ZhC1fFjogCWR42HRy | 1.8 |  | 24.88 | 1950 | 11.25 | 860 | 16.21 | 1230
2019-05-10 14:52 | SDG-085M | 2019-05-10 | 14:35 | Flowing | No issues | https://drive.google.com/open?id=1vH3M50tm53prSWbuum-ZbOiFq2Bo31Q6 | 2.3 |  | 19.57 | 2350 | 12.36 | 1420 | 13.1 | 1510
2019-05-10 15:56 | SDR-127B | 2019-05-10 | 15:55 | Flowing | None |  | 0.3 |  | 60 | 45 | 0.3 | 40
2019-05-10 16:23 | SDR-041 | 2019-05-10 | 16:15 | Flowing | None |  | 3 |  | 30 | 7800 | 30 | 7500 | 60 | 7500
2019-05-10 16:32 | SDR-098 | 2019-05-10 | 16:30 | Flowing | None |  | 0.5 |  | 60 | 340 | 60 | 330
2019-05-10 16:36 | SDR-097 | 2019-05-10 | 16:35 | Dry | None
2019-05-10 16:38 | SDR-1031 | 2019-05-10 | 16:38 | Ponded | None |  | 0 |  | 60 | 0
2019-05-10 16:59 | SDR-1024 | 2019-05-10 | 16:40 | Ponded | None |  | 0 |  | 60 | 0
2019-05-10 17:01 | SDR-740 | 2019-05-10 | 16:55 | Ponded | None |  | 0 |  | 60 | 0
2019-05-10 17:05 | SDR-751 | 2019-05-10 | 16:48 | Ponded | None |  | 0 |  | 60 | 0
2019-05-10 17:24 | SDR-772 | 2019-05-10 | 17:23 | Ponded | None |  | 0
2019-05-13 12:33 | SDR-1031 | 2019-05-13 | 12:30 | Ponded | Water ponded slightly below v notch | https://drive.google.com/open?id=1k4njmwdl9852ECOVVxHNsxMoWznKm6Ob | -0.32 |  | 60 | 0 | 60 | 0 | 60 | 0
2019-05-13 12:45 | SDR-751 | 2019-05-13 | 0:37 | Flowing | Trickle flow | https://drive.google.com/open?id=1qaTLTOWbcOJvM19cNWy9kS1wdWAaYNCd | 0.6 |  | 60.26 | 290 | 38.61 | 185 | 30.09 | 150
2019-05-13 12:56 | SDR-740 | 2019-05-13 | 0:53 | Ponded | Ponded at v notch | https://drive.google.com/open?id=1x-kRKo8mjiX-RwFe_Kh81QBQxPIJtgFH | 0 |  | 60 | 0 | 60 | 0 | 60 | 0
2019-05-13 13:17 | SDR-1024 | 2019-05-13 | 13:08 | Flowing | No issues | https://drive.google.com/open?id=1BGHYbs9lQ_7trSgcaTgF8lGiK6MV_y-K | 1.1 |  | 31.22 | 380 | 31.74 | 390 | 33.57 | 410
2019-05-13 13:24 | SDR-097 | 2019-05-13 | 13:20 | Ponded | Attempted to fix leak one hour before measurement |  | -3.6 |  | 60 | 0
2019-05-13 13:38 | SDR-098 | 2019-05-13 | 13:36 | Ponded | Ponded at v notch | https://drive.google.com/open?id=1jtbfklpPYCnFQYp4JLtjm1Ufs9OflZYr | 0 |  | 60 | 0 | 60 | 0 | 60 | 0
2019-05-13 15:52 | SDG-085M | 2019-05-13 | 15:37 | Flowing | Fixed telemetry issue. No issues with weir. | https://drive.google.com/open?id=18ysv5mu0WIddEGAauXqx5_dO2-4hC_wz | 1.9 |  | 6.71 | 500 | 8.71 | 600 | 9.41 | 650
2019-05-13 16:05 | SDG-072 | 2019-05-13 | 16:05 | Ponded | Appears to not be leaking | https://drive.google.com/open?id=1s4vO8uYd1fDIsFpGjE18FsKHTk2Copaf | -2.75 |  | 60 | 0
2019-05-14 09:54 | SWT-055A | 2019-05-14 | 9:47 | Flowing | No issues |  | 8.1 |  | 1.14 | 3200 | 1.27 | 3110 | 1.12 | 3260
2019-05-14 10:16 | LAB_TEST | 2019-05-14 | 10:10 | Flowing | No leaks in pipe. | https://drive.google.com/open?id=12gGyvuVv69_C6AdNRhAwDA_JRkKSYOHz | 2 |  | 10.25 | 800 | 5.2 | 385 | 8.9 | 685
2019-05-14 10:24 | SDR-223 | 2019-05-14 | 10:19 | Flowing | No issues | https://drive.google.com/open?id=1Q44tO_6KmAxzVnFFJfh6orp7CCl6UTq4 | 0.7 |  | 64.03 | 170 | 61.12 | 150 | 49.08 | 130
2019-05-14 11:01 | SDR-772 | 2019-05-14 | 10:50 | Flowing | No issues. Very low flow. | https://drive.google.com/open?id=1G4C_K-RgVsxUx14HUo7L5s3KYYVg_HL0 | 0.6 |  | 68.95 | 63 | 90.05 | 95 | 100.1 | 90
2019-05-14 11:17 | SDR-207 | 2019-05-14 | 11:10 | Flowing | No issues | https://drive.google.com/open?id=1McVg-729LVpMpQR0JsIcEIrl7iSFFsFx | 6.7 |  | 1.15 | 2450 | 1.33 | 3130 | 1.26 | 2520
2019-05-14 11:38 | SDR-780 | 2019-05-14 | 11:37 | Flowing | Very high flow, flowing in the composite, over flowing the v notch. | https://drive.google.com/open?id=17_2BiWfGJXyqsCUQBeyrfVXMn_CiS0Ik | 16.8
2019-05-14 12:01 | SDR-127 | 2019-05-14 | 11:58 | Ponded | No issues | https://drive.google.com/open?id=1mQqKKfHw9LBFJLln7vqq9gRVkNCZ4v07 | 0
2019-05-14 12:27 | SDR-127B | 2019-05-14 | 12:25 | Ponded | Dead rat in water | https://drive.google.com/open?id=1UlkhVs6s2CcUmcsu9zPJMEHTKSKeZUXP | -2.7 |  | 60 | 0
2019-05-14 12:57 | SDR-041 | 2019-05-14 | 12:53 | Flowing | No issues | https://drive.google.com/open?id=1-IYOETJU9Dfkhl9D7V_8yxcMfPTP-urG | 2.8 |  | 6.33 | 1600 | 8.5 | 2150 | 9.55 | 2380
2019-05-14 13:41 | SDR-228 | 2019-05-14 | 13:35 | Flowing | No issues | https://drive.google.com/open?id=19hHQ5hiRVOyZXKWuzRyX9kMDkPMKQvFL | 0.9 |  | 40 | 400 | 35.9 | 360 | 30 | 300
2019-05-14 14:59 | SDR-064 | 2019-05-14 | 14:57 | Ponded | No flow. Camera blocking ammo box from opening. | https://drive.google.com/open?id=1QqC_bOQXQBBjQWKwl0klBzZJetNGOZCc | -2.4 |  | 60
2019-05-14 15:20 | SDR-723 | 2019-05-14 | 15:11 | Ponded | No issues | https://drive.google.com/open?id=1zW_yEpW55m6RsETxj39uQMofjpYk_9An | -1.9 |  | 60 | 0
2019-05-14 17:44 | LAB_TEST | 2019-05-14 | 17:26 | Flowing | Lab weir is leaking. Level at 17:26 was 7 cm. Level at 17:36 was 5 cm. | https://drive.google.com/open?id=1qcZGUiUfO-PKtzNxcGVTGE8z-pcltaSA | 7 |  | 2.24 | 2720 | 2.45 | 2120 | 2.4 | 2160
2019-05-15 10:08 | SDR-127B | 2019-05-15 | 9:58 | Ponded | No issues | https://drive.google.com/open?id=1cHhRkQAWWlNWINvOswiauODZDASGUb-M | -2.2 |  | 60 | 0
2019-05-15 11:34 | SLR-045 | 2019-05-15 | 11:27 | Flowing | No issues | https://drive.google.com/open?id=14ikJuoQ3xZKn6sao-QKuYMgQdyRNX9m0 | 7.3 |  | 1.9 | 4063 | 1.49 | 3800 | 1.42 | 3240
2019-05-15 11:51 | SLR-045B | 2019-05-15 | 11:48 | Flowing | Very little flow - unmeasurable, one breakaway popped | https://drive.google.com/open?id=1i-jHsiHtP2hfj_LZrZmIdYs0weUXXZ7g | 0.1 |  | 60 | 0
2019-05-15 11:59 | SLR-045A | 2019-05-15 | 11:56 | Flowing | No issues | https://drive.google.com/open?id=1ZOanh1oBBHtWcBECbSTiDxoSAjBQNVb0 | 2.7 |  | 5.95 | 1063 | 4.83 | 695 | 6.05 | 830
2019-05-15 12:42 | SLR-095 | 2019-05-15 | 12:32 | Flowing | No issues | https://drive.google.com/open?id=1WX04DtkedH1pu2qC0_8KW0AKOU-5f9ER | 2.7 |  | 5.32 | 885 | 8.92 | 1510 | 8.62 | 1450
2019-05-15 14:27 | CAR-070 | 2019-05-15 | 14:22 | Flowing | No issues | https://drive.google.com/open?id=1bfFbBVbE1PKJjMifGI0B5RQyOZ3k8MX- | 2.2 |  | 8.53 | 1530 | 10.25 | 1740 | 13.12 | 2190
2019-05-15 15:19 | CAR-072 | 2019-05-15 | 15:16 | Flowing | No issues | https://drive.google.com/open?id=196PxFhlTnMEWliLsIu489q1rE0-WKL6y | 2.5 |  | 10.85 | 1810 | 11.1 | 1850 | 12.32 | 2070
2019-05-15 16:28 | LAB_TEST | 2019-05-15 | 13:46 | Flowing | Weir is leaking a tiny bit | https://drive.google.com/open?id=1bvn1geIbwwCQhieqg4B7P2Va6jyRVF7q | 8 |  | 1.925 | 5720 | 1.355 | 4000 | 4.75 | 9850
2019-05-15 17:25 | LAB_TEST | 2019-05-15 | 17:08 | Flowing | Not leaking | https://drive.google.com/open?id=1pdFu7OWC8uhcYORJvuJvomAC-KeRZvgJ | 8.1 |  | 0.73 | 3020 | 0.81 | 2190 | 1.13 | 3105
2019-05-16 09:46 | SDG-072 | 2019-05-15 | 10:05 | Flowing | flowing |  | 2.2 |  | 15 | 1700 | 15 | 1700
2019-05-16 09:49 | SDR-723 | 2019-05-15 | 13:13 | no flow ponded below v notch -2 cent | no flow |  | -2
2019-05-16 09:57 | SDR-064 | 2019-05-15 | 12:04 | Ponded | ponded |  | -1.3
2019-05-16 09:58 | SDR-228 | 2019-05-15 | 11:54 | Flowing | flowing |  | 0.5 |  | 30 | 1060
2019-05-16 10:02 | SDG-085 | 2019-05-15 | 9:33 | Flowing | flowing |  | 3.9 |  | 7.35 | 3000
2019-05-16 10:04 | SDG-085G | 2019-05-15 | 9:58 | Flowing | very low flow |  | 0.4 |  | 30 | 30
2019-05-16 10:16 | SDR-041 | 2019-05-15 | 12:57 | Flowing | flowing |  | 3 |  | 12 | 4500
2019-05-17 10:37 | SDG-085G | 2019-05-17 | 10:30 | Flowing | Lots of landscaping debris, grass and leaves, and low flow |  | 0.4 |  | 30.7 | 85 | 30.4 | 87
2019-05-17 10:51 | SDG-072 | 2019-05-17 | 10:45 | Flowing | No issues. | https://drive.google.com/open?id=1GoVDNR4idghBa-e1Wdnne7d3g1nHYGp- | 1.8 |  | 15.9 | 1230 | 14.7 | 1190
2019-05-17 11:31 | SDR-723 | 2019-05-17 | 11:28 | Ponded | No flow, water was ponded. | https://drive.google.com/open?id=1xiTB1fTi5aiBbidCwXg_Ay_6mBFZta7q | -1
2019-05-17 11:46 | SDR-228 | 2019-05-17 | 11:43 | Flowing | No issues. | https://drive.google.com/open?id=1dtoEd63YaJYPYhsd1u8hL9w08mhD3Ntf | 0.6 |  | 30.6 | 200 | 30.2 | 196
2019-05-17 12:13 | SDR-041 | 2019-05-17 | 0:05 | Flowing | No issues. | https://drive.google.com/open?id=1J01DuZIqTEs0ui9cizSov9yTkfYNa2YL | 3 |  | 15.8 | 3800 | 15.2 | 3700
2019-05-17 12:32 | SDR-127B | 2019-05-17 | 0:26 | Flowing | Very low flow. |  | 0.4 |  | 30.24 | 70 | 30.8 | 75
2019-05-21 16:59 | SDR-127 | 2019-05-21 | 16:00 | Flowing | Mosquito lady site. No issues. |  | 0.7 |  | 42.03 | 140 | 50.23 | 168 | 37.45 | 115
2019-05-21 17:22 | SDG-080 | 2019-05-21 | 17:07 | Flowing | No issues |  | 7.3 |  | 1.13 | 2140 | 0.96 | 2210 | 0.76 | 1830
2019-05-23 11:33 | SDG-080 | 2019-05-23 | 10:24 | Flowing | 1/3 Flow was rapidly decreasing while measurements were being taken. |  | 13.5 |  | 1.32 | 9100
2019-05-23 11:35 | SDG-080 | 2019-05-23 | 10:32 | Flowing | 2/3 Flow was rapidly decreasing while measurements were being taken. |  | 12 |  | 2.04 | 8050
2019-05-23 11:36 | SDG-080 | 2019-05-23 | 10:38 | Flowing | 3/3 Flow was rapidly decreasing while measurements were being taken. |  | 10.81 |  | 1.99 | 7240
2019-05-23 12:39 | SDR-127 | 2019-05-23 | 0:35 | Flowing | No issues. | https://drive.google.com/open?id=1sf0Lov1-alfl2P7WKGhNm5Ow9OcXM8aP | 2.8 |  | 16.02 | 3480
2019-06-03 09:17 | SDR-772 | 2019-05-10 | 17:23 | Ponded | None |  | 0
2019-06-03 10:01 | SWT-030 | 2019-06-03 | 9:55 | Flowing | None. |  | 3.6 |  | 7 | 3000
2019-06-03 10:11 | SWT-055 | 2019-06-03 | 10:10 | Flowing | None |  | 9.9 |  | 1.9 | 8500 | 1.9 | 8600
2019-06-03 10:20 | SWT-055A | 2019-06-03 | 10:19 | Flowing | None |  | 8 |  | 2.48 | 7500
2019-06-03 10:45 | SWT-019 | 2019-06-03 | 10:45 | Ponded | None |  | 0
2019-06-03 10:47 | SLR-045B | 2019-06-03 | 10:36 | Trickle | Barely any flow. Highwater mark in the box culvert is above the v. | https://drive.google.com/open?id=1VBoN4Md39fYW4mgFt1VsL4smgyrWRqvA | 0.3 |  | 60 | 0 | 60 | 0 | 60 | 0
2019-06-03 10:59 | SLR-045A | 2019-06-03 | 10:47 | Flowing | Operating perfectly | https://drive.google.com/open?id=1_5hprn_eRsECtN9D7bmXIGrCkqUPaiyV | 5.4 |  | 4.06 | 4760 | 4.89 | 5000 | 5.37 | 4910
2019-06-03 11:33 | SDR-223 | 2019-06-03 | 11:15 | Ponded | None |  | -0.5 |  | 60 | 0
2019-06-03 11:34 | SDR-568 | 2019-06-03 | 11:30 | Flowing | Oil sheen in the water. |  | 0.6 |  | 60 | 380
2019-06-03 11:39 | SLR-045 | 2019-06-03 | 11:35 | Flowing | Camera downloaded |  | 3.2 |  | 9.67 | 2470
2019-06-03 12:04 | SDR-568 | 2019-06-03 | 11:30 | Flowing | Oil sheen in the water. |  | 0.6 |  | 60 | 380
2019-06-03 12:05 | SDR-939 | 2019-06-03 | 12:00 | Ponded | One break away was broken. |  | 0
2019-06-03 12:18 | SDR-036 | 2019-06-03 | 12:15 | Ponded | None. |  | 0 |  | 60 | 0
2019-06-03 13:25 | SDR-127B | 2019-06-03 | 13:20 | Ponded | None |  | 0 |  | 60 | 0
2019-06-03 13:28 | SDR-127 | 2019-06-03 | 13:29 | Ponded | None |  | 0
2019-06-03 13:55 | SDR-780 | 2019-06-03 | 13:55 | Flowing | None |  | 6.5 |  | 4.35 | 8500
2019-06-03 14:04 | SDR-772 | 2019-06-03 | 14:05 | Ponded | Barely trickling, couldn’t measure it. |  | 0
2019-06-03 14:14 | SLR-095 | 2019-06-03 | 14:08 | Flowing | No issues | https://drive.google.com/open?id=1doWois_6bMM0mBsxdbUyXgGaq3cjyt6d | 2.7 |  | 14.28 | 2400
2019-06-03 14:29 | SDR-207 | 2019-06-03 | 14:29 | Flowing | None |  | 6.6 |  | 4 | 8000
2019-06-03 14:59 | SDR-041 | 2019-06-03 | 14:55 | Flowing | Signs of water/sediments in the camera case. |  | 2.8 |  | 30 | 6500
2019-06-03 15:16 | CAR-072 | 2019-06-03 | 15:11 | Flowing | No issues | https://drive.google.com/open?id=1KPh1mJRYuaHbi7JjcjFSnXoBmmKgFrmy | 3.6 |  | 7.04 | 2820
2019-06-03 15:47 | CAR-072B | 2019-06-03 | 15:43 | Flowing | No issues | https://drive.google.com/open?id=1bw0KgYfUUGqSJ32cFkRxkNnxUwi05rg1 | 1.3 |  | 33.09 | 910
2019-06-03 16:04 | CAR-072O | 2019-06-03 | 16:02 | Ponded | Storm flow debris over topped weir likely |  | 0
2019-06-03 16:24 | CAR-070 | 2019-06-03 | 16:19 | Flowing | No issues | https://drive.google.com/open?id=1Tk-mf3pGptSSDwVFl_AxuIGadphCKw0k | 2.5 |  | 15.32 | 2220
2019-06-04 10:14 | SDG-080 | 2019-06-04 | 10:15 | Flowing | Sig debris in v cleared | https://drive.google.com/open?id=1IfvivtAms0O2XU0YxeSvyccIu4kwjLlk | 9.3
2019-06-04 10:25 | SDG-080 | 2019-06-04 | 10:20 | Flowing | Debris cleared measured again |  | 7.2 |  | 1.4 | 2800
2019-06-04 10:48 | SDG-085G | 2019-06-04 | 10:45 | Ponded | Ponder can’t fit tray behind weir |  | 0 |  | 60 | 0
2019-06-04 11:15 | SDG-085M | 2019-06-04 | 11:10 | Flowing | Lots of spider webs | https://drive.google.com/open?id=1YqOdTS36jCbOXtHhBtF0Jop-NXx05BOi | 1.9 |  | 9.6 | 925 | 14.5 | 1380 | 9 | 820
2019-06-04 11:40 | SDG-085 | 2019-06-04 | 11:35 | Flowing | None |  | 3.7 |  | 5.5 | 2555 | 4.5 | 2000 | 5.3 | 2400
2019-06-04 11:43 | SDR-939 | 2019-06-04 | 11:45 | Ponded | Fixed one breakaway chain |  | 0 |  | 60 | 0
2019-06-04 11:43 | SDR-203A | 2019-06-04 | 11:00 | Breakaway popped open | Repaired weir
2019-06-04 11:44 | SDR-204A | 2019-06-04 | 11:00 | Breakaway popped open | Repairsd
2019-06-04 12:04 | SDR-780 | 2019-06-04 | 12:00 | Flowing | Weir is leaning |  | 7.2 |  | 4 | 8700
2019-06-04 12:04 | SDG-072 | 2019-06-04 | 11:55 | Flowing | None |  | 1.2 |  | 30 | 620 | 30 | 600 | 30 | 650
2019-06-04 12:24 | SDR-098 | 2019-06-04 | 12:20 | Flowing | Some gravel |  | 1 |  | 810
2019-06-04 12:45 | SDR-097 | 2019-06-04 | 12:45 | Flowing | CRANKING |  | 21.5
2019-06-04 12:49 | SDR-1031 | 2019-06-04 | 12:50 | Ponded | Slightly below v |  | -0.2 |  | 60 | 0
2019-06-04 12:56 | SDR-751 | 2019-06-04 | 12:55 | Flowing | Barely trickle and smells of death |  | 0.2 |  | 60 | 25
2019-06-04 13:04 | SDR-740 | 2019-06-04 | 13:00 | Ponded | Cleared sediment. Maybe a slight trickle too low to measure |  | 0.2 |  | 60 | 0
2019-06-04 13:25 | SDG-084J | 2019-06-04 | 13:20 | Flowing | No issues |  | 1.3 |  | 30.12 | 1220 | 20.13 | 830 | 20.16 | 820
2019-06-04 13:29 | SDR-097 | 2019-06-04 | 13:30 | Flowing | High right at v to rectangle transition |  | 17.5
2019-06-04 13:48 | SDG-084 | 2019-06-04 | 13:44 | Flowing | Weir got a little pushed out by storm flow. No leaks though |  | 2.9 |  | 8.25 | 1530 | 8.5 | 1500 | 8.62 | 1540
2019-06-04 13:53 | SDR-228 | 2019-06-04 | 13:55 | Ponded | Removed cushion from downstream |  | 0 |  | 60 | 0
2019-06-04 14:08 | SDR-064 | 2019-06-04 | 14:05 | Leaking | Repaired |  | -3
2019-06-04 15:30 | SDG-080 | 2019-06-04 | 15:24 | Flowing | No issues |  | 7 |  | 1.35 | 4420 | 1.15 | 3360 | 1.08 | 2215
2019-06-04 16:29 | SDG-080 | 2019-06-04 | 16:30 | Flowing | Shoveled out sediment. Installed new bubbler |  | 7
2019-06-07 12:31 | SDG-085 | 2019-06-07 | 12:20 | Obstructed | Removed debris |  | 9.2
2019-06-07 12:32 | SDG-085 | 2019-06-07 | 12:25 | Flowing | Debris removed |  | 6
2019-06-17 09:42 | SWT-030 | 2019-06-17 | 9:36 | Flowing | Cleaned dirt and sand from around probe. |  | 2.3 |  | 30 | 5100
2019-06-17 10:00 | SWT-030 | 2019-06-17 | 9:36 | Flowing | Cleaned dirt and sand from around probe. |  | 2.3 |  | 30 | 5100
2019-06-17 10:05 | SWT-055 | 2019-06-17 | 10:02 | Flowing | Removed dirt, debris, and algae from probe |  | 9.7 |  | 3.16 | 14250
2019-06-17 10:17 | SWT-055A | 2019-06-17 | 10:13 | Flowing | Cleaned dirt, sand and trash from around probe |  | 7.8 |  | 4.33 | 12000
2019-06-17 10:43 | SWT-019 | 2019-06-17 | 10:41 | Ponded | Replaced logger batteries. |  | 0 |  | 0 | 0
2019-06-17 11:05 | CAR-072 | 2019-06-17 | 10:55 | Flowing | Logger batteries replaced | https://drive.google.com/open?id=18s_OX-SsYUF3Iyi9YoJlC4qrPbAN1ms7 | 2.8 |  | 10.66 | 2440 | 9.8 | 2025 | 10.26 | 2270
2019-06-17 12:04 | CAR-072O | 2019-06-17 | 12:00 | Obstructed | Debris in weir cleared. |  | 0.7 |  | 60 | 310
2019-06-17 12:07 | CAR-072O | 2019-06-17 | 12:05 | Flowing | Second measurement after debris cleared |  | 0.4 |  | 60 | 180
2019-06-17 12:34 | SDR-740 | 2019-06-17 | 12:33 | Ponded | No flow. Weir does not appear to be leaking |  | 0 |  | 60 | 0
2019-06-17 12:44 | CAR-070 | 2019-06-17 | 12:35 | Flowing | Changed batteries | https://drive.google.com/open?id=1uUqIDY3JhNOacEypXp8e2Wm0CJNTH2Wx | 2.3 |  | 18.17 | 2090 | 22.79 | 2590 | 24.53 | 2800
2019-06-17 12:48 | SDR-1024 | 2019-06-17 | 12:40 | Flowing | Replaced logger batteries |  | 0.8 |  | 60 | 560
2019-06-17 12:57 | SDR-751 | 2019-06-17 | 12:56 | Flowing | Small amount of flow. No leaks detected |  | 0.6 |  | 60 | 150
2019-06-17 13:03 | SDR-1031 | 2019-06-17 | 13:00 | Flowing | Small amount of flow. No leaks detected |  | 0.4 |  | 60 | 40
2019-06-17 13:08 | SDR-097 | 2019-06-17 | 13:07 | Ponded | Pond is below v but no sign of leakage |  | -4.5 |  | 0 | 0
2019-06-17 13:13 | SDR-098 | 2019-06-17 | 13:15 | Ponded | Cleaned probe of sand and mud |  | 0 |  | 0 | 0
2019-06-17 13:30 | SDR-041 | 2019-06-17 | 13:30 | Flowing | Cleaned debris and sediment from around probe |  | 2.8 |  | 30 |  | 6000
2019-06-17 14:11 | SLR-045A | 2019-06-17 | 13:35 | Flowing | High flow. Strong chlorine smell. Warm water. Potentially draining resort pool. | https://drive.google.com/open?id=1vBXYrqEQ5IUxzuAf6v2z6habgE68AV_Y | 5 |  | 9.17 | 8900 | 8.76 | 8420 | 9.34 | 9400
2019-06-17 13:58 | SDR-127 | 2019-06-17 | 13:54 | Flowing | Replaced probe new probe s/n is 1355403449 |  | 0.8 |  | 60 | 510
2019-06-17 15:01 | SLR-045B | 2019-06-17 | 15:00 | Ponded | Breakaway cable fixed. Replaced probe : 1345303420. New probe: 1300103385 | https://drive.google.com/open?id=1Y22g9OpujiOYTDJL8idNQvA38qy-Ri_C | 0.3
2019-06-17 15:03 | SLR-045A | 2019-06-17 | 15:00 | Flowing | Second measurement after sediment cleared |  | 5.5 |  | 6.72 | 7400
2019-06-17 15:20 | SLR-045 | 2019-06-17 | 15:15 | Flowing | Changed camera angle | https://drive.google.com/open?id=1M7z5BlP7ysdtdj_4HQ_zRx1HohswTQgf | 50 |  | 3.2 | 7000
2019-06-17 15:51 | SLR-095 | 2019-06-17 | 15:50 | Flowing | Sediment cleaned out. Before probe replaced | https://drive.google.com/open?id=13EH5M9rxLSuaDEN9oRWcutU9Hy3S1173 | 2.6 |  | 14.19 | 2200
2019-06-17 16:33 | SLR-095 | 2019-06-17 | 16:30 | Flowing | After probe replaced and sediment cleared. Replaced probe:1352203398 New probe: 1293403365 | https://drive.google.com/open?id=1eO4JHj2hk7uBpOa_xT-FAIBCAc8Dqq47 | 2.5 |  | 14.45 | 2100
2019-06-18 09:27 | SDR-127 | 2019-06-17 | 13:54 | Flowing | Replaced probe new probe s/n is 1355403449 |  | 0.8 |  | 60 | 510
2019-06-18 09:32 | SDR-203A | 2019-06-18 | 9:30 | Flowing | Cleaned sand and debris from around probe |  | 0.4 |  | 60 | 100
2019-06-18 09:44 | SDR-204A | 2019-06-18 | 9:45 | Ponded | Replaced probe s/n1311003448 cleaned probe added water behind weir to get to zero |  | 0 |  | 60 | 0
2019-06-18 09:59 | SDR-939 | 2019-06-18 | 10:00 | Ponded | Cleaned debris and sand from around probe |  | -0.4 |  | 0 | 0
2019-06-18 10:05 | SDR-939 | 2019-06-18 | 10:05 | Leaking | Fixed possible leak in weir |  | -0.4 |  | 0 | 0
2019-06-18 10:11 | SDG-080 | 2019-06-18 | 22:05 | Flowing | Small amount of sediment cleared | https://drive.google.com/open?id=1ueJGSH3XjioVMI0x5EpddLNNj2le1AQb | 7.4 |  | 2.3 | 6000 | 2.1 | 7000 | 3.4 | 6500
2019-06-18 10:15 | SDR-772 | 2019-06-18 | 10:15 | Ponded | Cleaned sand and debris from around probe |  | 0 |  | 0 | 0
2019-06-18 10:31 | SDR-780 | 2019-06-18 | 10:30 | Flowing | Cleaned debris and algae from around probe. No leaks detected |  | 6.5 |  | 4 | 7250
2019-06-18 10:43 | SDR-207 | 2019-06-18 | 10:42 | Flowing | Cleaned sand from around probe |  | 6.7 |  | 5 | 9500
2019-06-18 10:55 | SDR-036 | 2019-06-18 | 10:54 | Ponded | Cleaned debris from around probe |  | 0 |  | 60 | 0
2019-06-18 10:58 | SDG-085G | 2019-06-18 | 9:50 | Flowing | measurement taken after debris cleared | https://drive.google.com/open?id=1xZHNMOb7QFqnQQyn9JGDibhYJ0W9j4GE | 1.6 |  | 100 | 900
2019-06-18 11:00 | SDG-085G | 2019-06-18 | 9:55 | Flowing | No notes |  | 1.7 |  | 60 | 875
2019-06-18 11:16 | SDR-127B | 2019-06-18 | 11:15 | Ponded | No maintenance necessary |  | 0 |  | 60 | 0
2019-06-18 11:20 | SDG-085M | 2019-06-18 | 11:15 | Flowing | No note |  | 2.4 |  | 25.15 | 3400
2019-06-18 11:28 | SDG-085M | 2019-06-18 | 11:20 | Flowing | Batteries replaced in meter |  | 2.5 |  | 22.55 | 3150
2019-06-18 11:29 | SDR-228 | 2019-06-18 | 11:30 | Ponded | No maintenance necessary |  | 0 |  | 0 | 0
2019-06-18 11:41 | SDR-064 | 2019-06-18 | 11:40 | Ponded | Cleaned algae and debris from around probe |  | -1.3 |  | 0 | 0
2019-06-18 11:43 | SDG-085 | 2019-06-18 | 11:40 | Flowing | Measurement before debris cleared. No v notch obstruction |  | 4.1 |  | 10.63 | 8100
2019-06-18 11:55 | SDG-085 | 2019-06-18 | 11:50 | Flowing | Measurement after debris removed | https://drive.google.com/open?id=1BfTmVmpGvyD6IqhbFay-HOGvyWgw5N_H | 4.1 |  | 10.51 | 8100
2019-06-18 12:00 | SDR-064 | 2019-06-18 | 11:40 | Ponded | Cleaned algae and debris from around probe |  | -1.3 |  | 0 | 0
2019-06-18 12:05 | SDR-568 | 2019-06-18 | 12:02 | Flowing | Replaced logger batteries. No other maintenance issues |  | 1.5 |  | 30 | 1400
2019-06-18 12:15 | SDR-223 | 2019-06-18 | 0:14 | Ponded | Cleaned sand and debris around probe. Quite a bit of air trapped in probe housing. |  | 0 |  | 60 | 0
2019-06-18 12:20 | SDG-084 | 2019-06-18 | 12:15 | Flowing | Cleared debris then took measurement | https://drive.google.com/open?id=1DhFyheQ-IWVd1Gqu_wOiw3XHcZFU5TG_ | 2.8 |  | 7.64 | 1180
2019-06-18 12:44 | SDG-084 | 2019-06-18 | 13:00 | Flowing | Replaced probe new probe: 1355403436 Old probe: 1352203393 |  | 2.7 |  | 10.2 | 1760
2019-06-18 13:35 | SDG-084J | 2019-06-18 | 13:30 | Flowing | Replaced probe: 1355403450 New probe: 1345303430 | https://drive.google.com/open?id=1wjulu-iyc3GQLy3jWjGVBCsTkqJfIjxb | 1 |  | 60 | 700
2019-06-18 13:54 | SDG-072 | 2019-06-18 | 13:50 | Obstructed | Cleared leaf in v notch. 1.1cm before leaf cleared | https://drive.google.com/open?id=1WVB7gm6-yvrzd3UGu-kct-Ejp3hHe2yp | 1.1
2019-06-18 13:59 | SDG-072 | 2019-06-18 | 13:55 | Flowing | Measurement after debris cleared. | https://drive.google.com/open?id=1_h8iQWom-EvaVUvqFipgwrcMjlLvcpIM, https://drive.google.com/open?id=1TsxK7VbJb5PS7OmzzdrBG8vu9pV3c0Pq | 1.1 |  | 60 | 1420
2019-06-18 15:12 | SDG-080 | 2019-06-18 | 15:10 | Flowing | Changed battery |  | 7.7 |  | 1.57 | 5100
2019-06-21 10:08 | SDG-080 | 2019-06-21 | 10:10 | Flowing | Bubbler line was not attached |  | 7.6 |  | 1 | 1320
2019-06-25 09:45 | SDR-780 | 2019-06-25 | 9:40 | Flowing | Lots of Algae clogging probe. |  | 6.2 |  | 1.61 | 2640 | 1.66 | 2600 | 1.8 | 3015
2019-06-25 09:58 | SDR-780 | 2019-06-25 | 9:55 | Flowing | Algae obstructing probe. |  | 6 |  | 1.26 | 2120 | 1.56 | 2780 | 1.75 | 2750
2019-06-25 10:31 | SDR-780 | 2019-06-25 | 10:28 | Flowing | After cleaning out algae from probe. |  | 6 |  | 1.63 | 2650 | 1.62 | 2540 | 1.66 | 2620
2019-06-25 10:55 | SDR-780 | 2019-06-25 | 10:50 | Flowing | After clearing algae from probe. |  | 5.9 |  | 1.66 | 2490 | 1.47 | 2150 | 1.67 | 2475
2019-06-25 11:15 | SDR-780 | 2019-06-25 | 11:10 | Flowing | After clearing algae from probe. |  | 5.9 |  | 1.67 | 2315 | 1.72 | 2390 | 1.93 | 2640
2019-06-25 13:03 | SLR-045A | 2019-06-25 | 13:03 | Flowing | No issues |  | 1.3 |  | 15.14 | 340 | 20.99 | 460 | 20.28 | 435
2019-06-25 13:19 | SLR-045 | 2019-06-25 | 13:16 | Flowing | No issues |  | 1.2 |  | 23.93 | 910 | 23.8 | 960 | 18.18 | 743
2019-06-25 15:15 | SDR-780 | 2019-06-25 | 3:12 | Flowing | 4 hours after clearing algae from probe. |  | 4.8 |  | 2.14 | 1690 | 2.06 | 1630 | 2.34 | 1815
2019-06-25 15:32 | SDR-780 | 2019-06-25 | 15:30 | Flowing | 4.5 hours since clearing probe of algae. |  | 4.7 |  | 2.63 | 2120 | 2.25 | 1685 | 1.99 | 1565
2019-06-25 15:51 | SDR-780 | 2019-06-25 | 15:47 | Flowing | Almost 5 hours after clearing algae from probe. |  | 4.7 |  | 2.38 | 1825 | 1.94 | 1445 | 2.24 | 1645
2019-06-25 16:33 | SDR-780 | 2019-06-25 | 16:30 | Flowing | 5.5 hours since clearing algae from probe. |  | 4.5 |  | 2.03 | 1630 | 2.26 | 1620 | 2.28 | 1730
2019-06-25 16:50 | SDR-780 | 2019-06-25 | 16:48 | Flowing | Almost 6 hours after clearing algae from probe. |  | 4.5 |  | 2.51 | 1980 | 2.72 | 2222 | 2.51 | 1930
2019-06-25 17:13 | SDR-780 | 2019-06-25 | 17:05 | Flowing | 6 hours after clearing algae from probe. | https://drive.google.com/open?id=1MZXHhmuWN3T6NW-HXLIwYmf4vsSrIajT | 4.6 |  | 2.64 | 2125 | 4.17 | 3230 | 2.78 | 2120
2019-07-01 09:05 | SWT-030 | 2019-07-01 | 9:00 | Flowing | Cleaned sediment around probe |  | 2 |  | 15 | 2100 |  |  |  |  | 3259
2019-07-01 09:28 | SWT-055 | 2019-07-01 | 9:23 | Flowing | Cleaned sediment off of probe and housing |  | 9 |  | 2.4 | 10000 |  |  |  |  | 22.3
2019-07-01 09:41 | SWT-055A | 2019-07-01 | 9:38 | Flowing | Cleaned sediment from probe and housing |  | 7.4 |  | 3.6 | 8400 |  |  |  |  | 2334
2019-07-01 10:02 | SWT-019 | 2019-07-01 | 10:00 | Ponded | Cleaned sediment around probe |  | 0 |  | 0 | 0 |  |  |  |  | 22.5
2019-07-01 10:31 | SLR-045 | 2019-07-01 | 10:25 | Flowing | Adjusted camera | https://drive.google.com/open?id=1M4cxpomUCW3IIBBqnNIz6jYl4X73mNN0 | 1.5 |  | 39 | 1510
2019-07-01 10:38 | SDR-203A | 2019-07-01 | 10:36 | Ponded | Cleaned around probe |  | 0 |  | 0 | 0 |  |  |  |  | 782
2019-07-01 10:41 | SDR-204A | 2019-07-01 | 10:39 | Ponded | Cleaned around probe |  | 0 |  | 60 | 0 |  |  |  |  | 2600
2019-07-01 10:42 | SLR-045 | 2019-07-01 | 10:30 | Flowing | Took conductivity measurement and adjusted camera |  | 1.5 |  | 30 | 1060 |  |  |  |  | 3780
2019-07-01 10:51 | SDR-939 | 2019-07-01 | 10:50 | Ponded | Cleaned around probe |  | 0 |  | 0 | 0 |  |  |  |  | 1194
2019-07-01 11:05 | SDR-036 | 2019-07-01 | 11:04 | Ponded | Cleaned around probe |  | 0 |  | 60 | 0 |  |  |  |  | 11.5
2019-07-01 11:19 | SLR-045 | 2019-07-01 | 11:15 | Flowing | Cleaned probe |  | 1.3 |  | 60 | 1960 |  |  |  |  | 3850
2019-07-01 11:24 | SDR-127B | 2019-07-01 | 11:19 | Flowing | Cleaned debris from around probe |  | 0.8 |  | 60 | 420 |  |  |  |  | 11.3
2019-07-01 11:35 | SDR-127 | 2019-07-01 | 11:33 | Ponded | Cleaned debris from around probe |  | 0 |  | 60 | 0 |  |  |  |  | 4350
2019-07-01 11:45 | SDR-772 | 2019-07-01 | 11:44 | Ponded | Cleaned debris from around probe |  | 0 |  | 0 | 0 |  |  |  |  | 1006
2019-07-01 11:54 | SLR-045A | 2019-07-01 | 11:40 | Flowing | Reinstall tension chord |  | 0.8 |  | 60 | 320 |  |  |  |  | 2320
2019-07-01 11:55 | SDR-780 | 2019-07-01 | 11:53 | Flowing | Cleaned debris from around probe |  | 4.7 |  | 7.7 | 6500 |  |  |  |  | 3615
2019-07-01 12:08 | SDR-207 | 2019-07-01 | 12:06 | Flowing | Cleaned debris from around probe |  | 5.9 |  | 6.4 | 9100 |  |  |  |  | 1794
2019-07-01 12:18 | SLR-045A | 2019-07-01 | 12:10 | Flowing | Probe cleaned, no sediment | https://drive.google.com/open?id=1R-rVVdogkdSbk8Ml5Oi4jLeNNL_g3ofo | 1.2 |  | 68 | 1450 |  |  |  |  | 2420
2019-07-01 12:20 | SDR-041 | 2019-07-01 | 12:16 | Flowing | Cleaned debris from around probe |  | 2.5 |  | 45 | 8200 |  |  |  |  | 1832
2019-07-01 12:27 | SLR-045B | 2019-07-01 | 12:20 | Flowing | Trickle flow, not able to get flow measurement, cleaned probe of sediment |  | 0.3 |  | 60 | 0 |  |  |  |  | 3120
2019-07-01 12:29 | SLR-045B | 2019-07-01 | 12:25 | Ponded | Ponded- no flow measurement | https://drive.google.com/open?id=1YzMUCTjdL7nD3OE6i3R-05Iz3lMhP_oV | 0 |  | 60 | 0 |  |  |  |  | 3140
2019-07-01 12:51 | SDR-041 | 2019-07-01 | 12:16 | Flowing | Cleaned debris from around probe |  | 2.5 |  | 45 | 8200 |  |  |  |  | 1832
2019-07-01 12:54 | SDR-1024 | 2019-07-01 | 12:45 | Flowing | Reset meter |  | 0.7 |  | 60 | 425 |  |  |  |  | 633
2019-07-01 12:55 | SDR-740 | 2019-07-01 | 12:54 | Ponded | Cleaned debris from around probe |  | 0 |  | 60 | 0 |  |  |  |  | 762
2019-07-01 12:58 | SLR-095 | 2019-07-01 | 12:55 | Flowing | Cleaned sediment before measurements |  | 2.3 |  | 20 | 2310 |  |  |  |  | 3860
2019-07-01 13:04 | SDR-751 | 2019-07-01 | 13:00 | Flowing | Cleaned debris from around probe |  | 1.5 |  | 30 | 1645 |  |  |  |  | 1606
2019-07-01 13:09 | SDR-1031 | 2019-07-01 | 13:07 | Ponded | Cleaned debris from around probe |  | -1.3 |  | 0 | 0 |  |  |  |  | 814
2019-07-01 13:14 | SDR-097 | 2019-07-01 | 13:11 | Ponded | Probe is not submerged. Difficult to get Conductivity probe submerged due to lack of water. |  | -5 |  | 0 | 0 |  |  |  |  | 2245
2019-07-01 13:19 | SDR-098 | 2019-07-01 | 13:17 | Ponded | Cleaned debris from around probe |  | 0 |  | 0 | 0 |  |  |  |  | 3311
2019-07-01 14:05 | SDR-228 | 2019-07-01 | 13:26 | Flowing | Cleaned debris from around probe | https://drive.google.com/open?id=1CHkJp52-7ETaLAEUPPIHTjmWLkh5Hn4N, https://drive.google.com/open?id=1M9Myp1PYl2yLUSLcAAop0qUyy2qhmv7J, https://drive.google.com/open?id=1l93Fp43ZpcBMXw_esnAKYS9rCRBPHRia | 0.6 |  | 60 | 170 |  |  |  |  | 1520
2019-07-01 13:52 | CAR-072 | 2019-07-01 | 13:45 | Flowing | Took measurement before reattaching probe |  | 2 |  | 30 | 2160 |  |  |  |  | 2990
2019-07-01 13:58 | SDR-723 | 2019-07-01 | 13:53 | Flowing | Evidence of high flows | https://drive.google.com/open?id=1DUilfQF7mq-p3QZ3sb35ti8NfRUEJfW_ | 0.9 |  | 60 | 970 |  |  |  |  | 2775
2019-07-01 14:05 | CAR-072 | 2019-07-01 | 14:00 | Flowing | Measurement taken after cleaning and reattached of probe | https://drive.google.com/open?id=1WPHr6e2Ftt-RlH8jEZF0wvNHYkdntcU9 | 1.5 |  | 30 | 1490 |  |  |  |  | 3060
2019-07-01 14:06 | SDR-723 | 2019-07-01 | 14:00 | Flowing | Evidence of high flows |  | 0.6 |  | 60 | 975 |  |  |  |  | 2775
2019-07-01 14:09 | SDR-064 | 2019-07-01 | 13:06 | Ponded | Cleaned debris from around probe |  | -1.8 |  | 0 | 0 |  |  |  |  | 3486
2019-07-01 14:45 | SDR-568 | 2019-07-01 | 14:40 | Flowing | Cleaned debris from around probe |  | 0.8 |  | 60 | 630 |  |  |  |  | 2338
2019-07-01 14:48 | SDR-223 | 2019-07-01 | 14:47 | Ponded | Cleaned debris from around probe |  | 0 |  | 60 | 0 |  |  |  |  | 2190
2019-07-01 15:05 | CAR-072O | 2019-07-01 | 15:00 | Ponded | None |  | 0 | [7 empty] | 737
2019-07-01 15:33 | CAR-070 | 2019-07-01 | 15:30 | Flowing | Before cleaning sensor |  | 1.8 |  | 25 | 2230 |  |  |  |  | 2460
2019-07-01 15:39 | CAR-070 | 2019-07-01 | 15:35 | Flowing | None |  | 2 |  | 37 | 3320 |  |  |  |  | 2510
2019-07-01 15:56 | CAR-070 | 2019-07-01 | 15:50 | Flowing | Post cleaning probe |  | 2 |  | 24 | 1950 |  |  |  |  | 2590
2019-07-02 10:26 | SDG-080 | 2019-07-02 | 10:20 | Flowing | Downloaded all data. Deep cycle battery at 11.9 replaced | https://drive.google.com/open?id=15zivr3mXvGiQYpMplhQAoW4Rj8gGKl36 | 8.4 |  | 1.02 | 3500 |  |  |  |  | 3010
2019-07-02 11:09 | SDG-080 | 2019-07-02 | 11:05 | Flowing | Cleared sediment and debris, relaunched hobos. |  | 7.5 |  | 0.98 | 2500 |  |  |  |  | 3470
2019-07-02 11:47 | SDG-085M | 2019-07-03 | 11:40 | Flowing | Left level measuring tool at sdg-080. Only volume and conductivity taken |  |  |  | 7.4 | 1390 |  |  |  |  | 1928
2019-07-02 12:08 | SDG-085M | 2019-07-02 | 12:05 | Flowing | None |  | 2.9 |  | 7.06 | 1240 |  |  |  |  | 1920
2019-07-02 12:34 | SDG-085G | 2019-07-02 | 0:30 | Ponded | Trickle flow to zero flow no significant volume camptured | https://drive.google.com/open?id=1rMUXj2Wemf3TQaRKiVsIvxdyrBNhW3Fq | 0.1 | [7 empty] | 1879
2019-07-02 12:52 | SDG-085 | 2019-07-02 | 13:00 | Obstructed | Removed debris and took level reading immediately | https://drive.google.com/open?id=1gWglcchoQMdpmVxsgVWrgLmjwKH4jleZ | 6.9
2019-07-02 13:23 | SDG-085 | 2019-07-02 | 13:15 | Flowing | Debris and sediment behind weir cleared |  | 4.5 |  | 8.16 | 5920 |  |  |  |  | 2110
2019-07-02 13:47 | SDG-084 | 2019-07-02 | 13:40 | Obstructed | Cleared debris obstruction waited and took level measurement at 1:40 | https://drive.google.com/open?id=1y-No6tqxqEkd-Gf9Dq5sXhWBuwiZgw8X | 2.7 |  | 6.54 | 930 |  |  |  |  | 2920
2019-07-02 14:20 | SDG-084J | 2019-07-02 | 14:15 | Flowing | Very small amount of debris cleared after measurement |  | 0.7 |  | 60.15 | 780 |  |  |  |  | 1495
2019-07-02 14:24 | SDG-084J | 2019-07-02 | 14:20 | Flowing | After small amount of debris cleared |  | 0.7 |  | 60.08 | 620 |  |  |  |  | 1495
2019-07-02 14:51 | SDG-072 | 2019-07-02 | 14:45 | Flowing | Some debris in vnotch removed then level measurement taken | https://drive.google.com/open?id=1nWgaprbOWs9-bJGre8_UcEoXG5Q8L8FD | 1.2 |  | 60 | 1200 |  |  |  |  | 1605
2019-07-11 11:49 | CAR-072B | 2019-06-17 | 11:20 | Flowing | no data service at site. Submitted calibration data on separate date |  | 1.4 |  | 30 | 930
2019-07-11 11:51 | CAR-072B | 2019-07-07 | 14:10 | Flowing | no data service at site. Calibration data submitted on separate date |  | 1.3 |  | 60 | 1280 |  |  |  |  | 1597
2019-07-15 09:40 | SDR-223 | 2019-07-01 | 14:47 | Ponded | Cleaned debris from around probe |  | 0 |  | 0 | 0 |  |  |  |  | 2190
2019-07-15 09:47 | SWT-030 | 2019-07-15 | 9:40 | Flowing | Cleaned sand and debris from around probe |  | 2 |  | 30 | 4000 |  |  |  |  | 32.43
2019-07-15 10:04 | SWT-055 | 2019-07-15 | 10:01 | Flowing | Cleaned debris from around probe |  | 9.4 |  | 2.5 | 10000 |  |  |  |  | 2066
2019-07-15 10:15 | SWT-055A | 2019-07-15 | 10:11 | Flowing | Cleaned debris from around probe |  | 7.5 |  | 4.15 | 9000 |  |  |  |  | 2407
2019-07-15 10:18 | CAR-072 | 2019-07-15 | 10:10 | Flowing | Removed cricket |  | 1.8 |  | 30 | 2280
2019-07-15 10:35 | SWT-019 | 2019-07-15 | 10:32 | Ponded | Cleaned debris from around probe |  | 0 |  | 60 | 0 |  |  |  |  | 5957
2019-07-15 10:54 | CAR-072 | 2019-07-15 | 10:30 | Flowing | Removed cricket | https://drive.google.com/open?id=1tONY34LkRMKBpGHLkVtNTuCcyAhWXEyu | 1.9 |  | 20 | 1830
2019-07-15 11:08 | SDR-204A | 2019-07-15 | 11:05 | Flowing | Cleaned debris from around probe |  | 0.13 |  | 30 | 1000 |  |  |  |  | 5707
2019-07-15 11:10 | SDR-203A | 2019-07-15 | 11:08 | Breakaway popped open | Breakaway popped. Reinstalled new breakaways. |  | 0 |  | 60 | 0 |  |  |  |  | 2455
2019-07-15 11:18 | CAR-072O | 2019-07-15 | 11:15 | Flowing | Too low to take volume measurement |  | 0.3 |  | 60 | 0
2019-07-15 11:24 | CAR-072B | 2019-07-15 | 10:20 | Flowing | No notes | https://drive.google.com/open?id=150PO_PpAL0Gs85STGFjvAT9Uw6GCUDxZ | 1.3 |  | 30 | 670
2019-07-15 11:43 | SDR-939 | 2019-07-15 | 11:41 | Ponded | Cleaned debris from around probe |  | -0.3 |  | 60 | 0 |  |  |  |  | 465
2019-07-15 11:49 | CAR-070 | 2019-07-15 | 11:45 | Flowing | Some debris removed. Cricket removed | https://drive.google.com/open?id=1dpYcZt6G5CZVbQ9YZXZkAP4Hcs97x1r3 | 2.1 |  | 22 | 1940
2019-07-15 11:55 | SDR-772 | 2019-07-15 | 11:52 | Flowing | Cleaned debris from around probe |  | 0.4 |  | 60 | 20 |  |  |  |  | 1019
2019-07-15 12:03 | SDR-780 | 2019-07-15 | 12:02 | Flowing | Cleaned debris from around probe |  | 4.8 |  | 8.6 | 7200 |  |  |  |  | 3342
2019-07-15 12:30 | SDR-228 | 2019-07-15 | 12:25 | Ponded | Reinstalled datalogger and probe after vandalism |  | 0.7 |  | 60 | 480 |  |  |  |  | 1672
2019-07-15 12:57 | SDR-723 | 2019-07-15 | 12:54 | Ponded | Replaced logger batteries |  | -6.1 |  | 60 | 0 |  |  |  |  | 1442
2019-07-15 13:04 | SLR-095 | 2019-07-15 | 13:00 | Flowing | None | https://drive.google.com/open?id=15ZJMjUj75pDxOWHu08R4zI4LHZylM2JS | 2.2 |  | 11.03 | 1210
2019-07-15 13:43 | SLR-045A | 2019-07-15 | 13:40 | Flowing | Manually downloaded data | https://drive.google.com/open?id=1csCql_ddHV7AoO4PzVBj5qFjccoh2_x7 | 1.5 |  | 30.07 | 1050
2019-07-15 13:49 | SLR-045B | 2019-07-15 | 13:45 | Ponded | Manually downloaded data | https://drive.google.com/open?id=18eaXJvAkbzfupNgB5Hdz2ZiNXEYjnLCk | 0.4
2019-07-15 14:18 | SLR-045 | 2019-07-15 | 14:15 | Flowing | None |  | 1.5 |  | 33.86 | 1840
2019-07-16 12:08 | SDG-080 | 2019-07-16 | 9:25 | Flowing | No notes | https://drive.google.com/open?id=1OfVPt4aAHlNOSXGLgi1r3NScMngUej0f | 9 |  | 1.17 | 4650
2019-07-16 09:41 | SDR-036 | 2019-07-16 | 9:29 | Dry | Cleaned debris from around probe |  | -10 |  | 60 | 0 |  |  |  |  | 0
2019-07-16 10:01 | SDR-127B | 2019-07-16 | 9:52 | Flowing | Cleaned debris from around probe |  | 0.5 |  | 60 | 10 |  |  |  |  | 938
2019-07-16 10:10 | SDR-127 | 2019-07-16 | 10:07 | Flowing | Cleaned debris from around probe |  | 0.5 |  | 60 | 90 |  |  |  |  | 3077
2019-07-16 10:22 | SDG-085M | 2019-07-16 | 10:20 | Flowing | Probe strap is loose. This is taken before probe was refastened |  | 2.4 |  | 9.1 | 1440
2019-07-16 10:32 | SDG-085M | 2019-07-16 | 10:30 | Flowing | Measurement taken after probe refastened |  | 2.6 |  | 16.56 | 2620
2019-07-16 10:59 | SDG-085G | 2019-07-16 | 10:55 | Flowing | Replaced batteries after calibration taken |  | 0.8 |  | 60.07 | 360
2019-07-16 11:18 | SDR-207 | 2019-07-16 | 11:15 | Flowing | Cleaned debris from around probe |  | 6.5 |  | 6 | 10200 |  |  |  |  | 1778
2019-07-16 11:33 | SDR-041 | 2019-07-16 | 11:29 | Flowing | Replaced probe 1487903339 S/N |  | 2.5 |  | 15 | 2600 |  |  |  |  | 1844
2019-07-16 12:05 | SDR-041 | 2019-07-16 | 12:01 | Flowing | Installed new probe |  | 2.5 |  | 15 | 2400 |  |  |  |  | 1834
2019-07-16 12:12 | SDG-085 | 2019-07-16 | 12:10 | Flowing | Measurement before cleaned weir | https://drive.google.com/open?id=1aF4JP6iBQOV6rx1c-8snAUsHc9rKryyi | 4.8 |  | 3.23 | 2690
2019-07-16 12:23 | SDR-740 | 2019-07-16 | 12:20 | Ponded | Cleaned debris from around probe. Just a small amount of water not enough to submerge conductivity probe |  | -0.4 |  | 60 | 0 |  |  |  |  | 0
2019-07-16 12:34 | SDR-1024 | 2019-07-16 | 12:30 | Flowing | No maintenance necessary |  | 0.4 |  | 60 | 90 |  |  |  |  | 614
2019-07-16 12:36 | SDR-751 | 2019-07-16 | 12:34 | Ponded | Cleaned debris from around probe |  | -0.2 |  | 60 | 0 |  |  |  |  | 2651
2019-07-16 12:38 | SDR-1031 | 2019-07-16 | 12:38 | Ponded | Small pool of water not enough for conductivity probe |  | -2.8 |  | 60 | 0 |  |  |  |  | 0
2019-07-16 12:41 | SDR-097 | 2019-07-16 | 12:40 | Dry | Outfall is dry |  |  |  | 60 | 0 |  |  |  |  | 999999999
2019-07-16 12:43 | SDG-085 | 2019-07-16 | 12:10 | Flowing | Measurement before cleaned weir | https://drive.google.com/open?id=1Bf21-f2luBOmcqVbcK2Xo4438pGLe0dW | 4.8 |  | 3.23 | 2690
2019-07-16 12:49 | SDG-085 | 2019-07-16 | 12:45 | Flowing | Cleared leaf debris build up then measurements. Replaced meter and camera batteries | https://drive.google.com/open?id=1WYCiCnEo75IsCbuD1ZLADbxJownZTyc1 | 4.7 |  | 3.6 | 3000
2019-07-16 12:49 | SDR-098 | 2019-07-16 | 12:48 | Ponded | Cleaned debris from around probe |  | 0 |  | 60 | 0 |  |  |  |  | 1237
2019-07-16 13:16 | SDR-223 | 2019-07-16 | 13:15 | Ponded | Replaced logger batteries |  | 0 |  | 60 | 0 |  |  |  |  | 1820
2019-07-16 13:18 | SDR-568 | 2019-07-16 | 13:10 | Flowing | Significant homeless population in area cleaned debris from around probe |  | 1 |  | 60 | 490 |  |  |  |  | 22.5
2019-07-16 13:18 | SDG-080 | 2019-07-16 | 13:14 | Flowing | No issues |  | 7 |  | 1.31 | 3000
2019-07-16 13:50 | SDG-080 | 2019-07-16 | 13:50 | Flowing | No issues |  | 7.3 |  | 1.41 | 3500
2019-07-16 14:31 | SDG-084J | 2019-07-16 | 14:30 | Flowing | Changed batteries after measurement | https://drive.google.com/open?id=1CUWa6h-TDDpw5sWyR0UIdA5gLnrGtFuH | 0.9 |  | 30 | 240
2019-07-16 14:37 | SDG-084J | 2019-07-16 | 2:35 | Flowing | Changes batteries the. Took measurement |  | 0.9 |  | 60 | 470
2019-07-16 15:07 | SDG-072 | 2019-07-16 | 15:04 | Flowing | No issues |  | 1.2
2019-07-16 15:19 | SDG-072 | 2019-07-16 | 15:20 | Flowing | Small leaf debris cleared before this measurement |  | 1.2 |  | 30.08 | 690
2019-07-16 15:38 | SDG-084J | 2019-07-16 | 2:35 | Flowing | Changes batteries the. Took measurement |  | 0.9 |  | 60 | 470
2019-07-16 15:40 | SDG-084 | 2019-07-16 | 15:40 | Flowing | Changed batteries |  | 2.9 |  | 11.72 | 2000
2019-07-16 20:51 | SDG-084 | 2019-07-16 | 15:40 | Flowing | Changed batteries |  | 2.9 |  | 11.72 | 2000
2019-07-19 12:54 | SLR-045A | 2019-07-19 | 12:50 | Flowing | None |  | 1.9 |  | 13.79 | 1020
2019-07-19 12:56 | SLR-045B | 2019-07-19 | 12:55 | Ponded | No issues |  | 0
2019-07-19 13:35 | SLR-095 | 2019-07-19 | 13:30 | Flowing | None |  | 1.9 |  | 11.81 | 1290
2019-07-19 14:27 | SDG-084 | 2019-07-19 | 14:25 | Flowing | Put back SD card |  | 2.6 |  | 9.16 | 1420
2019-07-19 14:53 | SDG-080 | 2019-07-19 | 14:50 | Flowing | None |  | 7.5 |  | 0.97 | 2590
2019-07-30 16:24 | SDR-098 | 2019-07-30 | 16:18 | Flowing | Installed auto sampler for isotopes. First isotope sample at 16:14. | https://drive.google.com/open?id=17X4-a9OQchhXiD-H73gg4QPuzuPX-UZ9 | 0.8 |  | 59.98 | 510 | N/A
2019-07-31 08:04 | SWT-030 | 2019-07-31 | 8:00 | Flowing | Cleaned debris from around probe |  | 2 |  | 30 | 3350
2019-07-31 08:23 | SWT-055 | 2019-07-31 | 8:22 | Flowing | Cleaned debris from around probe |  | 8.7 |  | 2.5 | 8800
2019-07-31 08:34 | SWT-055A | 2019-07-31 | 8:31 | Flowing | Cleaned debris from around probe |  | 6.8 |  | 4.5 | 10100
2019-07-31 08:53 | SWT-019 | 2019-07-31 | 8:52 | Ponded | Cleaned debris from around probe |  | 0 |  | 0 | 0
2019-07-31 09:53 | SDR-203A | 2019-07-30 | 14:30 | Ponded | None |  | 0.5
2019-07-31 09:54 | SDR-204A | 2019-07-30 | 14:32 | Ponded | None |  | 0 |  | 60 | 0
2019-07-31 10:01 | SLR-045A | 2019-07-31 | 10:00 | Flowing | Samples taken |  | 2.3 |  | 14.2 | 2100
2019-07-31 10:02 | SLR-045B | 2019-07-31 | 10:05 | Ponded | Silt around probe. Changed batteries |  | 0 |  | 60 | 0
2019-07-31 10:03 | SDR-204A | 2019-07-31 | 10:00 | Ponded | Cleaned debris from around probe |  | -3 |  | 0 | 0 | 970
2019-07-31 10:16 | SDR-203A | 2019-07-31 | 10:04 | Flowing | Cleaned debris from around probe |  | 5 |  | 60 | 70 | 822
2019-07-31 10:17 | SDR-203A | 2019-07-31 | 10:04 | Flowing | Cleaned debris from around probe |  | 5 |  | 60 | 70 | 822
2019-07-31 10:20 | SLR-045 | 2019-07-31 | 10:15 | Flowing | Level lower than upstream SLR-045A |  | 2 |  | 20 | 1800
2019-07-31 10:30 | SDR-939 | 2019-07-31 | 10:30 | Ponded | Cleaned debris from around probe |  | 0 |  | 0 | 0 | 818
2019-07-31 10:45 | SDR-772 | 2019-07-31 | 10:45 | Lots of sediment | Evidence of large flows weir needed patch and sediment cleared from probe |  | 0 |  | 0 | 0 | 0
2019-07-31 11:10 | SDR-207 | 2019-07-31 | 11:08 | Flowing | Cleaned debris from around probe |  | 5.4 |  | 7.5 | 9200 | 1711
2019-07-31 11:52 | SDG-084J | 2019-07-31 | 11:40 | Ponded | Cleaned out sediment |  | 0
2019-07-31 11:48 | SDR-740 | 2019-07-31 | 11:45 | Ponded | Auto sampler has pulled most of the ponded water |  | -0.9 |  | 0 | 0 | 925
2019-07-31 12:14 | SDR-751 | 2019-07-31 | 0:10 | Flowing | Cleaned debris from around probe |  | 1.7 |  | 30 | 2130 | 1260
2019-07-31 12:17 | SDR-1024 | 2019-07-31 | 12:00 | Flowing | Cleaned debris from around probe |  | 0.8 |  | 60 | 200 | 955
2019-07-31 12:21 | SDG-085G | 2019-07-31 | 12:20 | Ponded | Organic matter at bottom |  | 0
2019-07-31 12:27 | SDR-1031 | 2019-07-31 | 12:25 | Ponded | Cleaned debris from around probe |  | -0.3 |  | 0 | 0 | 646
2019-07-31 12:29 | SDR-097 | 2019-07-31 | 12:29 | Dry | Dry |  | 0 |  | 0 | 0 | 0
2019-07-31 12:42 | SDR-098 | 2019-07-31 | 0:38 | Flowing | Cleaned debris from around probe |  | 0.5 |  | 60 | 70 | 1099
2019-07-31 12:54 | SDR-041 | 2019-07-31 | 12:49 | Flowing | Cleaned debris from around probe |  | 2.1 |  | 30 | 4000 | 1840
2019-07-31 13:12 | SDG-085M | 2019-07-31 | 13:05 | Flowing | None |  | 1.7 |  | 29 | 2980
2019-07-31 13:17 | SDR-036 | 2019-07-31 | 13:16 | Dry | No maintenance necessary |  | 0 |  | 0 | 0 | 0
2019-07-31 16:07 | SLR-095 | 2019-07-31 | 14:05 | Flowing | None |  | 2 |  | 26.5 | 2560
2019-08-01 08:15 | CAR-072O | 2019-08-01 | 8:15 | Flowing | Evidence of high flow. Cleared some debris |  | 1.2 |  | 60 | 1300
2019-08-01 08:22 | CAR-072O | 2019-08-01 | 8:20 | Flowing | Taking second measurements. Cleared sediment around probe |  | 0.5 |  | 60 | 280
2019-08-01 08:31 | CAR-072 | 2019-08-01 | 8:25 | Flowing | Downloaded camera |  | 0.6 |  | 60.54 | 660
2019-08-01 08:43 | CAR-072 | 2019-08-01 | 8:45 | Flowing | Noticeable green tinge. St Patrick's day? |  | 2.6 |  | 13.5 | 2560
2019-08-01 08:57 | CAR-072B | 2019-08-01 | 8:50 | Flowing | No green color here. Must be from upstream on main Car-072 line. Cleaned out sediment and debris AFTER measurements and sampling |  | 1.3 |  | 60 | 1820
2019-08-01 09:00 | CAR-072B | 2019-08-01 | 9:00 | Flowing | After debris and sediment cleared from probe |  | 1.2 |  | 60 | 1250
2019-08-01 09:20 | SDG-080 | 2019-08-01 | 9:15 | Flowing | Camera downloaded |  | 7.9 |  | 2.89 | 6800
2019-08-01 09:23 | CAR-070 | 2019-08-01 | 9:20 | Flowing | None |  | 1.8 |  | 24 | 1750
2019-08-01 09:42 | SDG-084 | 2019-08-01 | 9:40 | Flowing | Camera download |  | 3 |  | 22.18 | 3900
2019-08-01 09:49 | SDR-127B | 2019-08-01 | 9:42 | Flowing | Cleaned debris from around probe |  | 0.5 |  | 60 | 150 | 1181
2019-08-01 09:59 | SDG-085 | 2019-08-01 | 9:55 | Flowing | Camera downloaded | https://drive.google.com/open?id=1fa9w8Dmkb3tPooGzPrOksf1PldfDnQgN | 4.2 |  | 11.33 | 7000
2019-08-01 10:13 | SDR-127 | 2019-08-01 | 10:09 | Flowing | Cleaned debris from around probe |  | 0.6 |  | 60 | 150 | 2008
2019-08-01 10:32 | SDR-772 | 2019-08-01 | 10:31 | Ponded | No maintenance necessary |  | 0 |  | 0 | 0 | 1206
2019-08-01 10:45 | SDR-780 | 2019-08-01 | 10:42 | Flowing | Cleaned debris from around probe |  | 3.8 |  | 14 | 7500 | 3221
2019-08-01 12:06 | SDR-780 | 2019-08-01 | 10:42 | Flowing | Cleaned debris from around probe |  | 3.8 |  | 14 | 7500 | 3221
2019-08-01 12:27 | SDR-228 | 2019-08-01 | 12:06 | Ponded | Cleaned debris from around probe |  | 0 |  | 0 | 0 | 220
2019-08-01 12:33 | SDR-723 | 2019-08-01 | 12:28 | Ponded | Cleaned debris from around probe |  | -1.2 |  | 0 | 0 | 1223
2019-08-01 13:24 | SDR-723 | 2019-08-01 | 12:28 | Ponded | Cleaned debris from around probe |  | -1.2 |  | 0 | 0 | 1223
2019-08-01 13:24 | SDR-223 | 2019-08-01 | 13:23 | Ponded | No maintenance necessary |  | 0 |  | 0 | 0 | 1082
2019-08-01 13:31 | SDR-568 | 2019-08-01 | 13:15 | Flowing | Cleaned debris from around probe |  | 1.4 |  | 30 | 1760 | 595
Note on G49: Responder updated this value.
Note on F237: Responder updated this value.
Note on F248: Responder updated this value.
Note on F269: Responder updated this value.
Note on G326: Responder updated this value.
Note on K372: Responder updated this value.

## Site list
CAR-015
CAR-059
CAR-069L
CAR-070
CAR-072
CAR-072O
CAR-072Q
HST01
SDG-072
SDG-074
SDG-077
SDG-080
SDG-084
SDG-085
SDG-085M
SDG-115
SDG-115B
SDR-036
SDR-036J
SDR-041
SDR-064
SDR-097
SDR-098
SDR-127
SDR-127B
SDR-151
SDR-203A
SDR-204A
SDR-207
SDR-207G
SDR-207L
SDR-207M
SDR-228
SDR-554
SDR-607
SDR-754
SLR-041
SLR-045
SLR-095
SLR-150
SLR-152
SLR-152A
SLR-152H
SLR-155
SLR-155F
SWT-019
SWT-023
SWT-030
SWT-055
SWT-055A
SWT-235

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only