## Offsets
Site | Start | End | Offset_in | Overall_Offset_in | Neg_Level_as_ZeroFlow | Notes
CAR-070 | 2019-05-11 14:15 | 2019-05-19 00:10 | 0 | 0.09 | TRUE
CAR-072 | 2019-05-01 | 2019-05-01 14:00 | -11 | 0 | TRUE
CAR-072 | 2019-05-01 12:45 | 2019-05-02 16:00 | 5 | 0 | TRUE
CAR-072 | 2019-05-01 14:00 | 2019-05-01 16:05 | 4 | 0 | TRUE
CAR-072 | 2019-05-02 16:05 | 2019-05-02 17:05 | -4 | 0 | TRUE
CAR-072B |  |  |  | -0.065 | TRUE | not sure where this data is not working
CAR-072O |  |  |  | -0.045 | TRUE | not sure where this data is not working
SDG-072 | 2019-05-01 | 2019-05-02 13:20 | 0 | 0.06 | TRUE
SDG-080 |  |  | 0 | 0 | TRUE
SDG-084 | 2019-05-02 23:00 | 2019-05-05 23:30 | -1 | -0.1 | TRUE | Looks like a probable obstruction in the v, offset to match baseflow (AM)
SDG-084J | 2019-05-01 | 2019-05-06 13:55 | 0 | 0.1 | TRUE
SDG-084J | 2019-06-18 13:30 | 2019-10-01 12:00 | 0.25 | 0.1 | TRUE | New probe installed 6/18
SDG-085 |  |  |  | 0 | FALSE
SDG-085G |  |  | 0 | 0.1 | TRUE
SDG-085M |  |  | 0 | 0.03 | FALSE
SDR-036 | 2019-05-01 | 2019-05-31 23:59 | 0 | 0 | TRUE
SDR-041 | 2019-05-01 | 2019-05-04 17:45 | 3.5 |  | TRUE
SDR-041 | 2019-05-04 17:45 | 2019-05-31 03:55 | 3.1 | 1.63 | TRUE
SDR-064 |  |  | 0 | -0.15 | TRUE
SDR-097 |  |  | 0 | -0.05 | TRUE
SDR-098 |  |  | 0 | 0 | TRUE
SDR-1024 |  |  |  |  | TRUE
SDR-1031 |  |  |  |  | TRUE
SDR-127 | 2019-06-17 14:05 | 2019-09-30 23:59 | -0.7 | 0 | TRUE
SDR-127B |  |  | 0 | -0.025 | TRUE
SDR-203A |  |  |  |  | TRUE
SDR-204A | 2019-06-18 09:45 | 2019-09-30 23:59 | 2.2 |  | TRUE
SDR-207 |  |  | 0 | 0.15 | TRUE
SDR-223 |  |  |  |  | TRUE
SDR-228 |  |  |  |  | TRUE
SDR-568 |  |  |  |  | TRUE
SDR-568 |  |  |  |  | TRUE
SDR-723 |  |  |  |  | TRUE
SDR-740 |  |  |  |  | TRUE
SDR-740 |  |  |  |  | TRUE
SDR-751 |  |  |  |  | TRUE
SDR-772 |  |  | 0 | 0.2 | TRUE
SDR-780 |  |  |  |  | TRUE
SDR-939 |  |  |  |  | TRUE
SLR-045 | 2019-05-01 | 2019-05-01 20:15 |  | 0 | TRUE
SLR-045A | 2019-05-01 | 2019-05-01 20:15 | 2.2 | 0.5 | TRUE
SLR-045B |  |  | 0 | 0.1 | TRUE
SLR-095 | 2019-05-07 15:35 | 2019-05-09 17:00 | 0 | 0 | TRUE
SWT-019 | 2019-05-01 | 2019-05-07 18:30 | 4.25 |  | TRUE
SWT-019 | 2019-05-07 18:30 | 2019-05-08 17:00 | 3.5 |  | TRUE
SWT-019 |  |  |  | 0.25 | TRUE
SWT-030 |  |  |  |  | TRUE
SWT-055 |  |  |  |  | TRUE
SWT-055A |  |  |  |  | TRUE

## Clips
Site | Start | End | Reason | Notes
CAR-070 | 2019-05-01 | 2019-05-02 20:00 | Bad data
CAR-070 | 2019-05-07 03:00 | 2019-05-07 11:00 | Storm
CAR-070 | 2019-05-09 02:45 | 2019-05-09 14:00 | Storm
CAR-070 | 2019-05-11 03:40 | 2019-05-11 12:20 | Storm
CAR-070 | 2019-05-16 09:00 | 2019-05-16 15:00 | Storm
CAR-070 | 2019-05-19 | 2019-05-20 15:00 | Storm
CAR-070 | 2019-05-26 08:00 | 2019-05-26 13:00 | Storm
CAR-070 | 2019-05-26 19:00 | 2019-05-31 06:00 | Storm/ Bad Data
CAR-070 | 2019-05-06 09:00 | 2019-05-06 14:00 | Storm
CAR-070 | 2019-06-13 12:55 | 2019-06-17 12:35 | Data gap | likely transmission failure
CAR-070 | 2019-06-21 05:55 | 2019-06-21 11:55 | Storm
CAR-072 | 2019-05-01 | 2019-05-01 16:10 | Leaking
CAR-072 | 2019-05-02 16:00 | 2019-05-02 17:10 | Bad data
CAR-072 | 2019-05-07 03:00 | 2019-05-07 17:00 | Storm
CAR-072 | 2019-05-09 02:45 | 2019-05-09 17:20 | Storm
CAR-072 | 2019-05-11 03:40 | 2019-05-11 17:20 | Storm
CAR-072 | 2019-05-16 09:00 | 2019-05-16 19:00 | Storm
CAR-072 | 2019-05-19 02:00 | 2019-05-22 07:00 | Storm
CAR-072 | 2019-05-26 08:15 | 2019-05-26 11:15 | Storm
CAR-072 | 2019-05-26 19:00 | 2019-05-28 01:00 | Storm
CAR-072 | 2019-06-21 05:55 | 2019-06-21 11:55 | Storm
CAR-072B | 2019-05-01 | 2019-05-02 08:00 | Bad data
CAR-072B | 2019-05-07 03:15 | 2019-05-07 19:00 | Storm | 15 min data
CAR-072B | 2019-05-09 02:00 | 2019-05-09 11:30 | Storm | 15 min data
CAR-072B | 2019-05-09 23:00 | 2019-05-10 01:00 | Storm | 15 min data
CAR-072B | 2019-05-11 05:00 | 2019-05-11 12:00 | Storm | 15 min data
CAR-072B | 2019-05-16 07:00 | 2019-05-16 17:00 | Storm
CAR-072B | 2019-05-19 01:00 | 2019-05-21 02:00 | Storm
CAR-072B | 2019-05-26 19:00 | 2019-05-27 10:00 | Storm
CAR-072B | 2019-05-06 09:00 | 2019-05-06 16:00 | Storm
CAR-072B | 2019-06-21 05:55 | 2019-06-21 11:55 | Storm
CAR-072O | 2019-05-01 | 2019-05-06 18:00 | Storm | 15 min data
CAR-072O | 2019-05-07 03:15 | 2019-05-07 11:15 | Storm | 15 min data
CAR-072O | 2019-05-09 03:30 | 2019-05-09 11:30 | Storm | 15 min data
CAR-072O | 2019-05-11 05:00 | 2019-05-11 12:45 | Storm | 15 min data
CAR-072O | 2019-05-16 09:00 | 2019-05-16 16:00 | Storm
CAR-072O | 2019-05-19 01:30 | 2019-05-20 16:00 | Storm
CAR-072O | 2019-05-26 07:00 | 2019-05-27 16:00 | Storm
CAR-072O | 2019-06-17 03:00 | 2019-06-17 11:55 | Storm/Obstruction in weir-confirmed
CAR-072O | 2019-06-21 05:55 | 2019-06-21 11:55 | Storm
SDG-072 | 2019-05-06 08:40 | 2019-05-07 17:15 | Storm
SDG-072 | 2019-05-01 12:00 | 2019-05-13 01:00 | Storm/Weir leaking and replaced
SDG-072 | 2019-05-16 09:15 | 2019-05-16 20:00 | Storm
SDG-072 | 2019-05-19 01:00 | 2019-05-23 16:00 | Storm
SDG-072 | 2019-05-26 07:00 | 2019-05-27 19:00 | Storm
SDG-072 | 2019-06-16 22:00 | 2019-06-17 23:55 | Storm
SDG-072 | 2019-06-21 01:55 | 2019-06-21 11:55 | Storm
SDG-080 | 2019-05-01 | 2019-05-02 14:00 | Bad sensor
SDG-080 | 2019-05-06 08:25 | 2019-05-06 12:00 | Storm
SDG-080 | 2019-05-07 03:00 | 2019-05-07 11:00 | Storm
SDG-080 | 2019-05-11 03:00 | 2019-05-11 09:25 | Storm
SDG-080 | 2019-05-11 16:25 | 2019-05-12 09:00 | Storm
SDG-080 | 2019-05-16 09:00 | 2019-05-20 18:00 | Storm/Bad data? (weird offset)
SDG-080 | 2019-05-23 09:00 | 2019-05-23 13:00 | Storm
SDG-080 | 2019-05-26 07:00 | 2019-05-27 16:00 | Storm
SDG-080 | 2019-06-02 17:00 | 2019-06-04 10:20 | Obstruction in weir-confirmed
SDG-080 | 2019-06-10 17:00 | 2019-06-12 02:30 | Obstruction in weir-unconfirmed
SDG-080 | 2019-06-21 01:55 | 2019-06-21 11:55 | Storm
SDG-080 | 2019-06-26 00:05 | 2019-06-26 00:20 | Data dropout
SDG-080 | 2019-06-27 14:00 | 2019-06-27 15:15 | Data dropout
SDG-080 | 2019-06-28 00:05 | 2019-06-28 00:30 | Data dropout
SDG-080 | 2019-06-29 00:05 | 2019-06-29 00:25 | Data dropout
SDG-080 | 2019-06-30 00:05 | 2019-06-30 00:25 | Data dropout
SDG-084 | 2019-05-02 22:45 | 2019-05-02 23:15 | BadData | Bad data?
SDG-084 | 2019-05-06 08:25 | 2019-05-06 12:00 | Storm | 15 min data
SDG-084 | 2019-05-06 20:00 | 2019-05-07 12:00 | Storm | 15 min data
SDG-084 | 2019-05-08 20:00 | 2019-05-09 12:00 | Storm | 15 min data; rain in Encinitas gauge but not RB
SDG-084 | 2019-05-10 23:00 | 2019-05-12 | Storm | 15 min data
SDG-084 | 2019-05-16 09:00 | 2019-05-16 15:00 | Storm
SDG-084 | 2019-05-19 09:00 | 2019-05-20 21:00 | Storm
SDG-084 | 2019-05-21 13:00 | 2019-05-21 22:00 | Storm
SDG-084 | 2019-05-23 09:00 | 2019-05-23 13:00 | Storm
SDG-084 | 2019-05-26 07:00 | 2019-05-26 13:00 | Storm
SDG-084 | 2019-05-26 19:00 | 2019-05-27 10:00 | Storm
SDG-084 | 2019-05-20 21:00 | 2019-06-18 00:40 | Bad sensor | Hard to say when this issue started but the Ultrasonic shows almost no change and this sensor was registering several inches of level
SDG-084J | 2019-05-01 | 2019-05-06 14:05 | Bad data
SDG-084J | 2019-05-16 09:00 | 2019-05-23 13:00 | Storm | No noticeable storm peaks on hydrographs
SDG-084J | 2019-06-14 17:35 | 2019-06-15 05:05 | Data dropout
SDG-084J | 2019-06-18 13:10 | 2019-06-18 13:25 | Replacing probe
SDG-084J | 2019-06-29 00:15 | 2019-06-29 04:10 | Data dropout
SDG-085 | 2019-05-06 08:25 | 2019-05-06 12:00 | Storm
SDG-085 | 2019-05-07 03:00 | 2019-05-07 11:00 | Storm
SDG-085 | 2019-05-11 03:00 | 2019-05-11 09:25 | Storm
SDG-085 | 2019-05-11 16:25 | 2019-05-12 09:00 | Storm
SDG-085 | 2019-05-16 09:00 | 2019-05-16 15:00 | Storm
SDG-085 | 2019-05-19 09:45 | 2019-05-19 17:00 | Storm
SDG-085 | 2019-05-19 22:00 | 2019-05-20 19:00 | Storm
SDG-085 | 2019-05-26 07:00 | 2019-05-26 14:00 | Storm
SDG-085 | 2019-05-26 07:00 | 2019-05-26 14:00 | Storm
SDG-085 | 2019-05-26 18:00 | 2019-05-27 06:00 | Storm
SDG-085 | 2019-06-04 12:15 | 2019-06-07 17:15 | Obstruction in weir-confirmed
SDG-085G | 2019-05-06 08:25 | 2019-05-06 12:00 | Storm | 15 min data
SDG-085G | 2019-05-06 23:00 | 2019-05-07 12:00 | Storm | 15 min data
SDG-085G | 2019-05-11 17:00 | 2019-05-11 20:15 | Storm | 15 min data
SDG-085G | 2019-05-16 09:00 | 2019-05-16 15:00 | Storm
SDG-085G | 2019-05-19 09:45 | 2019-05-19 17:00 | Storm
SDG-085G | 2019-05-19 22:00 | 2019-05-20 19:00 | Storm
SDG-085G | 2019-05-26 07:00 | 2019-05-26 14:00 | Storm
SDG-085G | 2019-05-26 18:00 | 2019-05-27 06:00 | Storm
SDG-085M | 2019-05-06 00:45 | 2019-05-07 15:25 | Storm | storm flows seem small and suspect
SDG-085M | 2019-05-06 23:00 | 2019-05-07 12:00 | Storm
SDG-085M | 2019-05-16 09:00 | 2019-05-16 15:00 | Data Gap
SDG-085M | 2019-05-19 09:45 | 2019-05-21 16:00 | Storm
SDR-036 | 2019-05-06 09:45 | 2019-05-06 19:00 | Storm
SDR-036 | 2019-05-07 04:20 | 2019-05-07 14:00 | Storm
SDR-036 | 2019-05-08 04:50 | 2019-05-08 07:00 | Storm
SDR-036 | 2019-05-08 20:30 | 2019-05-09 02:00 | Storm
SDR-036 | 2019-05-09 20:45 | 2019-05-10 03:00 | Storm
SDR-036 | 2019-05-11 08:00 | 2019-05-11 19:00 | Storm
SDR-036 | 2019-05-16 09:50 | 2019-05-16 19:00 | Storm
SDR-036 | 2019-05-19 10:20 | 2019-05-20 18:00 | Storm
SDR-036 | 2019-05-22 01:00 | 2019-05-23 14:00 | Storm
SDR-036 | 2019-05-26 09:00 | 2019-05-27 16:00 | Storm
SDR-036 | 2019-06-04 05:00 | 2019-06-04 06:00 | Storm
SDR-036 | 2019-06-16 19:00 | 2019-06-17 13:00 | Storm
SDR-041 | 2019-05-06 09:35 | 2019-05-06 14:30 | Storm
SDR-041 | 2019-05-07 03:30 | 2019-05-18 | Storm/Probe damaged by storm
SDR-041 | 2019-05-19 10:10 | 2019-06-30 23:59 | Storm/Probe damaged by storm
SDR-064 | 2019-05-06 07:00 | 2019-05-06 12:00 | Storm
SDR-064 | 2019-05-07 03:00 | 2019-05-07 10:00 | Storm
SDR-064 | 2019-05-10 03:00 | 2019-05-10 09:00 | Storm
SDR-064 | 2019-05-11 06:00 | 2019-05-11 17:15 | Storm
SDR-064 | 2019-05-16 10:00 | 2019-05-16 15:00 | Storm
SDR-064 | 2019-05-19 10:10 | 2019-05-19 16:00 | Storm
SDR-064 | 2019-05-19 22:30 | 2019-05-20 18:00 | Storm
SDR-064 | 2019-05-22 08:00 | 2019-05-22 22:00 | Storm
SDR-064 | 2019-05-23 12:30 | 2019-05-23 20:30 | Storm
SDR-064 | 2019-05-26 09:00 | 2019-05-27 09:30 | Storm
SDR-097 | 2019-05-06 09:30 | 2019-05-06 23:45 | Storm
SDR-097 | 2019-05-07 04:00 | 2019-05-09 02:00 | Storm
SDR-097 | 2019-05-10 06:30 | 2019-05-10 14:00 | Storm
SDR-097 | 2019-05-11 08:00 | 2019-05-12 23:00 | Storm
SDR-097 | 2019-05-16 10:00 | 2019-05-17 04:00 | Storm
SDR-097 | 2019-05-19 10:00 | 2019-05-21 12:00 | Storm
SDR-097 | 2019-05-22 05:20 | 2019-05-23 23:00 | Storm
SDR-097 | 2019-05-26 09:00 | 2019-05-28 10:00 | Storm
SDR-098 | 2019-05-01 | 2019-05-04 12:00 | Bad sensor
SDR-098 | 2019-05-06 09:40 | 2019-05-06 17:00 | Storm
SDR-098 | 2019-05-07 04:00 | 2019-05-07 15:00 | Storm
SDR-098 | 2019-05-08 20:00 | 2019-05-09 01:00 | Storm
SDR-098 | 2019-05-09 21:00 | 2019-05-10 10:30 | Storm
SDR-098 | 2019-05-11 08:00 | 2019-05-11 16:00 | Storm
SDR-098 | 2019-05-16 10:00 | 2019-05-17 04:00 | Storm
SDR-098 | 2019-05-19 10:00 | 2019-05-21 12:00 | Storm
SDR-098 | 2019-05-22 05:20 | 2019-05-23 23:00 | Storm
SDR-098 | 2019-05-26 09:00 | 2019-05-27 12:00 | Storm
SDR-1024 | 2019-05-06 09:05 | 2019-05-06 13:35 | Storm
SDR-1024 | 2019-05-07 03:00 | 2019-05-07 12:00 | Storm
SDR-1024 | 2019-05-10 04:20 | 2019-05-10 09:00 | Storm
SDR-1024 | 2019-05-11 08:15 | 2019-05-11 19:30 | Storm
SDR-1024 | 2019-05-16 08:00 | 2019-05-16 18:50 | Storm
SDR-1024 | 2019-05-19 10:15 | 2019-05-20 17:00 | Storm
SDR-1024 | 2019-05-22 05:30 | 2019-05-23 15:45 | Storm
SDR-1024 | 2019-05-26 20:25 | 2019-05-27 13:45 | Storm
SDR-1024 | 2019-06-17 12:45 | 2019-06-18 01:00 | Data gap (batteries)
SDR-1031 | 2019-05-06 09:05 | 2019-05-06 13:35 | Storm
SDR-1031 | 2019-05-07 03:00 | 2019-05-07 12:00 | Storm
SDR-1031 | 2019-05-08 21:15 | 2019-05-09 05:45 | Storm
SDR-1031 | 2019-05-10 04:45 | 2019-05-10 13:10 | Storm
SDR-1031 | 2019-05-11 08:15 | 2019-05-11 19:30 | Storm
SDR-1031 | 2019-05-16 10:00 | 2019-05-16 18:50 | Storm
SDR-1031 | 2019-05-19 10:15 | 2019-05-20 17:00 | Storm
SDR-1031 | 2019-05-22 05:30 | 2019-05-23 15:45 | Storm
SDR-1031 | 2019-05-26 09:30 | 2019-05-27 13:45 | Storm
SDR-1031 | 2019-06-17 03:15 | 2019-06-17 16:15 | Storm
SDR-127 | 2019-05-01 | 2019-05-13 06:30 | Missing data/Bad sensor
SDR-127 | 2019-05-16 09:00 | 2019-05-16 21:00 | Storm
SDR-127 | 2019-05-19 10:00 | 2019-05-21 02:00 | Storm
SDR-127 | 2019-05-21 22:00 | 2019-05-23 15:00 | Storm
SDR-127 | 2019-05-26 07:00 | 2019-05-27 12:00 | Storm
SDR-127 | 2019-05-27 12:00 | 2019-06-17 14:05 | Bad sensor
SDR-127 | 2019-06-24 13:20 | 2019-06-24 15:00 | Data dropout
SDR-127B | 2019-05-06 05:15 | 2019-05-06 19:00 | Storm
SDR-127B | 2019-05-07 03:15 | 2019-05-07 19:00 | Storm
SDR-127B | 2019-05-08 06:30 | 2019-05-08 10:00 | Storm
SDR-127B | 2019-05-08 19:45 | 2019-05-09 09:00 | Storm
SDR-127B | 2019-05-09 20:30 | 2019-05-10 02:00 | Storm
SDR-127B | 2019-05-10 05:45 | 2019-05-10 08:00 | Storm
SDR-127B | 2019-05-11 08:00 | 2019-05-11 21:20 | Storm
SDR-127B | 2019-05-16 09:00 | 2019-05-16 21:00 | Storm
SDR-127B | 2019-05-19 10:00 | 2019-05-21 02:00 | Storm
SDR-127B | 2019-05-21 22:00 | 2019-05-23 15:00 | Storm
SDR-127B | 2019-05-26 07:00 | 2019-05-27 12:00 | Storm
SDR-203A | 2019-05-06 09:00 | 2019-05-06 12:20 | Storm
SDR-203A | 2019-05-07 03:40 | 2019-05-07 14:45 | Storm
SDR-203A | 2019-05-08 19:35 | 2019-05-09 10:00 | Storm
SDR-203A | 2019-05-09 20:25 | 2019-05-09 23:30 | Storm
SDR-203A | 2019-05-11 04:30 | 2019-05-12 01:50 | Storm
SDR-203A | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm
SDR-203A | 2019-05-19 10:10 | 2019-06-04 12:00 | Storm
SDR-203A | 2019-06-10 07:15 | 2019-06-11 00:15 | Obstruction in weir-unconfirmed
SDR-203A | 2019-06-14 17:25 | 2019-06-15 05:15 | Data dropout
SDR-204A | 2019-05-06 09:00 | 2019-05-06 12:20 | Storm
SDR-204A | 2019-05-07 03:40 | 2019-05-07 14:45 | Storm
SDR-204A | 2019-05-08 19:35 | 2019-05-09 10:00 | Storm
SDR-204A | 2019-05-09 20:25 | 2019-05-09 23:30 | Storm
SDR-204A | 2019-05-11 04:30 | 2019-05-12 01:50 | Storm
SDR-204A | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm
SDR-204A | 2019-05-19 10:10 | 2019-06-18 09:45 | Storm/Bad probe
SDR-204A | 2019-07-11 00:05 | 2019-07-11 01:20 | Data dropout
SDR-207 | 2019-05-06 09:00 | 2019-05-06 18:00 | Storm
SDR-207 | 2019-05-07 04:00 | 2019-05-07 14:45 | Storm
SDR-207 | 2019-05-08 20:05 | 2019-05-09 10:00 | Storm
SDR-207 | 2019-05-11 04:30 | 2019-05-12 01:50 | Storm
SDR-207 | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm
SDR-207 | 2019-05-19 10:10 | 2019-05-20 22:10 | Storm
SDR-207 | 2019-05-22 04:30 | 2019-05-23 17:10 | Storm
SDR-207 | 2019-05-26 09:00 | 2019-05-27 17:45 | Storm
SDR-207 | 2019-06-17 | 2019-06-19 | Storm
SDR-207 | 2019-07-08 00:05 | 2019-07-08 00:20 | Data dropout
SDR-223 | 2019-05-07 04:00 | 2019-05-11 14:55 | Storm
SDR-223 | 2019-05-09 21:30 | 2019-05-10 12:45 | Storm
SDR-223 | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm
SDR-223 | 2019-05-19 08:10 | 2019-05-20 13:15 | Storm
SDR-223 | 2019-05-22 01:15 | 2019-05-23 13:55 | Storm
SDR-223 | 2019-05-26 21:20 | 2019-05-28 16:00 | Storm
SDR-228 | 2019-05-06 09:00 | 2019-05-06 14:10 | Storm
SDR-228 | 2019-05-07 04:00 | 2019-05-07 12:15 | Storm
SDR-228 | 2019-05-09 21:30 | 2019-05-10 12:45 | Storm
SDR-228 | 2019-05-11 07:45 | 2019-05-11 14:55 | Storm
SDR-228 | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm
SDR-228 | 2019-05-19 10:10 | 2019-05-20 13:15 | Storm
SDR-228 | 2019-05-22 07:45 | 2019-05-23 13:55 | Storm
SDR-228 | 2019-05-26 09:00 | 2019-05-28 16:00 | Storm
SDR-568 | 2019-05-07 02:00 | 2019-05-11 20:30 | Storm
SDR-568 | 2019-05-16 08:00 | 2019-05-16 17:50 | Storm
SDR-568 | 2019-05-19 10:10 | 2019-05-21 02:15 | Storm
SDR-568 | 2019-05-22 01:25 | 2019-05-23 20:50 | Storm
SDR-568 | 2019-05-26 09:00 | 2019-05-27 19:35 | Storm
SDR-568 | 2019-06-18 00:20 | 2019-06-18 12:10 | Storm
SDR-723 | 2019-05-06 09:00 | 2019-05-06 20:05 | Storm
SDR-723 | 2019-05-07 02:00 | 2019-05-07 15:10 | Storm
SDR-723 | 2019-05-10 02:30 | 2019-05-10 15:35 | Storm
SDR-723 | 2019-05-11 07:45 | 2019-05-11 20:30 | Storm
SDR-723 | 2019-05-16 08:00 | 2019-05-16 17:50 | Storm
SDR-723 | 2019-05-19 10:10 | 2019-05-21 02:15 | Storm
SDR-723 | 2019-05-21 21:15 | 2019-05-23 20:50 | Storm
SDR-723 | 2019-05-26 09:00 | 2019-05-27 19:35 | Storm
SDR-740 | 2019-05-06 09:00 | 2019-05-06 14:15 | Storm
SDR-740 | 2019-05-07 02:00 | 2019-05-07 13:40 | Storm
SDR-740 | 2019-05-10 02:30 | 2019-05-10 12:50 | Storm
SDR-740 | 2019-05-11 07:45 | 2019-05-11 20:15 | Storm
SDR-740 | 2019-05-16 08:00 | 2019-05-16 16:20 | Storm
SDR-740 | 2019-05-19 10:10 | 2019-05-20 17:15 | Storm
SDR-740 | 2019-05-21 02:10 | 2019-05-21 04:10 | Storm
SDR-740 | 2019-05-21 23:00 | 2019-05-23 13:15 | Storm
SDR-740 | 2019-05-26 09:00 | 2019-05-27 07:25 | Storm
SDR-751 | 2019-05-06 09:00 | 2019-05-06 12:30 | Storm
SDR-751 | 2019-05-07 03:50 | 2019-05-07 10:15 | Storm
SDR-751 | 2019-05-10 06:20 | 2019-05-10 12:50 | Storm
SDR-751 | 2019-05-11 07:45 | 2019-05-11 20:15 | Storm
SDR-751 | 2019-05-16 08:00 | 2019-05-16 16:20 | Storm
SDR-751 | 2019-05-19 10:10 | 2019-05-20 17:15 | Storm
SDR-751 | 2019-05-21 23:00 | 2019-05-23 13:15 | Storm
SDR-751 | 2019-05-26 09:30 | 2019-05-27 07:25 | Storm
SDR-772 | 2019-05-06 12:00 | 2019-05-07 01:00 | Storm
SDR-772 | 2019-05-07 10:15 | 2019-05-08 03:00 | Storm
SDR-772 | 2019-05-09 02:45 | 2019-05-09 13:00 | Storm
SDR-772 | 2019-05-10 02:00 | 2019-05-10 07:30 | Storm
SDR-772 | 2019-05-11 12:00 | 2019-05-12 10:00 | Storm
SDR-780 | 2019-05-09 02:45 | 2019-05-09 07:00 | Storm
SDR-780 | 2019-05-11 13:00 | 2019-05-12 02:00 | Storm
SDR-939 | 2019-05-06 14:00 | 2019-05-07 01:00 | Storm
SDR-939 | 2019-05-07 10:15 | 2019-05-08 03:00 | Storm
SDR-939 | 2019-05-08 23:00 | 2019-05-09 09:00 | Storm
SDR-939 | 2019-05-09 20:00 | 2019-05-10 07:30 | Storm
SDR-939 | 2019-05-11 13:00 | 2019-05-12 07:00 | Storm
SLR-045 | 2019-05-01 | 2019-05-01 20:20 | Missing data/Bad sensor
SLR-045 | 2019-05-06 09:00 | 2019-05-06 11:00 | Storm
SLR-045 | 2019-05-11 07:00 | 2019-05-11 11:00 | Storm
SLR-045 | 2019-05-16 08:00 | 2019-05-16 14:00 | Storm | 15 min data
SLR-045 | 2019-05-19 07:00 | 2019-05-20 14:00 | Storm
SLR-045 | 2019-05-22 06:00 | 2019-05-22 13:00 | Storm
SLR-045 | 2019-05-26 07:00 | 2019-05-28 | Storm
SLR-045A | 2019-05-01 | 2019-05-01 13:45 | Bad data/not installed correctly | 15 min data
SLR-045A | 2019-05-06 09:00 | 2019-05-06 11:00 | Storm
SLR-045A | 2019-05-09 21:00 | 2019-05-10 17:00 | Bad data
SLR-045A | 2019-05-11 07:00 | 2019-05-11 11:00 | Storm
SLR-045A | 2019-05-13 | 2019-05-13 16:45 | Bad data
SLR-045A | 2019-05-14 11:30 | 2019-05-15 02:45 | Bad data
SLR-045A | 2019-05-16 08:00 | 2019-05-16 14:00 | Storm
SLR-045A | 2019-05-19 07:00 | 2019-05-20 14:00 | Storm
SLR-045A | 2019-05-22 06:00 | 2019-05-22 13:00 | Storm
SLR-045A | 2019-05-26 07:00 | 2019-05-28 | Storm
SLR-045B | NA |  |  | 15 min data
SLR-095 | 2019-05-06 09:00 | 2019-05-07 11:00 | Storm
SLR-095 | 2019-05-07 03:00 | 2019-05-09 10:00 | Storm/sediment fouling
SLR-095 | 2019-05-10 07:00 | 2019-05-10 10:00 | Storm
SLR-095 | 2019-05-11 07:40 | 2019-05-11 22:45 | Storm
SLR-095 | 2019-05-16 08:00 | 2019-05-16 20:30 | Storm
SLR-095 | 2019-05-19 02:00 | 2019-05-20 04:30 | Storm
SLR-095 | 2019-05-20 04:35 | 2019-05-31 23:59 | Bad sensor
SWT-019 | 2019-04-20 | 2019-05-08 18:00 | Bad probe
SWT-019 | 2019-05-09 23:10 | 2019-05-10 09:00 | Storm
SWT-019 | 2019-05-11 09:30 | 2019-05-11 12:25 | Storm
SWT-019 | 2019-05-16 10:05 | 2019-05-16 14:30 | Storm
SWT-019 | 2019-05-19 10:30 | 2019-05-19 15:20 | Storm
SWT-019 | 2019-05-19 21:00 | 2019-05-20 13:40 | Storm
SWT-019 | 2019-05-22 05:45 | 2019-05-22 08:30 | Storm
SWT-019 | 2019-05-26 21:15 | 2019-05-27 08:15 | Storm
SWT-019 | 2019-06-21 05:00 | 2019-06-21 10:00 | Storm
SWT-030 | 2019-05-06 08:00 | 2019-05-06 11:30 | Storm
SWT-030 | 2019-05-07 04:10 | 2019-05-07 06:55 | Storm
SWT-030 | 2019-05-10 01:00 | 2019-05-10 07:45 | Storm
SWT-030 | 2019-05-11 06:30 | 2019-05-11 12:50 | Storm
SWT-030 | 2019-05-16 09:45 | 2019-05-16 13:35 | Storm
SWT-030 | 2019-05-19 10:00 | 2019-05-20 08:50 | Storm
SWT-030 | 2019-05-21 22:50 | 2019-05-22 21:00 | Storm
SWT-030 | 2019-05-26 22:30 | 2019-05-27 02:40 | Storm
SWT-055 | 2019-05-06 09:50 | 2019-05-07 14:00 | Storm
SWT-055 | 2019-05-10 06:15 | 2019-05-09 21:00 | Storm
SWT-055 | 2019-05-10 04:40 | 2019-05-10 10:30 | Storm
SWT-055 | 2019-05-11 08:10 | 2019-05-11 21:30 | Storm
SWT-055 | 2019-05-16 10:35 | 2019-05-16 19:45 | Storm
SWT-055 | 2019-05-19 10:35 | 2019-05-23 17:00 | Storm
SWT-055 | 2019-05-25 07:00 | 2019-05-27 06:00 | Storm
SWT-055A | 2019-05-06 09:00 | 2019-05-06 18:45 | Storm
SWT-055A | 2019-05-07 04:00 | 2019-05-07 13:55 | Storm
SWT-055A | 2019-05-10 06:15 | 2019-05-09 21:00 | Storm
SWT-055A | 2019-05-10 04:40 | 2019-05-10 10:30 | Storm
SWT-055A | 2019-05-11 08:10 | 2019-05-11 21:30 | Storm
SWT-055A | 2019-05-16 09:20 | 2019-05-16 19:45 | Storm
SWT-055A | 2019-05-19 08:25 | 2019-05-23 17:00 | Storm
SWT-055A | 2019-05-26 21:25 | 2019-05-27 06:00 | Storm
SWT-055A | 2019-05-31 05:00 | 2019-05-31 16:50 | Bad data

## Data Deliverable Notes
Site | Notes | Completed?
CAR-070 | Data gap 6/13-17 possibly due to telemetry problems | x
CAR-072 | Alta data shows much lower flow values but our data matches up with field measurements | x
CAR-072B | Some higher than previously observed peaks in the last week of June | x
CAR-072O | None | x
SDG-072 | Alta data shows much lower flow values but our data matches up with field measurements; evident storm flows but the Rancho Bernardo gauge showed 0". Nearby gauges showed some rain so these flows were clipped out | x
SDG-080 | A recurring data dropout started occurring in the last week of June. Working to resolve this technical issue | x
SDG-084 | Meter sensor malfunctioned following a storm in May. Probe was replaced 6/18 and appears to agree closely with Ultrasonic now | x
SDG-084J | Erratic data in May was suspect so probe was replaced 6/18. Data appears to be valid | x
SDG-085 | Period of high flows in later June but then subsided by end of the month | x
SDG-085G | High flow 6/15 but no rain so not classified as storm flow. Regular pattern of high flows between 10pm-12am | x
SDG-085M | regular diurnal pattern | x
SDR-036 | Daily peak at 5am | x
SDR-041 | Probe damaged in storm. No data for June | x
SDR-064 | None | x
SDR-097 | Very very high flow observed 6/4, this was confirmed in the field with measurments | x
SDR-098 | None | x
SDR-1024 | Pattern of high flows beginning 6/15 | x
SDR-1031 | Daily pattern of flow at about midnight every night | x
SDR-127 | Faulty sensor was replaced 6/17. High flow 6/20 and 6/24 may have been storm flow but no precip registered nearby | x
SDR-127B | Extremely high flows (15,000+gpm, 7,000gpm, 9000 gpm) observed but doesn’t make sense. We need more information to deliver this data. | Not Delivered
SDR-203A | Flows have increased significantly and show a regular pattern | x
SDR-204A | Probe damaged in storm and was replaced 6/18 | x
SDR-207 | Possible storm flow 6/17 and 6/24 but no rain recorded at nearby gauge | x
SDR-223 | None | x
SDR-228 | None | x
SDR-568 | High flows 6/24 and 6/26 with no associated rainfall | x
SDR-723 | None | x
SDR-740 | None | x
SDR-751 | None
SDR-772
SDR-780
SDR-939
SLR-045
SLR-045A
SLR-045B
SLR-095
SWT-019
SWT-030
SWT-055
SWT-055A

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only