## Offsets
Site | Start | End | Offset_in | Overall_Offset_in | Neg_Level_as_ZeroFlow | Notes | Analyst
CAR-070 | 2019-05-01 02:15 | 2019-05-02 18:10 | 0 | 0.09 | TRUE |  | AM
CAR-070 | 2019-05-11 14:15 | 2019-05-19 00:10 | 0 | 0.09 | TRUE |  | AM
CAR-070 | 2019-07-01 15:50 | 2019-10-01 | -0.15 |  | FALSE |  | JN
CAR-072 | 2019-05-01 | 2019-05-01 14:00 | -11 | 0 | TRUE |  | AM
CAR-072 | 2019-05-01 12:45 | 2019-05-02 16:00 | 5 | 0 | TRUE |  | AM
CAR-072 | 2019-05-01 14:00 | 2019-05-01 16:05 | 4 | 0 | TRUE |  | AM
CAR-072 | 2019-05-02 16:05 | 2019-05-02 17:05 | -4 | 0 | TRUE |  | AM
CAR-072B |  |  |  | -0.065 | TRUE | not sure where this data is not working | AM
CAR-072O |  |  |  | -0.045 | TRUE | not sure where this data is not working | LD
SDG-072 | 2019-05-01 | 2019-05-02 13:20 | 0 | 0.06 | TRUE |  | AM
SDG-080 |  |  |  | 0 | TRUE |  | AM
SDG-084 | 2019-05-02 23:00 | 2019-05-05 23:30 | -1 | -0.1 | TRUE | Looks like a probable obstruction in the v, offset to match baseflow (AM) | AM
SDG-084J | 2019-05-01 | 2019-05-06 13:55 | 2.65 |  | TRUE |  | LD
SDG-084J | 2019-06-18 13:30 | 2019-10-01 12:00 | 0.25 | 0.1 | TRUE | New probe installed 6/18 | AM
SDG-085 |  |  |  | 0 | false |  | AM
SDG-085G |  |  |  | 0.1 | TRUE |  | AM
SDG-085M |  |  | 0 | 0.03 | FALSE |  | AM
SDR-036 | 2019-05-01 | 2019-05-31 23:59 | 0 | 0 | TRUE |  | LD
SDR-041 | 2019-05-01 | 2019-05-04 17:45 | 3.5 | 0 | TRUE |  | AM
SDR-041 | 2019-05-04 17:45 | 2019-05-07 03:55 | 3.1 | 1.63 | TRUE |  | AM
SDR-041 | 2019-07-16 12:05 | 2019-10-01 | 3.1 |  | TRUE |  | JN
SDR-041 | 2019-07-16 12:05 | 2019-10-01 | 3.1 |  | TRUE |  | AM
SDR-064 |  |  | 0 | -0.15 | TRUE |  | AM
SDR-097 |  |  |  | -0.05 | TRUE |  | AM
SDR-098 |  |  |  |  | TRUE |  | LD
SDR-1024 |  |  |  |  | TRUE |  | LD
SDR-1031 |  |  |  |  | TRUE |  | LD
SDR-127 | 2019-06-17 14:05 | 2019-09-30 23:59 | -0.7 | 0 | TRUE |  | AM
SDR-127B |  |  | 0 | -0.025 | TRUE |  | AM
SDR-203A |  |  |  |  | TRUE |  | AM
SDR-204A |  |  |  |  | TRUE |  | LD
SDR-207 |  |  | 0 | 0.15 | TRUE |  | AM
SDR-223 |  |  |  |  | TRUE |  | AM
SDR-228 |  |  |  |  | TRUE |  | AM
SDR-568 |  |  |  |  | TRUE |  | JN
SDR-723 |  |  |  |  | TRUE |  | JN
SDR-740 |  |  |  |  | TRUE |  | AM
SDR-751 |  |  |  |  | TRUE |  | JN
SDR-772 |  |  | 0 | 0.2 | TRUE |  | JN
SDR-780 |  |  |  |  | TRUE |  | LD
SDR-939 |  |  |  |  | True |  | AM
Site | Start | End | Offset_in | Overall_Offset_in | Neg_Level_as_ZeroFlow
SLR-045 | 2019-05-01 | 2019-05-01 20:15 |  | 0 | TRUE |  | JN
SLR-045A | 2019-05-01 | 2019-05-01 20:15 | 2.2 | 0.5 | TRUE |  | LD
SLR-045A | 2019-07-01 11:45 | 2019-07-15 15:00 | 2.2 |  |  |  | JN
SLR-045A | 2019-07-15 15:05 | 2019-07-31 23:55 | 0.65 | 0.5 | TRUE |  | JN
SLR-045B |  |  |  | 0.1 | TRUE |  | LD
SLR-095 | 2019-05-07 15:35 | 2019-05-09 17:00 | 0 | 0 | TRUE |  | JN
SWT-019 | 2019-05-01 | 2019-05-07 18:30 | 4.25 |  | TRUE |  | LD
SWT-019 | 2019-05-07 18:30 | 2019-05-08 17:00 | 3.5 |  | TRUE |  | LD
SWT-019 |  |  |  | 0.25 | TRUE |  | LD
SWT-030 |  |  |  |  | TRUE |  | AM
SWT-055 |  |  |  |  | TRUE |  | LD
SWT-055A |  |  | 0 | 0 | TRUE |  | JN

## Clips
Site | Start | End | Reason | Notes | Analyst
CAR-070 | 2019-05-01 | 2019-05-02 20:00 | Bad data |  | AM
CAR-070 | 2019-05-06 09:00 | 2019-05-06 14:00 | Storm |  | AM
CAR-070 | 2019-05-07 03:00 | 2019-05-07 11:00 | Storm |  | LD
CAR-070 | 2019-05-09 02:45 | 2019-05-09 14:00 | Storm |  | LD
CAR-070 | 2019-05-11 03:40 | 2019-05-11 12:20 | Storm |  | LD
CAR-070 | 2019-05-16 09:00 | 2019-05-16 15:00 | Storm |  | AM
CAR-070 | 2019-05-19 | 2019-05-20 15:00 | Storm |  | AM
CAR-070 | 2019-05-26 08:00 | 2019-05-26 13:00 | Storm |  | AM
CAR-070 | 2019-05-26 19:00 | 2019-05-31 06:00 | Storm/ Bad Data |  | AM
CAR-070 | 2019-06-13 12:55 | 2019-06-17 12:35 | Data gap | likely transmission failure | AM
CAR-070 | 2019-06-21 05:55 | 2019-06-21 11:55 | Storm |  | AM
CAR-070 | 2019-07-01 15:35 | 2019-07-01 15:50 | removed probe to clean |  | JN
CAR-070 | 2019-07-01 15:40 | 2019-07-01 15:50 | Data Dropout |  | RF
CAR-072 | 2019-05-01 | 2019-05-01 16:10 | Leaking |  | LD
CAR-072 | 2019-05-02 16:00 | 2019-05-02 17:10 | Bad data |  | LD
CAR-072 | 2019-05-07 03:00 | 2019-05-07 17:00 | Storm |  | LD
CAR-072 | 2019-05-09 02:45 | 2019-05-09 17:20 | Storm |  | LD
CAR-072 | 2019-05-11 03:40 | 2019-05-11 17:20 | Storm |  | LD
CAR-072 | 2019-05-16 09:00 | 2019-05-16 19:00 | Storm |  | LD
CAR-072 | 2019-05-19 02:00 | 2019-05-22 07:00 | Storm |  | LD
CAR-072 | 2019-05-26 08:15 | 2019-05-26 11:15 | Storm |  | LD
CAR-072 | 2019-05-26 19:00 | 2019-05-28 01:00 | Storm |  | LD
CAR-072 | 2019-06-21 05:55 | 2019-06-21 11:55 | Storm |  | AM
CAR-072 | 2019-07-01 13:50 | 2019-07-01 14:00 | erroneous data |  | JN
CAR-072 | 2019-08-01 13:50 | 2019-07-01 14:50 | Sprinkler shooting into weir? |  | AM
CAR-072B | 2019-05-01 | 2019-05-02 08:00 | Bad data |  | AM
CAR-072B | 2019-05-06 09:00 | 2019-05-06 16:00 | Storm |  | AM
CAR-072B | 2019-05-07 03:15 | 2019-05-07 11:15 | Storm | 15 min data | LD
CAR-072B | 2019-05-09 02:00 | 2019-05-09 11:30 | Storm | 15 min data | LD
CAR-072B | 2019-05-09 23:00 | 2019-05-10 01:00 | Storm | 15 min data | LD
CAR-072B | 2019-05-11 05:00 | 2019-05-11 11:15 | Storm | 15 min data | LD
CAR-072B | 2019-05-16 07:00 | 2019-05-16 17:00 | Storm |  | AM
CAR-072B | 2019-05-19 01:00 | 2019-05-21 02:00 | Storm |  | AM
CAR-072B | 2019-05-26 19:00 | 2019-05-27 10:00 | Storm |  | AM
CAR-072B | 2019-06-21 05:55 | 2019-06-21 11:55 | Storm |  | AM
CAR-072B | 2019-07-01 14:15 | 2019-07-01 14:45 | erroneous data |  | JN
CAR-072O | 2019-05-01 | 2019-05-06 18:00 | Storm | 15 min data | AM
CAR-072O | 2019-05-07 03:15 | 2019-05-07 11:15 | Storm | 15 min data | LD
CAR-072O | 2019-05-09 03:30 | 2019-05-09 11:30 | Storm | 15 min data | LD
CAR-072O | 2019-05-11 05:00 | 2019-05-11 12:45 | Storm | 15 min data | LD
CAR-072O | 2019-05-16 09:00 | 2019-05-16 16:00 | Storm |  | AM
CAR-072O | 2019-05-19 01:30 | 2019-05-20 16:00 | Storm |  | AM
CAR-072O | 2019-05-26 07:00 | 2019-05-27 16:00 | Storm |  | AM
CAR-072O | 2019-06-17 03:00 | 2019-06-17 11:55 | Storm/Obstruction in weir-confirmed |  | AM
CAR-072O | 2019-06-21 05:55 | 2019-06-21 11:55 | Storm |  | AM
SDG-072 | 2019-05-01 12:00 | 2019-05-13 01:00 | Storm/Weir leaking and replaced |  | AM
SDG-072 | 2019-05-06 08:40 | 2019-05-07 17:15 | Storm |  | LD
SDG-072 | 2019-05-16 09:15 | 2019-05-16 20:00 | Storm |  | AM
SDG-072 | 2019-05-19 01:00 | 2019-05-23 16:00 | Storm |  | AM
SDG-072 | 2019-05-26 07:00 | 2019-05-27 19:00 | Storm |  | AM
SDG-072 | 2019-06-16 22:00 | 2019-06-17 23:55 | Storm |  | AM
SDG-072 | 2019-06-21 01:55 | 2019-06-21 11:55 | Storm |  | AM
SDG-080 | 2019-05-01 | 2019-05-02 14:00 | Bad sensor |  | AM
SDG-080 | 2019-05-06 08:25 | 2019-05-06 12:00 | Storm |  | LD
SDG-080 | 2019-05-07 03:00 | 2019-05-07 11:00 | Storm |  | LD
SDG-080 | 2019-05-11 03:00 | 2019-05-11 09:25 | Storm |  | LD
SDG-080 | 2019-05-11 16:25 | 2019-05-12 09:00 | Storm |  | LD
SDG-080 | 2019-05-16 09:00 | 2019-05-20 18:00 | Storm/Bad data? (weird offset) |  | AM
SDG-080 | 2019-05-23 09:00 | 2019-05-23 13:00 | Storm |  | AM
SDG-080 | 2019-05-26 07:00 | 2019-05-27 16:00 | Storm |  | AM
SDG-080 | 2019-06-02 17:00 | 2019-06-04 10:20 | Obstruction in weir-confirmed |  | AM
SDG-080 | 2019-06-10 17:00 | 2019-06-12 02:30 | Obstruction in weir-unconfirmed |  | AM
SDG-080 | 2019-06-21 01:55 | 2019-06-21 11:55 | Storm |  | AM
SDG-080 | 2019-06-26 00:05 | 2019-06-26 00:20 | Data dropout |  | AM
SDG-080 | 2019-06-27 14:00 | 2019-06-27 15:15 | Data dropout |  | AM
SDG-080 | 2019-06-28 00:05 | 2019-06-28 00:30 | Data dropout |  | AM
SDG-080 | 2019-06-29 00:05 | 2019-06-29 00:25 | Data dropout |  | AM
SDG-080 | 2019-06-30 00:05 | 2019-06-30 00:25 | Data dropout |  | AM
SDG-080 | 2019-07-01 | 2019-07-01 00:25 | Data dropout |  | RF
SDG-080 | 2019-07-01 | 2019-07-01 00:25 | Data dropout |  | JN
SDG-080 | 2019-07-03 | 2019-07-03 00:15 | Data dropout |  | RF
SDG-080 | 2019-07-03 | 2019-07-03 00:15 | Data dropout |  | JN
SDG-080 | 2019-07-05 | 2019-07-05 00:15 | Data dropout |  | RF
SDG-080 | 2019-07-05 | 2019-07-05 00:15 | Data dropout |  | JN
SDG-080 | 2019-07-06 15:40 | 2019-07-06 19:20 | Data dropout |  | RF
SDG-080 | 2019-07-06 15:40 | 2019-07-06 19:20 | Data dropout |  | JN
SDG-080 | 2019-07-08 | 2019-07-08 00:10 | Data dropout |  | RF
SDG-080 | 2019-07-08 | 2019-07-08 00:10 | Data dropout |  | JN
SDG-080 | 2019-07-09 03:45 | 2019-07-12 08:45 | debris |  | JN
SDG-080 | 2019-07-11 00:35 | 2019-07-11 04:25 | Data dropout |  | RF
SDG-080 | 2019-07-11 00:35 | 2019-07-11 04:25 | Data dropout |  | JN
SDG-080 | 2019-07-12 15:15 | 2019-07-12 18:55 | Data dropout |  | RF
SDG-080 | 2019-07-12 15:15 | 2019-07-12 18:55 | Data dropout |  | JN
SDG-080 | 2019-07-13 10:20 | 2019-07-13 14:00 | Data dropout |  | RF
SDG-080 | 2019-07-13 10:20 | 2019-07-13 14:00 | Data dropout |  | JN
SDG-080 | 2019-07-14 00:15 | 2019-07-14 04:05 | Data dropout |  | RF
SDG-080 | 2019-07-14 00:15 | 2019-07-14 04:05 | Data dropout |  | JN
SDG-080 | 2019-07-15 | 2019-07-15 03:50 | Data dropout |  | RF
SDG-080 | 2019-07-15 | 2019-07-15 03:50 | Data dropout |  | JN
SDG-080 | 2019-07-15 15:30 | 2019-07-15 19:10 | Data dropout |  | RF
SDG-080 | 2019-07-15 15:30 | 2019-07-15 19:10 | Data dropout |  | JN
SDG-080 | 2019-07-16 00:05 | 2019-07-16 03:55 | Data dropout |  | RF
SDG-080 | 2019-07-16 00:05 | 2019-07-16 03:55 | Data dropout |  | JN
SDG-080 | 2019-07-17 00:10 | 2019-07-17 04:00 | Data dropout |  | RF
SDG-080 | 2019-07-17 00:10 | 2019-07-17 04:00 | Data dropout |  | JN
SDG-080 | 2019-07-18 15:10 | 2019-07-18 18:50 | Data dropout |  | RF
SDG-080 | 2019-07-18 15:10 | 2019-07-18 18:50 | Data dropout |  | JN
SDG-080 | 2019-07-19 00:05 | 2019-07-19 03:55 | Data dropout |  | RF
SDG-080 | 2019-07-19 00:05 | 2019-07-19 03:55 | Data dropout |  | JN
SDG-080 | 2019-07-20 00:25 | 2019-07-20 04:15 | Data dropout |  | RF
SDG-080 | 2019-07-20 00:25 | 2019-07-20 04:15 | Data dropout |  | JN
SDG-080 | 2019-07-21 15:15 | 2019-07-21 18:55 | Data dropout |  | RF
SDG-080 | 2019-07-21 15:15 | 2019-07-21 18:55 | Data dropout |  | JN
SDG-080 | 2019-07-22 00:05 | 2019-07-22 03:55 | Data dropout |  | RF
SDG-080 | 2019-07-22 00:05 | 2019-07-22 03:55 | Data dropout |  | JN
SDG-080 | 2019-07-23 00:20 | 2019-07-23 04:23 | Data dropout |  | JN
SDG-080 | 2019-07-24 15:10 | 2019-07-24 18:55 | Data dropout |  | JN
SDG-080 | 2019-07-28 15:20 | 2019-07-28 19:00 | Data dropout |  | JN
SDG-080 | 2019-07-29 00:30 | 2019-07-29 04:20 | Data dropout |  | JN
SDG-080 | 2019-07-30 15:25 | 2019-07-30 19:05 | Data dropout |  | JN
SDG-080 | 2019-07-31 15:20 | 2019-07-31 19:00 | Data dropout |  | JN
SDG-084 | 2019-05-02 22:45 | 2019-05-02 23:15 | BadData | Bad data? | LD
SDG-084 | 2019-05-06 08:25 | 2019-05-06 12:00 | Storm | 15 min data | LD
SDG-084 | 2019-05-06 20:00 | 2019-05-07 12:00 | Storm | 15 min data | LD
SDG-084 | 2019-05-08 20:00 | 2019-05-09 12:00 | Storm | 15 min data; rain in Encinitas gauge but not RB | LD
SDG-084 | 2019-05-10 23:00 | 2019-05-12 | Storm | 15 min data | LD
SDG-084 | 2019-05-16 09:00 | 2019-05-16 15:00 | Storm |  | LD
SDG-084 | 2019-05-19 09:00 | 2019-05-20 21:00 | Storm |  | LD
SDG-084 | 2019-05-20 21:00 | 2019-06-18 00:40 | Bad sensor | Hard to say when this issue started but the Ultrasonic shows almost no change and this sensor was registering several inches of level | AM
SDG-084 | 2019-05-21 13:00 | 2019-05-21 22:00 | Storm |  | LD
SDG-084 | 2019-05-23 09:00 | 2019-05-23 13:00 | Storm |  | LD
SDG-084 | 2019-05-26 07:00 | 2019-05-26 13:00 | Storm |  | LD
SDG-084 | 2019-05-26 19:00 | 2019-05-27 10:00 | Storm |  | LD
SDG-084 | 2019-07-01 16:45 | 2019-07-02 14:00 | debris- confirmed by game cam |  | JN
SDG-084 | 2019-07-08 19:15 | 2019-07-11 18:30 | debris- confirmed by game cam |  | JN
SDG-084 | 2019-07-16 15:40 | 2019-07-22 13:30 | battery failure |  | JN
SDG-084 | 2019-07-16 15:45 | 2019-07-22 13:15 | Data gap. Possible battery failure. |  | RF
SDG-084 | 2019-07-24 20:24 | 2019-07-26 16:05 | debris- confirmed by game cam |  | JN
SDG-084 | 2019-07-28 20:15 | 2019-07-30 06:20 | debris |  | JN
SDG-084 | 2019-07-30 06:20 | 2019-08-01 | bad probe- replaced |  | JN
SDG-084J | 2019-05-01 | 2019-05-06 14:05 | Bad data |  | AM
SDG-084J | 2019-05-16 09:00 | 2019-05-23 13:00 | Storm | No noticeable storm peaks on hydrographs | AM
SDG-084J | 2019-06-14 17:35 | 2019-06-15 05:05 | Data dropout |  | AM
SDG-084J | 2019-06-18 13:10 | 2019-06-18 13:25 | Replacing probe |  | AM
SDG-084J | 2019-06-29 00:15 | 2019-06-29 04:10 | Data dropout |  | AM
SDG-084J | 2019-07-12 14:15 | 2019-07-13 19:00 | erroneous data | determined erroneous by virtue of no change in conductivity data | JN
SDG-084J | 2019-07-31 11:45 | 2019-07-31 21:10 | cleaned out sediment causing ponded water level drop |  | JN
SDG-085 | 2019-05-06 08:25 | 2019-05-06 12:00 | Storm |  | LD
SDG-085 | 2019-05-07 03:00 | 2019-05-07 11:00 | Storm |  | LD
SDG-085 | 2019-05-11 03:00 | 2019-05-11 09:25 | Storm |  | LD
SDG-085 | 2019-05-11 16:25 | 2019-05-12 09:00 | Storm |  | LD
SDG-085 | 2019-05-16 09:00 | 2019-05-16 15:00 | Storm |  | LD
SDG-085 | 2019-05-19 09:45 | 2019-05-19 17:00 | Storm |  | LD
SDG-085 | 2019-05-19 22:00 | 2019-05-20 19:00 | Storm |  | LD
SDG-085 | 2019-05-26 07:00 | 2019-05-26 14:00 | Storm |  | LD
SDG-085 | 2019-05-26 07:00 | 2019-05-26 14:00 | Storm |  | LD
SDG-085 | 2019-05-26 18:00 | 2019-05-27 06:00 | Storm |  | LD
SDG-085 | 2019-06-04 12:15 | 2019-06-07 17:15 | Obstruction in weir-confirmed |  | AM
SDG-085 | 2019-07-01 21:00 | 2019-07-02 13:00 | debris- confirmed by game cam |  | JN
SDG-085 | 2019-07-03 | 2019-07-03 00:15 | Data dropout |  | RF
SDG-085 | 2019-07-03 | 2019-07-03 00:15 | Data dropout |  | JN
SDG-085 | 2019-07-03 05:30 | 2019-07-05 22:00 | debris- confirmed by game cam |  | JN
SDG-085 | 2019-07-06 | 2019-07-06 00:15 | Data dropout |  | RF
SDG-085 | 2019-07-06 | 2019-07-06 00:15 | Data dropout |  | JN
SDG-085 | 2019-07-07 | 2019-07-07 00:10 | Data dropout |  | RF
SDG-085 | 2019-07-07 | 2019-07-07 00:10 | Data dropout |  | JN
SDG-085 | 2019-07-07 08:05 | 2019-07-07 10:00 | debris- confirmed by game cam |  | JN
SDG-085 | 2019-07-08 | 2019-07-08 00:15 | Data dropout |  | RF
SDG-085 | 2019-07-08 | 2019-07-08 00:15 | Data dropout |  | JN
SDG-085 | 2019-07-13 21:00 | 2019-07-14 13:00 | debris- confirmed by game cam |  | JN
SDG-085 | 2019-07-18 00:10 | 2019-07-18 04:00 | Data dropout |  | RF
SDG-085 | 2019-07-18 00:10 | 2019-07-18 04:00 | Data dropout |  | JN
SDG-085 | 2019-07-18 20:00 | 2019-07-25 21:45 | debris- confirmed by game cam |  | JN
SDG-085 | 2019-07-19 00:10 | 2019-07-19 04:00 | Data dropout |  | RF
SDG-085 | 2019-07-19 00:10 | 2019-07-19 04:00 | Data dropout |  | JN
SDG-085 | 2019-07-19 08:50 | 2019-07-19 12:40 | Data dropout |  | RF
SDG-085 | 2019-07-19 08:50 | 2019-07-19 12:40 | Data dropout |  | JN
SDG-085 | 2019-07-20 09:20 | 2019-07-20 13:10 | Data dropout |  | RF
SDG-085 | 2019-07-20 09:20 | 2019-07-20 13:10 | Data dropout |  | JN
SDG-085 | 2019-07-22 17:05 | 2019-07-22 19:50 | Data dropout |  | RF
SDG-085 | 2019-07-22 17:05 | 2019-07-22 19:50 | Data dropout |  | JN
SDG-085G | 2019-05-06 08:25 | 2019-05-06 12:00 | Storm | 15 min data | LD
SDG-085G | 2019-05-06 23:00 | 2019-05-07 12:00 | Storm | 15 min data | LD
SDG-085G | 2019-05-11 17:00 | 2019-05-11 20:15 | Storm | 15 min data | LD
SDG-085G | 2019-05-16 09:00 | 2019-05-16 15:00 | Storm |  | AM
SDG-085G | 2019-05-19 09:45 | 2019-05-19 17:00 | Storm |  | AM
SDG-085G | 2019-05-19 22:00 | 2019-05-20 19:00 | Storm |  | AM
SDG-085G | 2019-05-26 07:00 | 2019-05-26 14:00 | Storm |  | AM
SDG-085G | 2019-05-26 18:00 | 2019-05-27 06:00 | Storm |  | AM
SDG-085M | 2019-05-06 00:45 | 2019-05-07 15:25 | Storm | storm flows seem small and suspect | LD
SDG-085M | 2019-05-06 23:00 | 2019-05-07 12:00 | Storm |  | AM
SDG-085M | 2019-05-16 09:00 | 2019-05-16 15:00 | Data Gap |  | AM
SDG-085M | 2019-05-19 09:45 | 2019-05-21 16:00 | Storm |  | AM
SDG-085M | 2019-07-03 08:50 | 2019-07-03 12:40 | Data dropout |  | RF
SDG-085M | 2019-07-03 08:50 | 2019-07-03 12:40 | Data dropout |  | JN
SDG-085M | 2019-07-06 00:25 | 2019-07-06 04:15 | Data dropout |  | RF
SDG-085M | 2019-07-06 00:25 | 2019-07-06 04:15 | Data dropout |  | JN
SDG-085M | 2019-07-07 00:25 | 2019-07-07 04:15 | Data dropout |  | RF
SDG-085M | 2019-07-07 00:25 | 2019-07-07 04:15 | Data dropout |  | JN
SDG-085M | 2019-07-10 | 2019-07-10 03:45 | Data dropout |  | RF
SDG-085M | 2019-07-10 | 2019-07-10 03:45 | Data dropout |  | JN
SDG-085M | 2019-07-11 00:05 | 2019-07-11 03:55 | Data dropout |  | RF
SDG-085M | 2019-07-11 00:05 | 2019-07-11 03:55 | Data dropout |  | JN
SDG-085M | 2019-07-13 | 2019-07-13 03:50 | Data dropout |  | RF
SDG-085M | 2019-07-13 | 2019-07-13 03:50 | Data dropout |  | JN
SDG-085M | 2019-07-14 09:20 | 2019-07-14 13:10 | Data dropout |  | RF
SDG-085M | 2019-07-14 09:20 | 2019-07-14 13:10 | Data dropout |  | JN
SDG-085M | 2019-07-18 05:40 | 2019-07-18 09:20 | Data dropout |  | RF
SDG-085M | 2019-07-18 05:40 | 2019-07-18 09:20 | Data dropout |  | JN
SDG-085M | 2019-07-20 05:20 | 2019-07-20 09:00 | Data dropout |  | RF
SDG-085M | 2019-07-20 05:20 | 2019-07-20 09:00 | Data dropout |  | JN
SDG-085M | 2019-07-21 05:15 | 2019-07-21 08:55 | Data dropout |  | RF
SDG-085M | 2019-07-21 05:15 | 2019-07-21 08:55 | Data dropout |  | JN
SDR-036 | 2019-05-06 09:45 | 2019-05-06 19:00 | Storm |  | LD
SDR-036 | 2019-05-07 04:20 | 2019-05-07 14:00 | Storm |  | LD
SDR-036 | 2019-05-08 04:50 | 2019-05-08 07:00 | Storm |  | LD
SDR-036 | 2019-05-08 20:30 | 2019-05-09 02:00 | Storm |  | LD
SDR-036 | 2019-05-09 20:45 | 2019-05-10 03:00 | Storm |  | LD
SDR-036 | 2019-05-11 08:00 | 2019-05-11 19:00 | Storm |  | LD
SDR-036 | 2019-05-16 09:50 | 2019-05-16 19:00 | Storm |  | AM
SDR-036 | 2019-05-19 10:20 | 2019-05-20 18:00 | Storm |  | AM
SDR-036 | 2019-05-22 01:00 | 2019-05-23 14:00 | Storm |  | AM
SDR-036 | 2019-05-26 09:00 | 2019-05-27 16:00 | Storm |  | AM
SDR-036 | 2019-06-04 05:00 | 2019-06-04 06:00 | Storm |  | AM
SDR-036 | 2019-06-16 19:00 | 2019-06-17 13:00 | Storm |  | AM
SDR-041 | 2019-05-06 09:35 | 2019-05-06 14:30 | Storm |  | LD
SDR-041 | 2019-05-07 03:30 | 2019-05-18 | Storm/Probe damaged by storm |  | AM
SDR-041 | 2019-05-19 10:10 | 2019-06-30 23:59 | Storm/Probe damaged by storm |  | AM
SDR-041 | 2019-07-18 10:40 | 2019-07-18 13:00 | debris- confirmed by game cam |  | JN
SDR-041 | 2019-07-19 00:30 | 2019-07-19 04:15 | Data Dropouts |  | JN
SDR-041 | 2019-07-20 00:30 | 2019-07-20 04:15 | Data Dropouts |  | JN
SDR-041 | 2019-07-20 18:00 | 2019-07-21 02:00 | debris- confirmed by game cam |  | JN
SDR-041 | 2019-07-23 01:15 | 2019-07-23 03:45 | debris- confirmed by game cam |  | JN
SDR-041 | 2019-07-23 12:05 | 2019-07-24 14:00 | debris- confirmed by game cam |  | JN
SDR-041 | 2019-07-25 15:00 | 2019-07-25 18:55 | debris- confirmed by game cam |  | JN
SDR-041 | 2019-07-29 15:35 | 2019-07-30 00:15 | debris- confirmed by game cam |  | JN
SDR-064 | 2019-05-06 07:00 | 2019-05-06 12:00 | Storm |  | LD
SDR-064 | 2019-05-07 03:00 | 2019-05-07 10:00 | Storm |  | LD
SDR-064 | 2019-05-10 03:00 | 2019-05-10 09:00 | Storm |  | LD
SDR-064 | 2019-05-11 06:00 | 2019-05-11 17:15 | Storm |  | LD
SDR-064 | 2019-05-16 10:00 | 2019-05-16 15:00 | Storm |  | AM
SDR-064 | 2019-05-19 10:10 | 2019-05-19 16:00 | Storm |  | AM
SDR-064 | 2019-05-19 22:30 | 2019-05-20 18:00 | Storm |  | AM
SDR-064 | 2019-05-22 08:00 | 2019-05-22 22:00 | Storm |  | AM
SDR-064 | 2019-05-23 12:30 | 2019-05-23 20:30 | Storm |  | AM
SDR-064 | 2019-05-26 09:00 | 2019-05-27 09:30 | Storm |  | AM
SDR-097 | 2019-05-06 09:30 | 2019-05-06 23:45 | Storm |  | LD
SDR-097 | 2019-05-07 04:00 | 2019-05-08 12:00 | Storm |  | LD
SDR-097 | 2019-05-10 06:30 | 2019-05-10 14:00 | Storm |  | LD
SDR-097 | 2019-05-11 08:00 | 2019-05-12 23:00 | Storm |  | LD
SDR-097 | 2019-05-16 10:00 | 2019-05-17 04:00 | Storm |  | AM
SDR-097 | 2019-05-19 10:00 | 2019-05-21 12:00 | Storm |  | AM
SDR-097 | 2019-05-22 05:20 | 2019-05-23 23:00 | Storm |  | AM
SDR-097 | 2019-05-26 09:00 | 2019-05-28 10:00 | Storm |  | AM
SDR-098 | 2019-05-01 | 2019-05-04 12:00 | Bad sensor |  | AM
SDR-098 | 2019-05-06 09:40 | 2019-05-06 17:00 | Storm |  | LD
SDR-098 | 2019-05-07 04:00 | 2019-05-07 15:00 | Storm |  | LD
SDR-098 | 2019-05-08 20:00 | 2019-05-09 01:00 | Storm |  | LD
SDR-098 | 2019-05-09 21:00 | 2019-05-10 00:30 | Storm |  | LD
SDR-098 | 2019-05-11 08:00 | 2019-05-11 16:00 | Storm |  | LD
SDR-098 | 2019-05-16 10:00 | 2019-05-17 04:00 | Storm |  | AM
SDR-098 | 2019-05-19 10:00 | 2019-05-21 12:00 | Storm |  | AM
SDR-098 | 2019-05-22 05:20 | 2019-05-23 23:00 | Storm |  | AM
SDR-098 | 2019-05-26 09:00 | 2019-05-27 12:00 | Storm |  | AM
SDR-1024 | 2019-05-06 09:05 | 2019-05-06 13:35 | Storm |  | AM
SDR-1024 | 2019-05-07 03:00 | 2019-05-07 12:00 | Storm |  | AM
SDR-1024 | 2019-05-10 04:20 | 2019-05-10 09:00 | Storm |  | AM
SDR-1024 | 2019-05-11 08:15 | 2019-05-11 19:30 | Storm |  | AM
SDR-1024 | 2019-05-16 08:00 | 2019-05-16 18:50 | Storm |  | AM
SDR-1024 | 2019-05-19 10:15 | 2019-05-20 17:00 | Storm |  | AM
SDR-1024 | 2019-05-22 05:30 | 2019-05-23 15:45 | Storm |  | AM
SDR-1024 | 2019-05-26 20:25 | 2019-05-27 13:45 | Storm |  | AM
SDR-1024 | 2019-06-17 12:45 | 2019-06-18 01:00 | Data gap (batteries) |  | AM
SDR-1024 | 2019-07-18 06:00 | 2019-07-25 | Data Missing. Potentially due to connection issues from logger. |  | JN
SDR-1031 | 2019-05-06 09:05 | 2019-05-06 13:35 | Storm |  | AM
SDR-1031 | 2019-05-07 03:00 | 2019-05-07 12:00 | Storm |  | AM
SDR-1031 | 2019-05-08 21:15 | 2019-05-09 05:45 | Storm |  | AM
SDR-1031 | 2019-05-10 04:45 | 2019-05-10 13:10 | Storm |  | AM
SDR-1031 | 2019-05-11 08:15 | 2019-05-11 19:30 | Storm |  | AM
SDR-1031 | 2019-05-16 10:00 | 2019-05-16 18:50 | Storm |  | AM
SDR-1031 | 2019-05-19 10:15 | 2019-05-20 17:00 | Storm |  | AM
SDR-1031 | 2019-05-22 05:30 | 2019-05-23 15:45 | Storm |  | AM
SDR-1031 | 2019-05-26 09:30 | 2019-05-27 13:45 | Storm |  | AM
SDR-1031 | 2019-06-17 03:15 | 2019-06-17 16:15 | Storm |  | AM
SDR-127 | 2019-05-01 | 2019-05-13 06:30 | Missing data/Bad sensor |  | AM
SDR-127 | 2019-05-16 09:00 | 2019-05-16 21:00 | Storm |  | AM
SDR-127 | 2019-05-19 10:00 | 2019-05-21 02:00 | Storm |  | AM
SDR-127 | 2019-05-21 22:00 | 2019-05-23 15:00 | Storm |  | AM
SDR-127 | 2019-05-26 07:00 | 2019-05-27 12:00 | Storm |  | AM
SDR-127 | 2019-05-27 12:00 | 2019-06-17 14:05 | Bad sensor |  | AM
SDR-127 | 2019-06-24 13:20 | 2019-06-24 15:00 | Data dropout |  | AM
SDR-127 | 2019-07-01 20:43 | 2019-07-07 00:55 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-07-07 23:55 | 2019-07-08 22:55 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-07-09 06:55 | 2019-07-17 11:20 | Leaf Obstruction at crest of weir |  | AM
SDR-127B | 2019-05-06 05:15 | 2019-05-06 19:00 | Storm |  | LD
SDR-127B | 2019-05-07 03:15 | 2019-05-07 19:00 | Storm |  | LD
SDR-127B | 2019-05-08 06:30 | 2019-05-08 10:00 | Storm |  | LD
SDR-127B | 2019-05-08 19:45 | 2019-05-09 09:00 | Storm |  | LD
SDR-127B | 2019-05-09 20:30 | 2019-05-10 02:00 | Storm |  | LD
SDR-127B | 2019-05-10 05:45 | 2019-05-10 08:00 | Storm |  | LD
SDR-127B | 2019-05-11 08:00 | 2019-05-11 21:20 | Storm |  | LD
SDR-127B | 2019-05-16 09:00 | 2019-05-16 21:00 | Storm |  | AM
SDR-127B | 2019-05-19 10:00 | 2019-05-21 02:00 | Storm |  | AM
SDR-127B | 2019-05-21 22:00 | 2019-05-23 15:00 | Storm |  | AM
SDR-127B | 2019-05-26 07:00 | 2019-05-27 12:00 | Storm |  | AM
SDR-203A | 2019-05-06 09:00 | 2019-05-06 12:20 | Storm |  | AM
SDR-203A | 2019-05-07 03:40 | 2019-05-07 14:45 | Storm |  | AM
SDR-203A | 2019-05-08 19:35 | 2019-05-09 10:00 | Storm |  | AM
SDR-203A | 2019-05-09 20:25 | 2019-05-09 23:30 | Storm |  | AM
SDR-203A | 2019-05-11 04:30 | 2019-05-12 01:50 | Storm |  | AM
SDR-203A | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm |  | AM
SDR-203A | 2019-05-19 10:10 | 2019-06-04 12:00 | Storm |  | AM
SDR-203A | 2019-06-10 07:15 | 2019-06-11 00:15 | Obstruction in weir-unconfirmed |  | AM
SDR-203A | 2019-06-14 17:25 | 2019-06-15 05:15 | Data dropout |  | AM
SDR-203A | 2019-07-03 17:00 | 2019-07-15 12:15 | Weir popped open |  | AM
SDR-204A | 2019-05-06 09:00 | 2019-05-06 12:20 | Storm |  | AM
SDR-204A | 2019-05-07 03:40 | 2019-05-07 14:45 | Storm |  | AM
SDR-204A | 2019-05-08 19:35 | 2019-05-09 10:00 | Storm |  | AM
SDR-204A | 2019-05-09 20:25 | 2019-05-09 23:30 | Storm |  | AM
SDR-204A | 2019-05-11 04:30 | 2019-05-12 01:50 | Storm |  | AM
SDR-204A | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm |  | AM
SDR-204A | 2019-05-19 10:10 | 2019-06-18 09:45 | Storm/Bad probe |  | AM
SDR-204A | 2019-07-11 00:05 | 2019-07-11 01:20 | Data dropout |  | AM
SDR-204A | 2019-07-11 00:05 | 2019-07-11 01:20 | Data dropout |  | RF
SDR-204A | 2019-07-11 00:05 | 2019-07-11 01:20 | Data dropout |  | JN
SDR-204A | 2019-07-15 01:10 | 2019-07-15 03:55 | Data dropout |  | JN
SDR-204A | 2019-07-17 00:05 | 2019-07-17 00:45 | Data dropout |  | JN
SDR-204A | 2019-07-23 00:05 | 2019-07-23 00:45 | Data dropout |  | JN
SDR-204A | 2019-07-23 17:15 | 2019-07-23 19:05 | Data dropout |  | JN
SDR-204A | 2019-07-28 00:05 | 2019-07-28 00:45 | Data dropout |  | JN
SDR-204A | 2019-07-29 00:05 | 2019-07-29 01:10 | Data dropout |  | JN
SDR-204A | 2019-07-30 00:05 | 2019-07-30 00:45 | Data dropout |  | JN
SDR-207 | 2019-05-06 09:00 | 2019-05-06 18:00 | Storm |  | AM
SDR-207 | 2019-05-07 04:00 | 2019-05-07 14:45 | Storm |  | AM
SDR-207 | 2019-05-08 20:05 | 2019-05-09 10:00 | Storm |  | AM
SDR-207 | 2019-05-11 04:30 | 2019-05-12 01:50 | Storm |  | AM
SDR-207 | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm |  | AM
SDR-207 | 2019-05-19 10:10 | 2019-05-20 22:10 | Storm |  | AM
SDR-207 | 2019-05-22 04:30 | 2019-05-23 17:10 | Storm |  | AM
SDR-207 | 2019-05-26 09:00 | 2019-05-27 17:45 | Storm |  | AM
SDR-207 | 2019-06-17 | 2019-06-19 | Storm |  | AM
SDR-207 | 2019-07-08 00:05 | 2019-07-08 00:20 | Data dropout |  | AM
SDR-207 | 2019-07-08 00:05 | 2019-07-08 00:20 | Data dropout |  | RF
SDR-207 | 2019-07-08 00:05 | 2019-07-08 00:20 | Data dropout |  | JN
SDR-223 | 2019-05-07 04:00 | 2019-05-11 14:55 | Storm |  | AM
SDR-223 | 2019-05-09 21:30 | 2019-05-10 12:45 | Storm |  | AM
SDR-223 | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm |  | AM
SDR-223 | 2019-05-19 08:10 | 2019-05-20 13:15 | Storm |  | AM
SDR-223 | 2019-05-22 01:15 | 2019-05-23 13:55 | Storm |  | AM
SDR-223 | 2019-05-26 21:20 | 2019-05-28 16:00 | Storm |  | AM
SDR-228 | 2019-05-06 09:00 | 2019-05-06 14:10 | Storm |  | AM
SDR-228 | 2019-05-07 04:00 | 2019-05-07 12:15 | Storm |  | AM
SDR-228 | 2019-05-09 21:30 | 2019-05-10 12:45 | Storm |  | AM
SDR-228 | 2019-05-11 07:45 | 2019-05-11 14:55 | Storm |  | AM
SDR-228 | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm |  | AM
SDR-228 | 2019-05-19 10:10 | 2019-05-20 13:15 | Storm |  | AM
SDR-228 | 2019-05-22 07:45 | 2019-05-23 13:55 | Storm |  | AM
SDR-228 | 2019-05-26 09:00 | 2019-05-28 16:00 | Storm |  | AM
SDR-568 | 2019-05-07 02:00 | 2019-05-11 20:30 | Storm |  | AM
SDR-568 | 2019-05-16 08:00 | 2019-05-16 17:50 | Storm |  | AM
SDR-568 | 2019-05-19 10:10 | 2019-05-21 02:15 | Storm |  | AM
SDR-568 | 2019-05-22 01:25 | 2019-05-23 20:50 | Storm |  | AM
SDR-568 | 2019-05-26 09:00 | 2019-05-27 19:35 | Storm |  | AM
SDR-568 | 2019-06-18 00:20 | 2019-06-18 12:10 | Storm |  | AM
SDR-723 | 2019-05-06 09:00 | 2019-05-06 20:05 | Storm |  | AM
SDR-723 | 2019-05-07 02:00 | 2019-05-07 15:10 | Storm |  | AM
SDR-723 | 2019-05-10 02:30 | 2019-05-10 15:35 | Storm |  | AM
SDR-723 | 2019-05-11 07:45 | 2019-05-11 20:30 | Storm |  | AM
SDR-723 | 2019-05-16 08:00 | 2019-05-16 17:50 | Storm |  | AM
SDR-723 | 2019-05-19 10:10 | 2019-05-21 02:15 | Storm |  | AM
SDR-723 | 2019-05-21 21:15 | 2019-05-23 20:50 | Storm |  | AM
SDR-723 | 2019-05-26 09:00 | 2019-05-27 19:35 | Storm |  | AM
SDR-740 | 2019-05-06 09:00 | 2019-05-06 14:15 | Storm |  | AM
SDR-740 | 2019-05-07 02:00 | 2019-05-07 13:40 | Storm |  | AM
SDR-740 | 2019-05-10 02:30 | 2019-05-10 12:50 | Storm |  | AM
SDR-740 | 2019-05-11 07:45 | 2019-05-11 20:15 | Storm |  | AM
SDR-740 | 2019-05-16 08:00 | 2019-05-16 16:20 | Storm |  | AM
SDR-740 | 2019-05-19 10:10 | 2019-05-20 17:15 | Storm |  | AM
SDR-740 | 2019-05-21 02:10 | 2019-05-21 04:10 | Storm |  | AM
SDR-740 | 2019-05-21 23:00 | 2019-05-23 13:15 | Storm |  | AM
SDR-740 | 2019-05-26 09:00 | 2019-05-27 07:25 | Storm |  | AM
SDR-751 | 2019-05-06 09:00 | 2019-05-06 12:30 | Storm
SDR-751 | 2019-05-07 03:50 | 2019-05-07 10:15 | Storm
SDR-751 | 2019-05-10 06:20 | 2019-05-10 12:50 | Storm
SDR-751 | 2019-05-11 07:45 | 2019-05-11 20:15 | Storm
SDR-751 | 2019-05-16 08:00 | 2019-05-16 16:20 | Storm
SDR-751 | 2019-05-19 10:10 | 2019-05-20 17:15 | Storm
SDR-751 | 2019-05-21 23:00 | 2019-05-23 13:15 | Storm
SDR-751 | 2019-05-26 09:30 | 2019-05-27 07:25 | Storm
SDR-751 | 2019-07-18 09:20 | 2019-07-18 16:05 | Weird spike | Appears to be bad data. | AM
SDR-772 | 2019-05-06 12:00 | 2019-05-07 01:00 | Storm |  | LD
SDR-772 | 2019-05-07 10:15 | 2019-05-08 03:00 | Storm |  | LD
SDR-772 | 2019-05-09 02:45 | 2019-05-09 13:00 | Storm |  | LD
SDR-772 | 2019-05-10 02:00 | 2019-05-10 07:30 | Storm |  | LD
SDR-772 | 2019-05-11 12:00 | 2019-05-12 10:00 | Storm |  | LD
SDR-772 | 2019-06-17 06:00 | 2019-06-17 20:00 | Storm |  | GM
SDR-772 | 2019-06-29 | 2019-06-29 04:30 | data gap |  | GM
SDR-772 | 2019-06-30 00:30 | 2019-06-30 04:30 | data gap |  | GM
SDR-780 | 2019-05-09 02:45 | 2019-05-09 07:00 | Storm |  | LD
SDR-780 | 2019-05-11 13:00 | 2019-05-12 02:00 | Storm |  | LD
SDR-780 | 2019-06-17 08:00 | 2019-06-17 20:00 | Storm |  | GM
SDR-780 | 2019-06-25 10:00 | 2019-06-25 10:15 | Probe pulled |  | GM
SDR-780 | 2019-06-29 | 2019-06-29 04:30 | data gap |  | GM
SDR-780 | 2019-06-29 05:30 | 2019-06-29 09:30 | data gap |  | GM
SDR-780 | 2019-07-14 18:30 | 2019-07-15 12:20 | Debris | Removed since this raised flow was noticebly higher than surrounding high flows. | LD
SDR-939 | 2019-05-06 14:00 | 2019-05-07 01:00 | Storm |  | LD
SDR-939 | 2019-05-07 10:15 | 2019-05-08 03:00 | Storm |  | LD
SDR-939 | 2019-05-08 23:00 | 2019-05-09 09:00 | Storm |  | LD
SDR-939 | 2019-05-09 20:00 | 2019-05-10 07:30 | Storm |  | LD
SDR-939 | 2019-05-11 13:00 | 2019-05-12 07:00 | Storm |  | LD
SLR-045 | 2019-05-01 | 2019-05-01 20:20 | Missing data/Bad sensor |  | AM
SLR-045 | 2019-05-06 09:00 | 2019-05-06 11:00 | Storm |  | AM
SLR-045 | 2019-05-11 07:00 | 2019-05-11 11:00 | Storm |  | AM
SLR-045 | 2019-05-16 08:00 | 2019-05-16 14:00 | Storm | 15 min data | AM
SLR-045 | 2019-05-19 07:00 | 2019-05-20 14:00 | Storm |  | AM
SLR-045 | 2019-05-22 06:00 | 2019-05-22 13:00 | Storm |  | AM
SLR-045 | 2019-05-26 07:00 | 2019-05-28 | Storm |  | AM
SLR-045 | 2019-06-17 04:00 | 2019-06-17 11:00 | Storm |  | GM
SLR-045 | 2019-06-21 06:30 | 2019-06-21 10:00 | Storm |  | GM
SLR-045 | 2019-07-08 06:55 | 2019-07-08 18:55 | Obstruction in weir-confirmed by gamecam |  | AM
SLR-045A | 2019-05-01 | 2019-05-01 13:45 | Bad data/not installed correctly | 15 min data | AM
SLR-045A | 2019-05-06 09:00 | 2019-05-06 11:00 | Storm |  | AM
SLR-045A | 2019-05-09 21:00 | 2019-05-10 17:00 | Bad data |  | AM
SLR-045A | 2019-05-11 07:00 | 2019-05-11 11:00 | Storm |  | AM
SLR-045A | 2019-05-13 | 2019-05-13 16:45 | Bad data |  | AM
SLR-045A | 2019-05-14 11:30 | 2019-05-15 02:45 | Bad data |  | AM
SLR-045A | 2019-05-16 08:00 | 2019-05-16 14:00 | Storm |  | AM
SLR-045A | 2019-05-19 07:00 | 2019-05-20 14:00 | Storm |  | AM
SLR-045A | 2019-05-22 06:00 | 2019-05-22 13:00 | Storm |  | AM
SLR-045A | 2019-05-26 07:00 | 2019-05-28 | Storm |  | AM
SLR-045A | 2019-07-09 13:15 | 2019-07-15 13:30 | Bad data-doesn't match with game cam | May have been sediment issue | JN
SLR-045A | 2019-07-15 13:30 | 2019-07-15 14:30 | Weird spike in level data |  | RF
SLR-045A | 2019-07-15 13:30 | 2019-07-15 14:30 | Bad data |  | JN
SLR-045A | 2019-07-22 18:50 | 2019-07-23 05:50 | debris- confirmed by game cam |  | JN
SLR-045B | 2019-06-03 | 2019-06-03 03:00 | Storm |  | GM
SLR-045B | 2019-06-17 02:00 | 2019-06-17 11:00 | Storm |  | GM
SLR-045B | 2019-06-21 | 2019-06-25 13:00 | data gap |  | GM
SLR-045B | 2019-06-27 07:00 | 2019-06-27 16:00 | data gap |  | GM
SLR-045B | 2019-06-28 05:30 | 2019-06-28 14:00 | data gap |  | GM
SLR-045B | 2019-06-29 05:15 | 2019-06-29 13:30 | data gap |  | GM
SLR-045B | NA |  |  | 15 min data | JN
SLR-095 | 2019-05-06 09:00 | 2019-05-07 11:00 | Storm |  | AM
SLR-095 | 2019-05-07 03:00 | 2019-05-09 10:00 | Storm/sediment fouling |  | AM
SLR-095 | 2019-05-10 07:00 | 2019-05-10 10:00 | Storm |  | AM
SLR-095 | 2019-05-11 07:40 | 2019-05-11 22:45 | Storm |  | AM
SLR-095 | 2019-05-16 08:00 | 2019-05-16 20:30 | Storm |  | AM
SLR-095 | 2019-05-19 02:00 | 2019-05-20 04:30 | Storm |  | AM
SLR-095 | 2019-05-20 04:35 | 2019-05-31 23:59 | Bad sensor |  | AM
SLR-095 | 2019-06-21 06:30 | 2019-05-20 07:30 | Storm |  | GM
SLR-095 | 2019-07-01 23:55 | 2019-07-02 00:20 | Data dropout |  | RF
SLR-095 | 2019-07-11 09:05 | 2019-07-11 16:45 | Data dropout |  | RF
SLR-095 | 2019-07-13 | 2019-07-13 04:00 | Data dropout |  | RF
SLR-095 | 2019-07-14 00:15 | 2019-07-14 04:15 | Data dropout |  | RF
SLR-095 | 2019-07-14 23:55 | 2019-07-15 03:55 | Data dropout |  | RF
SLR-095 | 2019-07-17 00:10 | 2019-07-17 04:10 | Data dropout |  | RF
SLR-095 | 2019-07-19 23:55 | 2019-07-20 03:55 | Data dropout |  | RF
SLR-095 | 2019-07-20 08:55 | 2019-07-20 10:55 | Data dropout |  | RF
SLR-095 | 2019-07-22 20:25 | 2019-07-23 06:25 | Obstruction in weir-confirmed by game cam |  | AM
SLR-095 | 2019-07-29 21:25 | 2019-07-30 05:25 | Obstruction in weir-confirmed by game cam |  | AM
SWT-019 | 2019-04-20 | 2019-05-08 18:00 | Bad probe |  | AM
SWT-019 | 2019-05-09 23:10 | 2019-05-10 09:00 | Storm |  | AM
SWT-019 | 2019-05-11 09:30 | 2019-05-11 12:25 | Storm |  | AM
SWT-019 | 2019-05-16 10:05 | 2019-05-16 14:30 | Storm |  | AM
SWT-019 | 2019-05-19 10:30 | 2019-05-19 15:20 | Storm |  | AM
SWT-019 | 2019-05-19 21:00 | 2019-05-20 13:40 | Storm |  | AM
SWT-019 | 2019-05-22 05:45 | 2019-05-22 08:30 | Storm |  | AM
SWT-019 | 2019-05-26 21:15 | 2019-05-27 08:15 | Storm |  | AM
SWT-019 | 2019-06-21 05:00 | 2019-06-21 10:00 | Storm |  | AM
SWT-030 | 2019-05-06 08:00 | 2019-05-06 11:30 | Storm |  | AM
SWT-030 | 2019-05-07 04:10 | 2019-05-07 06:55 | Storm |  | AM
SWT-030 | 2019-05-10 01:00 | 2019-05-10 07:45 | Storm |  | AM
SWT-030 | 2019-05-11 06:30 | 2019-05-11 12:50 | Storm |  | AM
SWT-030 | 2019-05-16 09:45 | 2019-05-16 13:35 | Storm |  | AM
SWT-030 | 2019-05-19 10:00 | 2019-05-20 08:50 | Storm |  | AM
SWT-030 | 2019-05-21 22:50 | 2019-05-22 21:00 | Storm |  | AM
SWT-030 | 2019-05-26 22:30 | 2019-05-27 02:40 | Storm |  | AM
SWT-030 | 2019-07-06 | 2019-07-06 04:00 | Data dropout |  | RF
SWT-030 | 2019-07-09 03:55 | 2019-07-09 09:10 | Data dropout |  | RF
SWT-030 | 2019-07-10 00:20 | 2019-07-10 04:20 | Data dropout |  | RF
SWT-030 | 2019-07-11 00:10 | 2019-07-11 04:10 | Data dropout |  | RF
SWT-030 | 2019-07-14 00:10 | 2019-07-14 04:10 | Data dropout |  | RF
SWT-030 | 2019-07-17 | 2019-07-17 04:00 | Data dropout |  | RF
SWT-030 | 2019-07-20 00:20 | 2019-07-20 04:20 | Data dropout |  | RF
SWT-030 | 2019-07-22 05:30 | 2019-07-22 09:20 | Data dropout |  | RF
SWT-055 | 2019-05-06 09:50 | 2019-05-07 14:00 | Storm |  | AM
SWT-055 | 2019-05-10 04:40 | 2019-05-10 10:30 | Storm |  | AM
SWT-055 | 2019-05-10 06:15 | 2019-05-09 21:00 | Storm |  | AM
SWT-055 | 2019-05-11 08:10 | 2019-05-11 21:30 | Storm |  | AM
SWT-055 | 2019-05-16 10:35 | 2019-05-16 19:45 | Storm |  | AM
SWT-055 | 2019-05-19 10:35 | 2019-05-23 17:00 | Storm |  | AM
SWT-055 | 2019-05-25 07:00 | 2019-05-27 06:00 | Storm |  | AM
SWT-055 | 2019-06-17 14:00 | 2019-06-17 20:00 | Storm |  | GM
SWT-055 | 2019-06-21 02:30 | 2019-06-21 19:00 | Storm |  | GM
SWT-055 | 2019-06-30 | 2019-06-30 00:30 | Data gap |  | GM
SWT-055 | 2019-07-01 09:25 | 2019-07-01 13:25 | Data dropout |  | RF
SWT-055 | 2019-07-03 09:15 | 2019-07-03 13:15 | Data dropout |  | RF
SWT-055 | 2019-07-09 00:15 | 2019-07-09 04:15 | Data dropout |  | RF
SWT-055 | 2019-07-19 00:20 | 2019-07-19 04:20 | Data dropout |  | RF
SWT-055 | 2019-07-20 00:20 | 2019-07-20 04:20 | Data dropout |  | RF
SWT-055 | 2019-07-22 00:15 | 2019-07-22 04:15 | Data dropout |  | RF
SWT-055 | 2019-07-23 | 2019-07-23 00:10 | Data dropout |  | RF
SWT-055 | 2019-07-24 | 2019-07-24 00:10 | Data dropout |  | RF
SWT-055 | 2019-07-24 13:05 | 2019-07-24 17:05 | Data dropout |  | RF
SWT-055A | 2019-05-06 09:00 | 2019-05-06 18:45 | Storm |  | AM
SWT-055A | 2019-05-07 04:00 | 2019-05-07 13:55 | Storm |  | AM
SWT-055A | 2019-05-10 04:40 | 2019-05-10 10:30 | Storm |  | AM
SWT-055A | 2019-05-10 06:15 | 2019-05-09 21:00 | Storm |  | AM
SWT-055A | 2019-05-11 08:10 | 2019-05-11 21:30 | Storm |  | AM
SWT-055A | 2019-05-16 09:20 | 2019-05-16 19:45 | Storm |  | AM
SWT-055A | 2019-05-19 08:25 | 2019-05-23 17:00 | Storm |  | AM
SWT-055A | 2019-05-26 21:25 | 2019-05-27 06:00 | Storm |  | AM
SWT-055A | 2019-05-31 05:00 | 2019-05-31 16:50 | Bad data |  | AM
SWT-055A | 2019-06-17 14:00 | 2019-06-17 19:00 | Storm |  | GM
SWT-055A | 2019-06-21 02:30 | 2019-06-21 19:00 | Storm |  | GM

## Data Deliverable Notes
Site | Notes | Completed by
CAR-070
CAR-072 | No issues. A few transient leaves but nothing that increased flow. | AM
CAR-072B
CAR-072O
SDG-072
SDG-080
SDG-084
SDG-084J
SDG-085
SDG-085G
SDG-085M
SDR-036
SDR-041
SDR-064
SDR-097
SDR-098
SDR-1024
SDR-1031
SDR-127
SDR-127B
SDR-203A
SDR-204A
SDR-207
SDR-223
SDR-228
SDR-568
SDR-723
SDR-740
SDR-751
SDR-772
SDR-780
SDR-939
SLR-045
SLR-045A
SLR-045B
SLR-095
SWT-019
SWT-030
SWT-055
SWT-055A

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only