## Offsets
Site | Start | End | Offset_in | Overall_Offset_in | Neg_Level_as_ZeroFlow | Notes | Analyst
CAR-070 | 2019-05-11 14:15 | 2019-05-19 00:10 | 0 | 0.09 | TRUE |  | AM
CAR-070 | 2019-07-01 15:50 | 2019-10-01 | -0.35 |  | TRUE |  | AM
CAR-072 | 2019-05-01 | 2019-05-01 14:00 | -11 | 0 | TRUE |  | AM
CAR-072 | 2019-05-01 12:45 | 2019-05-02 16:00 | 5 | 0 | TRUE |  | AM
CAR-072 | 2019-05-01 14:00 | 2019-05-01 16:05 | 4 | 0 | TRUE |  | AM
CAR-072 | 2019-05-02 16:05 | 2019-05-02 17:05 | -4 | 0 | TRUE |  | AM
CAR-072B | 2019-07-01 14:45 | 2019-09-15 23:55 | -0.2 | -0.065 | TRUE | not sure where this data is not working | AM
CAR-072O |  |  |  | -0.045 | TRUE | not sure where this data is not working | LD
SDG-072 | 2019-05-01 | 2019-05-02 13:20 | 0 | 0.06 | TRUE |  | AM
SDG-072 | 2019-08-30 16:40 | 2019-09-15 12:00 | -0.2 | 0.06 | TRUE | offset after reinstall | AM
SDG-080 |  |  |  | 0 | TRUE |  | AM
SDG-084 | 2019-05-02 23:00 | 2019-05-05 23:30 | -1 | -0.1 | TRUE | Looks like a probable obstruction in the v, offset to match baseflow (AM) | AM
SDG-084J | 2019-05-01 | 2019-05-06 13:55 | 2.65 |  | TRUE |  | LD
SDG-084J | 2019-06-18 13:30 | 2019-10-01 12:00 | 0.25 | 0.1 | TRUE | New probe installed 6/18 | AM
SDG-085 |  |  |  | 0 | false |  | AM
SDG-085G |  |  |  | 0.1 | TRUE |  | AM
SDG-085M |  |  | 0 | 0.03 | FALSE |  | AM
SDR-036 | 2019-05-01 | 2019-05-31 23:59 | 0 | 0 | TRUE |  | LD
SDR-041 | 2019-05-01 | 2019-05-04 17:45 | 3.5 | 0 | TRUE |  | AM
SDR-041 | 2019-05-04 17:45 | 2019-05-07 03:55 | 3.1 | 1.63 | TRUE |  | AM
SDR-041 | 2019-07-16 12:05 | 2019-10-01 | 2.9 |  | TRUE |  | AM
SDR-064 |  |  | 0 | -0.15 | TRUE |  | AM
SDR-097 |  |  |  | -0.05 | TRUE |  | AM
SDR-098 | 2019-08-01 | 2019-09-15 23:55 | -0.18 |  | TRUE |  | AM
SDR-1024 | 2019-05-01 | 2019-09-15 23:55 | -0.1 |  | TRUE |  | AM
SDR-1031 | 2019-05-01 | 2019-09-15 23:55 | -0.2 |  | TRUE |  | AM
SDR-127 | 2019-06-17 14:05 | 2019-09-15 23:59 | -0.7 | 0 | TRUE |  | AM
SDR-127B |  |  |  | -0.025 | TRUE |  | AM
SDR-203A | 2019-05-01 | 2019-09-15 23:55 | -0.1 |  | TRUE |  | AM
SDR-204A | 2019-05-01 | 2019-09-15 23:55 | -0.1 |  | TRUE |  | AM
SDR-207 | 2019-05-01 | 2019-09-15 23:55 | -0.2 | 0.15 | TRUE |  | AM
SDR-223 |  |  |  |  | TRUE |  | AM
SDR-228 | 2019-05-01 | 2019-07-15 12:45 | 0.2 |  | TRUE |  | AM
SDR-228 | 2019-07-15 12:45 | 2019-09-15 23:55 | 0.5 |  | TRUE |  | AM
SDR-568 |  |  |  |  | TRUE |  | JN
SDR-723 |  |  |  |  | TRUE |  | JN
SDR-740 |  |  |  |  | TRUE |  | AM
SDR-751 |  |  |  |  | TRUE |  | JN
SDR-772 |  |  |  | 0.2 | TRUE |  | JN
SDR-780 |  |  |  |  | TRUE |  | LD
SDR-939 |  |  |  |  | True |  | AM
SLR-045 | 2019-05-01 | 2019-05-01 20:15 |  | 0 | TRUE |  | JN
SLR-045A | 2019-05-01 | 2019-05-01 20:15 | 2.2 | 0.5 | TRUE |  | LD
SLR-045A | 2019-07-01 11:45 | 2019-07-15 15:00 | 2.2 |  |  |  | JN
SLR-045A | 2019-07-15 15:05 | 2019-07-31 23:55 | 0.65 | 0.5 | TRUE |  | JN
SLR-045B |  |  |  | 0.1 | TRUE |  | LD
SLR-095 | 2019-05-07 15:35 | 2019-05-09 17:00 | 0 | 0 | TRUE |  | JN
SLR-095 | 2019-06-17 14:30 | 2019-09-30 23:55 | 0.1 | 0 | TRUE |  | AM
SWT-019 | 2019-05-01 | 2019-05-07 18:30 | 4.25 |  | TRUE |  | LD
SWT-019 | 2019-05-07 18:30 | 2019-05-08 17:00 | 3.5 |  | TRUE |  | LD
SWT-019 |  |  |  | 0.25 | TRUE |  | LD
SWT-030 |  |  |  |  | TRUE |  | AM
SWT-055 |  |  |  |  | TRUE |  | LD
SWT-055A |  |  | 0 | 0 | TRUE |  | JN

## Clips
Site | Start | End | Reason | Notes | Analyst
CAR-070 | 2019-05-01 | 2019-05-02 20:00 | Bad data |  | AM
CAR-070 | 2019-05-06 09:00 | 2019-05-06 14:00 | Storm |  | AM
CAR-070 | 2019-05-07 03:00 | 2019-05-07 11:00 | Storm |  | LD
CAR-070 | 2019-05-09 02:45 | 2019-05-09 14:00 | Storm |  | LD
CAR-070 | 2019-05-11 03:40 | 2019-05-11 12:20 | Storm |  | LD
CAR-070 | 2019-05-16 09:00 | 2019-05-16 15:00 | Storm |  | AM
CAR-070 | 2019-05-19 | 2019-05-20 15:00 | Storm |  | AM
CAR-070 | 2019-05-26 08:00 | 2019-05-26 13:00 | Storm |  | AM
CAR-070 | 2019-05-26 19:00 | 2019-05-31 06:00 | Storm/ Bad Data |  | AM
CAR-070 | 2019-06-13 12:55 | 2019-06-17 12:35 | Data gap-Battery failure | Battery failure | AM
CAR-070 | 2019-06-21 05:55 | 2019-06-21 11:55 | Storm |  | JN
CAR-070 | 2019-07-01 15:35 | 2019-07-01 15:50 | removed probe to clean |  | LD
CAR-072 | 2019-05-01 | 2019-05-01 16:10 | Leaking |  | LD
CAR-072 | 2019-05-02 16:00 | 2019-05-02 17:10 | Bad data |  | LD
CAR-072 | 2019-05-07 03:00 | 2019-05-07 17:00 | Storm |  | LD
CAR-072 | 2019-05-09 02:45 | 2019-05-09 17:20 | Storm |  | LD
CAR-072 | 2019-05-11 03:40 | 2019-05-11 17:20 | Storm |  | LD
CAR-072 | 2019-05-16 09:00 | 2019-05-16 19:00 | Storm |  | LD
CAR-072 | 2019-05-19 02:00 | 2019-05-22 07:00 | Storm |  | LD
CAR-072 | 2019-05-26 08:15 | 2019-05-26 11:15 | Storm |  | LD
CAR-072 | 2019-05-26 19:00 | 2019-05-28 01:00 | Storm |  | AM
CAR-072 | 2019-06-21 05:55 | 2019-06-21 11:55 | Storm |  | JN
CAR-072 | 2019-07-01 13:50 | 2019-07-01 14:00 | erroneous data |  | AM
CAR-072 | 2019-08-01 13:50 | 2019-08-01 14:50 | Sprinkler shooting into weir? |  | AM
CAR-072 | 2019-09-15 12:50 | 2019-09-15 23:55 | obstruction in weir-confirmed by gamecam |  | AM
CAR-072B | 2019-05-01 | 2019-05-02 08:00 | Bad data |  | AM
CAR-072B | 2019-05-06 09:00 | 2019-05-06 16:00 | Storm |  | LD
CAR-072B | 2019-05-07 03:15 | 2019-05-07 11:15 | Storm | 15 min data | LD
CAR-072B | 2019-05-09 02:00 | 2019-05-09 11:30 | Storm | 15 min data | LD
CAR-072B | 2019-05-09 23:00 | 2019-05-10 01:00 | Storm | 15 min data | LD
CAR-072B | 2019-05-11 05:00 | 2019-05-11 11:15 | Storm | 15 min data | AM
CAR-072B | 2019-05-16 07:00 | 2019-05-16 17:00 | Storm |  | AM
CAR-072B | 2019-05-19 01:00 | 2019-05-21 02:00 | Storm |  | AM
CAR-072B | 2019-05-26 19:00 | 2019-05-27 10:00 | Storm |  | AM
CAR-072B | 2019-06-21 05:55 | 2019-06-21 11:55 | Storm |  | JN
CAR-072B | 2019-07-01 14:15 | 2019-07-01 14:45 | erroneous data |  | AM
CAR-072O | 2019-05-01 | 2019-05-06 18:00 | Storm | 15 min data | LD
CAR-072O | 2019-05-07 03:15 | 2019-05-07 11:15 | Storm | 15 min data | LD
CAR-072O | 2019-05-09 03:30 | 2019-05-09 11:30 | Storm | 15 min data | LD
CAR-072O | 2019-05-11 05:00 | 2019-05-11 12:45 | Storm | 15 min data | AM
CAR-072O | 2019-05-16 09:00 | 2019-05-16 16:00 | Storm |  | AM
CAR-072O | 2019-05-19 01:30 | 2019-05-20 16:00 | Storm |  | AM
CAR-072O | 2019-05-26 07:00 | 2019-05-27 16:00 | Storm |  | AM
CAR-072O | 2019-06-17 03:00 | 2019-06-17 11:55 | Storm/Obstruction in weir-confirmed |  | AM
CAR-072O | 2019-06-21 05:55 | 2019-06-21 11:55 | Storm |  | AM
SDG-072 | 2019-05-01 12:00 | 2019-05-13 01:00 | Storm/Weir leaking and replaced |  | LD
SDG-072 | 2019-05-06 08:40 | 2019-05-07 17:15 | Storm |  | AM
SDG-072 | 2019-05-16 09:15 | 2019-05-16 20:00 | Storm |  | AM
SDG-072 | 2019-05-19 01:00 | 2019-05-23 16:00 | Storm |  | AM
SDG-072 | 2019-05-26 07:00 | 2019-05-27 19:00 | Storm |  | AM
SDG-072 | 2019-06-16 22:00 | 2019-06-17 23:55 | Storm |  | AM
SDG-072 | 2019-06-21 01:55 | 2019-06-21 11:55 | Storm |  | AM
SDG-072 | 2019-08-29 13:40 | 2019-08-30 16:55 | Repairing leak |  | AM
SDG-072 | 2019-08-30 16:55 | 2019-09-02 05:30 | Obstruction in weir-confirmed |  | AM
SDG-072 | 2019-09-04 15:30 | 2019-09-09 12:20 | Obstruction in weir-confirmed |  | AM
SDG-080 | 2019-05-01 | 2019-05-02 14:00 | Bad sensor |  | LD
SDG-080 | 2019-05-06 08:25 | 2019-05-06 12:00 | Storm |  | LD
SDG-080 | 2019-05-07 03:00 | 2019-05-07 11:00 | Storm |  | LD
SDG-080 | 2019-05-11 03:00 | 2019-05-11 09:25 | Storm |  | LD
SDG-080 | 2019-05-11 16:25 | 2019-05-12 09:00 | Storm |  | AM
SDG-080 | 2019-05-16 09:00 | 2019-05-20 18:00 | Storm/Bad data? (weird offset) |  | AM
SDG-080 | 2019-05-23 09:00 | 2019-05-23 13:00 | Storm |  | AM
SDG-080 | 2019-05-26 07:00 | 2019-05-27 16:00 | Storm |  | AM
SDG-080 | 2019-06-02 17:00 | 2019-06-04 10:20 | Obstruction in weir-confirmed |  | AM
SDG-080 | 2019-06-10 17:00 | 2019-06-12 02:30 | Obstruction in weir-unconfirmed |  | AM
SDG-080 | 2019-06-21 01:55 | 2019-06-21 11:55 | Storm |  | AM
SDG-080 | 2019-07-09 03:45 | 2019-07-12 08:45 | debris |  | RF
SDG-080 | 2019-07-29 22:45 | 2019-07-30 10:45 | debris |  | AM
SDG-080 | 2019-08-01 22:45 | 2019-08-08 10:45 | debris |  | AM
SDG-080 | 2019-09-03 15:00 | 2019-09-05 10:25 | debris |  | AM
SDG-084 | 2019-05-02 22:45 | 2019-05-02 23:15 | BadData | Bad data? | LD
SDG-084 | 2019-05-06 08:25 | 2019-05-06 12:00 | Storm | 15 min data | LD
SDG-084 | 2019-05-06 20:00 | 2019-05-07 12:00 | Storm | 15 min data | LD
SDG-084 | 2019-05-08 20:00 | 2019-05-09 12:00 | Storm | 15 min data; rain in Encinitas gauge but not RB | LD
SDG-084 | 2019-05-10 23:00 | 2019-05-12 | Storm | 15 min data | LD
SDG-084 | 2019-05-16 09:00 | 2019-05-16 15:00 | Storm |  | LD
SDG-084 | 2019-05-19 09:00 | 2019-05-20 21:00 | Storm |  | AM
SDG-084 | 2019-05-20 21:00 | 2019-06-18 00:40 | Bad sensor | Hard to say when this issue started but the Ultrasonic shows almost no change and this sensor was registering several inches of level | LD
SDG-084 | 2019-05-21 13:00 | 2019-05-21 22:00 | Storm |  | LD
SDG-084 | 2019-05-23 09:00 | 2019-05-23 13:00 | Storm |  | LD
SDG-084 | 2019-05-26 07:00 | 2019-05-26 13:00 | Storm |  | LD
SDG-084 | 2019-05-26 19:00 | 2019-05-27 10:00 | Storm |  | JN
SDG-084 | 2019-07-01 16:45 | 2019-07-02 14:00 | debris- confirmed by game cam |  | JN
SDG-084 | 2019-07-08 19:15 | 2019-07-11 18:30 | debris- confirmed by game cam |  | JN
SDG-084 | 2019-07-16 15:40 | 2019-07-22 13:30 | battery failure |  | RF
SDG-084 | 2019-07-16 15:45 | 2019-07-22 13:15 | Data gap. Possible battery failure. |  | JN
SDG-084 | 2019-07-24 20:24 | 2019-07-26 16:05 | debris- confirmed by game cam |  | JN
SDG-084 | 2019-07-28 20:15 | 2019-07-30 06:20 | debris |  | JN
SDG-084 | 2019-07-30 06:20 | 2019-08-01 | bad probe- replaced |  | AM
SDG-084 | 2019-08-19 05:00 | 2019-08-23 14:45 | debris- confirmed by game cam |  | AM
SDG-084 | 2019-08-26 18:00 | 2019-08-29 13:15 | debris- confirmed by game cam |  | AM
SDG-084 | 2019-09-05 20:45 | 2019-09-08 05:45 | debris- confirmed by game cam |  | AM
SDG-084 | 2019-09-08 20:45 | 2019-09-15 23:55 | debris- confirmed by game cam |  | AM
SDG-084J | 2019-05-01 | 2019-05-06 14:05 | Bad data |  | AM
SDG-084J | 2019-05-16 09:00 | 2019-05-23 13:00 | Storm | No noticeable storm peaks on hydrographs | AM
SDG-084J | 2019-06-14 17:35 | 2019-06-15 05:05 | Data dropout |  | AM
SDG-084J | 2019-06-18 13:10 | 2019-06-18 13:25 | Replacing probe |  | AM
SDG-084J | 2019-06-29 00:15 | 2019-06-29 04:10 | Data dropout |  | JN
SDG-084J | 2019-07-12 14:15 | 2019-07-13 19:00 | erroneous data | determined erroneous by virtue of no change in conductivity data | JN
SDG-084J | 2019-07-31 11:45 | 2019-07-31 21:10 | cleaned out sediment causing ponded water level drop |  | LD
SDG-085 | 2019-05-06 08:25 | 2019-05-06 12:00 | Storm |  | LD
SDG-085 | 2019-05-07 03:00 | 2019-05-07 11:00 | Storm |  | LD
SDG-085 | 2019-05-11 03:00 | 2019-05-11 09:25 | Storm |  | LD
SDG-085 | 2019-05-11 16:25 | 2019-05-12 09:00 | Storm |  | LD
SDG-085 | 2019-05-16 09:00 | 2019-05-16 15:00 | Storm |  | LD
SDG-085 | 2019-05-19 09:45 | 2019-05-19 17:00 | Storm |  | LD
SDG-085 | 2019-05-19 22:00 | 2019-05-20 19:00 | Storm |  | LD
SDG-085 | 2019-05-26 07:00 | 2019-05-26 14:00 | Storm |  | LD
SDG-085 | 2019-05-26 07:00 | 2019-05-26 14:00 | Storm |  | LD
SDG-085 | 2019-05-26 18:00 | 2019-05-27 06:00 | Storm |  | AM
SDG-085 | 2019-06-04 12:15 | 2019-06-07 17:15 | Obstruction in weir-confirmed |  | JN
SDG-085 | 2019-07-01 21:00 | 2019-07-02 13:00 | debris- confirmed by game cam |  | JN
SDG-085 | 2019-07-03 05:30 | 2019-07-05 22:00 | debris- confirmed by game cam |  | JN
SDG-085 | 2019-07-07 08:05 | 2019-07-07 10:00 | debris- confirmed by game cam |  | JN
SDG-085 | 2019-07-13 21:00 | 2019-07-14 13:00 | debris- confirmed by game cam |  | JN
SDG-085 | 2019-07-18 20:00 | 2019-07-25 21:45 | debris- confirmed by game cam |  | LD
SDG-085 | 2019-09-03 | 2019-09-04 07:40 | sensor error? Possibly buried in sediment and clogged the probe
SDG-085G | 2019-05-06 08:25 | 2019-05-06 12:00 | Storm | 15 min data | LD
SDG-085G | 2019-05-06 23:00 | 2019-05-07 12:00 | Storm | 15 min data | LD
SDG-085G | 2019-05-11 17:00 | 2019-05-11 20:15 | Storm | 15 min data | AM
SDG-085G | 2019-05-16 09:00 | 2019-05-16 15:00 | Storm |  | AM
SDG-085G | 2019-05-19 09:45 | 2019-05-19 17:00 | Storm |  | AM
SDG-085G | 2019-05-19 22:00 | 2019-05-20 19:00 | Storm |  | AM
SDG-085G | 2019-05-26 07:00 | 2019-05-26 14:00 | Storm |  | AM
SDG-085G | 2019-05-26 18:00 | 2019-05-27 06:00 | Storm |  | LD
SDG-085M | 2019-05-06 00:45 | 2019-05-07 15:25 | Storm | storm flows seem small and suspect | AM
SDG-085M | 2019-05-06 23:00 | 2019-05-07 12:00 | Storm |  | AM
SDG-085M | 2019-05-16 09:00 | 2019-05-16 15:00 | Data Gap |  | AM
SDG-085M | 2019-05-19 09:45 | 2019-05-21 16:00 | Storm |  | RF
SDR-036 | 2019-05-06 09:45 | 2019-05-06 19:00 | Storm |  | LD
SDR-036 | 2019-05-07 04:20 | 2019-05-07 14:00 | Storm |  | LD
SDR-036 | 2019-05-08 04:50 | 2019-05-08 07:00 | Storm |  | LD
SDR-036 | 2019-05-08 20:30 | 2019-05-09 02:00 | Storm |  | LD
SDR-036 | 2019-05-09 20:45 | 2019-05-10 03:00 | Storm |  | LD
SDR-036 | 2019-05-11 08:00 | 2019-05-11 19:00 | Storm |  | AM
SDR-036 | 2019-05-16 09:50 | 2019-05-16 19:00 | Storm |  | AM
SDR-036 | 2019-05-19 10:20 | 2019-05-20 18:00 | Storm |  | AM
SDR-036 | 2019-05-22 01:00 | 2019-05-23 14:00 | Storm |  | AM
SDR-036 | 2019-05-26 09:00 | 2019-05-27 16:00 | Storm |  | AM
SDR-036 | 2019-06-04 05:00 | 2019-06-04 06:00 | Storm |  | AM
SDR-036 | 2019-06-16 19:00 | 2019-06-17 13:00 | Storm |  | LD
SDR-036 | 2019-09-02 16:45 | 2019-09-05 | Storm | might have been multiple events but flow continued between | AM
SDR-041 | 2019-05-06 09:35 | 2019-05-06 14:30 | Storm |  | AM
SDR-041 | 2019-05-07 03:30 | 2019-05-18 | Storm/Probe damaged by storm |  | AM
SDR-041 | 2019-05-19 10:10 | 2019-07-16 12:00 | Storm/Probe damaged by storm |  | JN
SDR-041 | 2019-07-18 10:40 | 2019-07-18 13:00 | debris- confirmed by game cam |  | JN
SDR-041 | 2019-07-20 18:00 | 2019-07-21 02:00 | debris- confirmed by game cam |  | JN
SDR-041 | 2019-07-23 01:15 | 2019-07-23 03:45 | debris- confirmed by game cam |  | JN
SDR-041 | 2019-07-23 12:05 | 2019-07-24 14:00 | debris- confirmed by game cam |  | JN
SDR-041 | 2019-07-25 15:00 | 2019-07-25 18:55 | debris- confirmed by game cam |  | JN
SDR-041 | 2019-07-29 15:35 | 2019-07-30 00:15 | debris- confirmed by game cam |  | AM
SDR-041 | 2019-08-13 | 2019-08-14 12:00 | debris- confirmed by game cam |  | AM
SDR-041 | 2019-08-20 02:25 | 2019-08-27 02:25 | debris- confirmed by game cam |  | AM
SDR-041 | 2019-08-31 19:00 | 2019-09-01 18:40 | debris- confirmed by game cam |  | AM
SDR-041 | 2019-09-02 19:00 | 2019-09-03 19:00 | debris- confirmed by game cam |  | AM
SDR-041 | 2019-09-04 14:45 | 2019-09-05 | Storm |  | LD
SDR-041 | 2019-09-05 07:45 | 2019-09-05 12:00 | debris- confirmed by game cam |  | AM
SDR-041 | 2019-09-05 17:00 | 2019-09-06 19:40 | debris- confirmed by game cam |  | AM
SDR-064 | 2019-05-06 07:00 | 2019-05-06 12:00 | Storm |  | LD
SDR-064 | 2019-05-07 03:00 | 2019-05-07 10:00 | Storm |  | LD
SDR-064 | 2019-05-10 03:00 | 2019-05-10 09:00 | Storm |  | LD
SDR-064 | 2019-05-11 06:00 | 2019-05-11 17:15 | Storm |  | AM
SDR-064 | 2019-05-16 10:00 | 2019-05-16 15:00 | Storm |  | AM
SDR-064 | 2019-05-19 10:10 | 2019-05-19 16:00 | Storm |  | AM
SDR-064 | 2019-05-19 22:30 | 2019-05-20 18:00 | Storm |  | AM
SDR-064 | 2019-05-22 08:00 | 2019-05-22 22:00 | Storm |  | AM
SDR-064 | 2019-05-23 12:30 | 2019-05-23 20:30 | Storm |  | AM
SDR-064 | 2019-05-26 09:00 | 2019-05-27 09:30 | Storm |  | LD
SDR-097 | 2019-05-06 09:30 | 2019-05-06 23:45 | Storm |  | LD
SDR-097 | 2019-05-07 04:00 | 2019-05-08 12:00 | Storm |  | LD
SDR-097 | 2019-05-10 06:30 | 2019-05-10 14:00 | Storm |  | LD
SDR-097 | 2019-05-11 08:00 | 2019-05-12 23:00 | Storm |  | AM
SDR-097 | 2019-05-16 10:00 | 2019-05-17 04:00 | Storm |  | AM
SDR-097 | 2019-05-19 10:00 | 2019-05-21 12:00 | Storm |  | AM
SDR-097 | 2019-05-22 05:20 | 2019-05-23 23:00 | Storm |  | AM
SDR-097 | 2019-05-26 09:00 | 2019-05-28 10:00 | Storm |  | AM
SDR-097 | 2019-07-22 08:00 | 2019-07-22 20:00 | Storm | nearby rain gauges showed some precip | AM
SDR-097 | 2019-09-04 14:00 | 2019-09-04 18:00 | Storm |  | AM
SDR-098 | 2019-05-01 | 2019-05-04 12:00 | Bad sensor |  | LD
SDR-098 | 2019-05-06 09:40 | 2019-05-06 17:00 | Storm |  | LD
SDR-098 | 2019-05-07 04:00 | 2019-05-07 15:00 | Storm |  | LD
SDR-098 | 2019-05-08 20:00 | 2019-05-09 01:00 | Storm |  | LD
SDR-098 | 2019-05-09 21:00 | 2019-05-10 00:30 | Storm |  | LD
SDR-098 | 2019-05-11 08:00 | 2019-05-11 16:00 | Storm |  | AM
SDR-098 | 2019-05-16 10:00 | 2019-05-17 04:00 | Storm |  | AM
SDR-098 | 2019-05-19 10:00 | 2019-05-21 12:00 | Storm |  | AM
SDR-098 | 2019-05-22 05:20 | 2019-05-23 23:00 | Storm |  | AM
SDR-098 | 2019-05-26 09:00 | 2019-05-27 12:00 | Storm |  | AM
SDR-098 | 2019-09-04 14:00 | 2019-09-05 12:00 | Storm | breakway popped open and was repaired | AM
SDR-1024 | 2019-05-06 09:05 | 2019-05-06 13:35 | Storm |  | AM
SDR-1024 | 2019-05-07 03:00 | 2019-05-07 12:00 | Storm |  | AM
SDR-1024 | 2019-05-10 04:20 | 2019-05-10 09:00 | Storm |  | AM
SDR-1024 | 2019-05-11 08:15 | 2019-05-11 19:30 | Storm |  | AM
SDR-1024 | 2019-05-16 08:00 | 2019-05-16 18:50 | Storm |  | AM
SDR-1024 | 2019-05-19 10:15 | 2019-05-20 17:00 | Storm |  | AM
SDR-1024 | 2019-05-22 05:30 | 2019-05-23 15:45 | Storm |  | AM
SDR-1024 | 2019-05-26 20:25 | 2019-05-27 13:45 | Storm |  | AM
SDR-1024 | 2019-06-17 12:45 | 2019-06-18 01:00 | Data gap (batteries) |  | JN
SDR-1024 | 2019-09-04 14:00 | 2019-09-04 18:00 | Storm |  | AM
SDR-1031 | 2019-05-06 09:05 | 2019-05-06 13:35 | Storm |  | AM
SDR-1031 | 2019-05-07 03:00 | 2019-05-07 12:00 | Storm |  | AM
SDR-1031 | 2019-05-08 21:15 | 2019-05-09 05:45 | Storm |  | AM
SDR-1031 | 2019-05-10 04:45 | 2019-05-10 13:10 | Storm |  | AM
SDR-1031 | 2019-05-11 08:15 | 2019-05-11 19:30 | Storm |  | AM
SDR-1031 | 2019-05-16 10:00 | 2019-05-16 18:50 | Storm |  | AM
SDR-1031 | 2019-05-19 10:15 | 2019-05-20 17:00 | Storm |  | AM
SDR-1031 | 2019-05-22 05:30 | 2019-05-23 15:45 | Storm |  | AM
SDR-1031 | 2019-05-26 09:30 | 2019-05-27 13:45 | Storm |  | AM
SDR-1031 | 2019-06-17 03:15 | 2019-06-17 16:15 | Storm |  | AM
SDR-1031 | 2019-09-04 14:00 | 2019-09-04 18:00 | Storm |  | AM
SDR-127 | 2019-05-01 | 2019-05-13 06:30 | Missing data/Bad sensor |  | AM
SDR-127 | 2019-05-16 09:00 | 2019-05-16 21:00 | Storm |  | AM
SDR-127 | 2019-05-19 10:00 | 2019-05-21 02:00 | Storm |  | AM
SDR-127 | 2019-05-21 22:00 | 2019-05-23 15:00 | Storm |  | AM
SDR-127 | 2019-05-26 07:00 | 2019-05-27 12:00 | Storm
SDR-127 | 2019-06-20 16:30 | 2019-06-20 22:32 | Leaf Obstruction at crest of weir
SDR-127 | 2019-06-22 03:32 | 2019-06-22 13:32 | Leaf Obstruction at crest of weir
SDR-127 | 2019-06-23 00:32 | 2019-06-23 08:32 | Leaf Obstruction at crest of weir
SDR-127 | 2019-06-23 15:32 | 2019-06-24 02:38 | Leaf Obstruction at crest of weir
SDR-127 | 2019-06-28 06:39 | 2019-06-28 22:39 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-05-27 12:00 | 2019-06-17 14:05 | Bad sensor |  | AM
SDR-127 | 2019-07-01 20:43 | 2019-07-07 00:55 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-07-07 23:55 | 2019-07-08 22:55 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-07-09 06:55 | 2019-07-17 11:20 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-07-31 17:30 | 2019-08-01 09:30 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-08-01 16:20 | 2019-08-03 01:20 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-08-08 15:20 | 2019-08-08 21:20 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-08-12 08:20 | 2019-08-14 13:00 | Leaf bomb! |  | AM
SDR-127 | 2019-08-17 20:20 | 2019-08-21 00:30 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-08-26 11:20 | 2019-08-29 16:30 | Leaf Obstruction at crest of weir |  | LD
SDR-127 | 2019-09-02 01:00 | 2019-09-03 01:00 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-09-03 07:30 | 2019-09-04 07:00 | Leaf Obstruction at crest of weir |  | AM
SDR-127 | 2019-09-04 14:45 | 2019-09-05 07:00 | Storm |  | AM
SDR-127 | 2019-09-07 23:30 | 2019-09-08 16:30 | Leaf Obstruction at crest of weir |  | AM
SDR-127B | 2019-05-06 05:15 | 2019-05-06 19:00 | Storm |  | LD
SDR-127B | 2019-05-07 03:15 | 2019-05-07 19:00 | Storm |  | LD
SDR-127B | 2019-05-08 06:30 | 2019-05-08 10:00 | Storm |  | LD
SDR-127B | 2019-05-08 19:45 | 2019-05-09 09:00 | Storm |  | LD
SDR-127B | 2019-05-09 20:30 | 2019-05-10 02:00 | Storm |  | LD
SDR-127B | 2019-05-10 05:45 | 2019-05-10 08:00 | Storm |  | LD
SDR-127B | 2019-05-11 08:00 | 2019-05-11 21:20 | Storm |  | AM
SDR-127B | 2019-05-16 09:00 | 2019-05-16 21:00 | Storm |  | AM
SDR-127B | 2019-05-19 10:00 | 2019-05-21 02:00 | Storm |  | AM
SDR-127B | 2019-05-21 22:00 | 2019-05-23 15:00 | Storm |  | AM
SDR-127B | 2019-05-26 07:00 | 2019-05-27 12:00 | Storm |  | AM
SDR-127B | 2019-06-03 21:00 | 2019-06-04 21:00 | Storm |  | AM
SDR-127B | 2019-09-03 18:30 | 2019-09-04 23:00 | Storm |  | AM
SDR-203A | 2019-05-06 09:00 | 2019-05-06 12:20 | Storm |  | AM
SDR-203A | 2019-05-07 03:40 | 2019-05-07 14:45 | Storm |  | AM
SDR-203A | 2019-05-08 19:35 | 2019-05-09 10:00 | Storm |  | AM
SDR-203A | 2019-05-09 20:25 | 2019-05-09 23:30 | Storm |  | AM
SDR-203A | 2019-05-11 04:30 | 2019-05-12 01:50 | Storm |  | AM
SDR-203A | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm |  | AM
SDR-203A | 2019-05-19 10:10 | 2019-06-04 12:00 | Storm |  | AM
SDR-203A | 2019-06-10 07:15 | 2019-06-11 00:15 | Obstruction in weir-unconfirmed |  | AM
SDR-203A | 2019-06-14 17:25 | 2019-06-15 05:15 | Data dropout |  | AM
SDR-203A | 2019-07-03 17:00 | 2019-07-15 12:15 | Weir popped open |  | AM
SDR-203A | 2019-09-04 14:20 | 2019-09-05 19:00 | Storm | breakaway repaired at end of storm clip | AM
SDR-204A | 2019-05-06 09:00 | 2019-05-06 12:20 | Storm |  | AM
SDR-204A | 2019-05-07 03:40 | 2019-05-07 14:45 | Storm |  | AM
SDR-204A | 2019-05-08 19:35 | 2019-05-09 10:00 | Storm |  | AM
SDR-204A | 2019-05-09 20:25 | 2019-05-09 23:30 | Storm |  | AM
SDR-204A | 2019-05-11 04:30 | 2019-05-12 01:50 | Storm |  | AM
SDR-204A | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm |  | AM
SDR-204A | 2019-05-19 10:10 | 2019-06-18 09:45 | Storm/Bad probe |  | AM
SDR-204A | 2019-09-04 14:20 | 2019-09-05 14:00 | Storm | breakaway repaired at end of storm clip | AM
SDR-207 | 2019-05-06 09:00 | 2019-05-06 18:00 | Storm |  | AM
SDR-207 | 2019-05-07 04:00 | 2019-05-07 14:45 | Storm |  | AM
SDR-207 | 2019-05-08 20:05 | 2019-05-09 10:00 | Storm |  | AM
SDR-207 | 2019-05-11 04:30 | 2019-05-12 01:50 | Storm |  | AM
SDR-207 | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm |  | AM
SDR-207 | 2019-05-19 10:10 | 2019-05-20 22:10 | Storm |  | AM
SDR-207 | 2019-05-22 04:30 | 2019-05-23 17:10 | Storm |  | AM
SDR-207 | 2019-05-26 09:00 | 2019-05-27 17:45 | Storm |  | AM
SDR-207 | 2019-06-17 | 2019-06-19 | Storm |  | AM
SDR-207 | 2019-07-31 11:20 | 2019-08-05 13:40 | battery failure
SDR-207 | 2019-09-04 14:20 | 2019-09-05 14:00 | Storm |  | AM
SDR-223 | 2019-05-07 04:00 | 2019-05-11 14:55 | Storm |  | AM
SDR-223 | 2019-05-09 21:30 | 2019-05-10 12:45 | Storm |  | AM
SDR-223 | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm |  | AM
SDR-223 | 2019-05-19 08:10 | 2019-05-20 13:15 | Storm |  | AM
SDR-223 | 2019-05-22 01:15 | 2019-05-23 13:55 | Storm |  | AM
SDR-223 | 2019-05-26 21:20 | 2019-05-28 16:00 | Storm |  | AM
SDR-223 | 2019-08-05 22:00 | 2019-08-15 12:55 | Probe malfunction |  | AM
SDR-223 | 2019-09-04 14:20 | 2019-09-05 14:00 | Storm |  | AM
SDR-228 | 2019-05-06 09:00 | 2019-05-06 14:10 | Storm |  | AM
SDR-228 | 2019-05-07 04:00 | 2019-05-07 12:15 | Storm |  | AM
SDR-228 | 2019-05-09 21:30 | 2019-05-10 12:45 | Storm |  | AM
SDR-228 | 2019-05-11 07:45 | 2019-05-11 14:55 | Storm |  | AM
SDR-228 | 2019-05-16 09:50 | 2019-05-16 17:50 | Storm |  | AM
SDR-228 | 2019-05-19 10:10 | 2019-05-20 13:15 | Storm |  | AM
SDR-228 | 2019-05-22 07:45 | 2019-05-23 13:55 | Storm |  | AM
SDR-228 | 2019-05-26 09:00 | 2019-05-28 16:00 | Storm |  | AM
SDR-228 | 2019-07-07 12:35 | 2019-07-15 12:45 | Vandalism - probe destroyed |  | AM
SDR-228 | 2019-09-04 14:20 | 2019-09-05 14:00 | Storm |  | AM
SDR-568 | 2019-05-07 02:00 | 2019-05-11 20:30 | Storm |  | AM
SDR-568 | 2019-05-16 08:00 | 2019-05-16 17:50 | Storm |  | AM
SDR-568 | 2019-05-19 10:10 | 2019-05-21 02:15 | Storm |  | AM
SDR-568 | 2019-05-22 01:25 | 2019-05-23 20:50 | Storm |  | AM
SDR-568 | 2019-05-26 09:00 | 2019-05-27 19:35 | Storm |  | AM
SDR-568 | 2019-06-18 00:20 | 2019-06-18 12:10 | Storm |  | AM
SDR-723 | 2019-05-06 09:00 | 2019-05-06 20:05 | Storm |  | AM
SDR-723 | 2019-05-07 02:00 | 2019-05-07 15:10 | Storm |  | AM
SDR-723 | 2019-05-10 02:30 | 2019-05-10 15:35 | Storm |  | AM
SDR-723 | 2019-05-11 07:45 | 2019-05-11 20:30 | Storm |  | AM
SDR-723 | 2019-05-16 08:00 | 2019-05-16 17:50 | Storm |  | AM
SDR-723 | 2019-05-19 10:10 | 2019-05-21 02:15 | Storm |  | AM
SDR-723 | 2019-05-21 21:15 | 2019-05-23 20:50 | Storm |  | AM
SDR-723 | 2019-05-26 09:00 | 2019-05-27 19:35 | Storm |  | AM
SDR-723 | 2019-09-04 14:20 | 2019-09-05 14:00 | Storm |  | AM
SDR-740 | 2019-05-06 09:00 | 2019-05-06 14:15 | Storm |  | AM
SDR-740 | 2019-05-07 02:00 | 2019-05-07 13:40 | Storm |  | AM
SDR-740 | 2019-05-10 02:30 | 2019-05-10 12:50 | Storm |  | AM
SDR-740 | 2019-05-11 07:45 | 2019-05-11 20:15 | Storm |  | AM
SDR-740 | 2019-05-16 08:00 | 2019-05-16 16:20 | Storm |  | AM
SDR-740 | 2019-05-19 10:10 | 2019-05-20 17:15 | Storm |  | AM
SDR-740 | 2019-05-21 02:10 | 2019-05-21 04:10 | Storm |  | AM
SDR-740 | 2019-05-21 23:00 | 2019-05-23 13:15 | Storm |  | AM
SDR-740 | 2019-05-26 09:00 | 2019-05-27 07:25 | Storm |  | AM
SDR-740 | 2019-09-04 14:20 | 2019-09-05 14:00 | Storm |  | AM
SDR-751 | 2019-05-06 09:00 | 2019-05-06 12:30 | Storm
SDR-751 | 2019-05-07 03:50 | 2019-05-07 10:15 | Storm
SDR-751 | 2019-05-10 06:20 | 2019-05-10 12:50 | Storm
SDR-751 | 2019-05-11 07:45 | 2019-05-11 20:15 | Storm
SDR-751 | 2019-05-16 08:00 | 2019-05-16 16:20 | Storm
SDR-751 | 2019-05-19 10:10 | 2019-05-20 17:15 | Storm
SDR-751 | 2019-05-21 23:00 | 2019-05-23 13:15 | Storm
SDR-751 | 2019-05-26 09:30 | 2019-05-27 07:25 | Storm |  | AM
SDR-751 | 2019-09-04 14:20 | 2019-09-15 23:55 | Storm - then leaking |  | AM
SDR-772 | 2019-05-06 12:00 | 2019-05-07 01:00 | Storm |  | LD
SDR-772 | 2019-05-07 10:15 | 2019-05-08 03:00 | Storm |  | LD
SDR-772 | 2019-05-09 02:45 | 2019-05-09 13:00 | Storm |  | LD
SDR-772 | 2019-05-10 02:00 | 2019-05-10 07:30 | Storm |  | LD
SDR-772 | 2019-05-11 12:00 | 2019-05-12 10:00 | Storm |  | GM
SDR-772 | 2019-06-17 06:00 | 2019-06-17 20:00 | Storm |  | GM
SDR-772 | 2019-07-20 06:00 | 2019-07-31 16:00 | Leaking following high flow
SDR-772 | 2019-09-04 14:20 | 2019-09-11 23:55 | Storm - then leaking
SDR-780 | 2019-05-09 02:45 | 2019-05-09 07:00 | Storm |  | LD
SDR-780 | 2019-05-11 13:00 | 2019-05-12 02:00 | Storm |  | GM
SDR-780 | 2019-06-17 08:00 | 2019-06-17 20:00 | Storm |  | GM
SDR-780 | 2019-06-25 10:00 | 2019-06-25 10:15 | Probe pulled |  | GM
SDR-780 | 2019-06-29 | 2019-06-29 04:30 | data gap |  | GM
SDR-780 | 2019-06-29 05:30 | 2019-06-29 09:30 | data gap |  | LD
SDR-780 | 2019-07-14 18:30 | 2019-07-15 12:20 | Debris | Removed since this raised flow was noticebly higher than surrounding high flows. | LD
SDR-939 | 2019-05-06 14:00 | 2019-05-07 01:00 | Storm |  | LD
SDR-939 | 2019-05-07 10:15 | 2019-05-08 03:00 | Storm |  | LD
SDR-939 | 2019-05-08 23:00 | 2019-05-09 09:00 | Storm |  | LD
SDR-939 | 2019-05-09 20:00 | 2019-05-10 07:30 | Storm |  | LD
SDR-939 | 2019-05-11 13:00 | 2019-05-12 07:00 | Storm |  | AM
SLR-045 | 2019-05-01 | 2019-05-01 20:20 | Missing data/Bad sensor |  | AM
SLR-045 | 2019-05-06 09:00 | 2019-05-06 11:00 | Storm |  | AM
SLR-045 | 2019-05-11 07:00 | 2019-05-11 11:00 | Storm |  | AM
SLR-045 | 2019-05-16 08:00 | 2019-05-16 14:00 | Storm | 15 min data | AM
SLR-045 | 2019-05-19 07:00 | 2019-05-20 14:00 | Storm |  | AM
SLR-045 | 2019-05-22 06:00 | 2019-05-22 13:00 | Storm |  | AM
SLR-045 | 2019-05-26 07:00 | 2019-05-28 | Storm |  | GM
SLR-045 | 2019-06-17 04:00 | 2019-06-17 11:00 | Storm |  | GM
SLR-045 | 2019-06-21 06:30 | 2019-06-21 10:00 | Storm |  | AM
SLR-045 | 2019-07-08 06:55 | 2019-07-08 18:55 | Obstruction in weir-confirmed by gamecam |  | AM
SLR-045 | 2019-08-14 10:15 | 2019-08-15 09:15 | Patching weir-pulled probe out |  | AM
SLR-045 | 2019-08-07 08:40 | 2019-08-08 08:40 | Obstruction in weir-confirmed by gamecam |  | AM
SLR-045A | 2019-05-01 | 2019-05-01 13:45 | Bad data/not installed correctly | 15 min data | AM
SLR-045A | 2019-05-06 09:00 | 2019-05-06 11:00 | Storm |  | AM
SLR-045A | 2019-05-09 21:00 | 2019-05-10 17:00 | Bad data |  | AM
SLR-045A | 2019-05-11 07:00 | 2019-05-11 11:00 | Storm |  | AM
SLR-045A | 2019-05-13 | 2019-05-13 16:45 | Bad data |  | AM
SLR-045A | 2019-05-14 11:30 | 2019-05-15 02:45 | Bad data |  | AM
SLR-045A | 2019-05-16 08:00 | 2019-05-16 14:00 | Storm |  | AM
SLR-045A | 2019-05-19 07:00 | 2019-05-20 14:00 | Storm |  | AM
SLR-045A | 2019-05-22 06:00 | 2019-05-22 13:00 | Storm |  | AM
SLR-045A | 2019-05-26 07:00 | 2019-05-28 | Storm |  | JN
SLR-045A | 2019-07-09 13:15 | 2019-07-15 13:30 | Bad data-doesn't match with game cam | May have been sediment issue | RF
SLR-045A | 2019-07-15 13:30 | 2019-07-15 14:30 | Weird spike in level data |  | JN
SLR-045A | 2019-07-15 13:30 | 2019-07-15 14:30 | Bad data |  | JN
SLR-045A | 2019-07-22 18:50 | 2019-07-23 05:50 | debris- confirmed by game cam |  | GM
SLR-045B | 2019-06-03 | 2019-06-03 03:00 | Storm |  | GM
SLR-045B | 2019-06-17 02:00 | 2019-06-17 11:00 | Storm |  | GM
SLR-045B | 2019-06-21 | 2019-06-25 13:00 | data gap |  | GM
SLR-045B | 2019-06-27 07:00 | 2019-06-27 16:00 | data gap |  | GM
SLR-045B | 2019-06-28 05:30 | 2019-06-28 14:00 | data gap |  | GM
SLR-045B | 2019-06-29 05:15 | 2019-06-29 13:30 | data gap |  | JN
SLR-045B | NA |  |  | 15 min data | AM
SLR-095 | 2019-05-06 09:00 | 2019-05-07 11:00 | Storm |  | AM
SLR-095 | 2019-05-07 03:00 | 2019-05-09 10:00 | Storm/sediment fouling |  | AM
SLR-095 | 2019-05-10 07:00 | 2019-05-10 10:00 | Storm |  | AM
SLR-095 | 2019-05-11 07:40 | 2019-05-11 22:45 | Storm |  | AM
SLR-095 | 2019-05-16 08:00 | 2019-05-16 20:30 | Storm |  | AM
SLR-095 | 2019-05-19 02:00 | 2019-05-20 04:30 | Storm |  | AM
SLR-095 | 2019-05-19 02:00 | 2019-06-17 16:30 | Bad sensor |  | GM
SLR-095 | 2019-06-21 06:30 | 2019-06-21 11:30 | Storm |  | AM
SLR-095 | 2019-07-17 07:15 | 2019-07-19 13:30 | Obstruction in weir-confirmed by game cam |  | AM
SLR-095 | 2019-07-22 20:25 | 2019-07-23 06:25 | Obstruction in weir-confirmed by game cam
SLR-095 | 2019-07-29 21:25 | 2019-07-30 05:25 | Obstruction in weir-confirmed by game cam |  | AM
SWT-019 | 2019-04-20 | 2019-05-08 18:00 | Bad probe |  | AM
SWT-019 | 2019-05-09 23:10 | 2019-05-10 09:00 | Storm |  | AM
SWT-019 | 2019-05-11 09:30 | 2019-05-11 12:25 | Storm |  | AM
SWT-019 | 2019-05-16 10:05 | 2019-05-16 14:30 | Storm |  | AM
SWT-019 | 2019-05-19 10:30 | 2019-05-19 15:20 | Storm |  | AM
SWT-019 | 2019-05-19 21:00 | 2019-05-20 13:40 | Storm |  | AM
SWT-019 | 2019-05-22 05:45 | 2019-05-22 08:30 | Storm |  | AM
SWT-019 | 2019-05-26 21:15 | 2019-05-27 08:15 | Storm |  | AM
SWT-019 | 2019-06-21 05:00 | 2019-06-21 10:00 | Storm |  | AM
SWT-030 | 2019-05-06 08:00 | 2019-05-06 11:30 | Storm |  | AM
SWT-030 | 2019-05-07 04:10 | 2019-05-07 06:55 | Storm |  | AM
SWT-030 | 2019-05-10 01:00 | 2019-05-10 07:45 | Storm |  | AM
SWT-030 | 2019-05-11 06:30 | 2019-05-11 12:50 | Storm |  | AM
SWT-030 | 2019-05-16 09:45 | 2019-05-16 13:35 | Storm |  | AM
SWT-030 | 2019-05-19 10:00 | 2019-05-20 08:50 | Storm |  | AM
SWT-030 | 2019-05-21 22:50 | 2019-05-22 21:00 | Storm |  | AM
SWT-030 | 2019-05-26 22:30 | 2019-05-27 02:40 | Storm |  | RF
SWT-030 | 2019-07-06 | 2019-07-06 04:00 | Data dropout |  | RF
SWT-030 | 2019-07-09 03:55 | 2019-07-09 09:10 | Data dropout |  | RF
SWT-030 | 2019-07-10 00:20 | 2019-07-10 04:20 | Data dropout |  | RF
SWT-030 | 2019-07-11 00:10 | 2019-07-11 04:10 | Data dropout |  | RF
SWT-030 | 2019-07-14 00:10 | 2019-07-14 04:10 | Data dropout |  | RF
SWT-030 | 2019-07-17 | 2019-07-17 04:00 | Data dropout |  | RF
SWT-030 | 2019-07-20 00:20 | 2019-07-20 04:20 | Data dropout |  | RF
SWT-030 | 2019-07-22 05:30 | 2019-07-22 09:20 | Data dropout |  | AM
SWT-055 | 2019-05-06 09:50 | 2019-05-07 14:00 | Storm |  | AM
SWT-055 | 2019-05-10 04:40 | 2019-05-10 10:30 | Storm |  | AM
SWT-055 | 2019-05-10 06:15 | 2019-05-09 21:00 | Storm |  | AM
SWT-055 | 2019-05-11 08:10 | 2019-05-11 21:30 | Storm |  | AM
SWT-055 | 2019-05-16 10:35 | 2019-05-16 19:45 | Storm |  | AM
SWT-055 | 2019-05-19 10:35 | 2019-05-23 17:00 | Storm |  | AM
SWT-055 | 2019-05-25 07:00 | 2019-05-27 06:00 | Storm |  | GM
SWT-055 | 2019-06-17 14:00 | 2019-06-17 20:00 | Storm |  | GM
SWT-055 | 2019-06-21 02:30 | 2019-06-21 19:00 | Storm |  | GM
SWT-055 | 2019-06-30 | 2019-06-30 00:30 | Data gap |  | RF
SWT-055 | 2019-07-01 09:25 | 2019-07-01 13:25 | Data dropout |  | RF
SWT-055 | 2019-07-03 09:15 | 2019-07-03 13:15 | Data dropout |  | RF
SWT-055 | 2019-07-09 00:15 | 2019-07-09 04:15 | Data dropout |  | RF
SWT-055 | 2019-07-19 00:20 | 2019-07-19 04:20 | Data dropout |  | RF
SWT-055 | 2019-07-20 00:20 | 2019-07-20 04:20 | Data dropout |  | RF
SWT-055 | 2019-07-22 00:15 | 2019-07-22 04:15 | Data dropout |  | RF
SWT-055 | 2019-07-23 | 2019-07-23 00:10 | Data dropout |  | RF
SWT-055 | 2019-07-24 | 2019-07-24 00:10 | Data dropout |  | RF
SWT-055 | 2019-07-24 13:05 | 2019-07-24 17:05 | Data dropout |  | AM
SWT-055A | 2019-05-06 09:00 | 2019-05-06 18:45 | Storm |  | AM
SWT-055A | 2019-05-07 04:00 | 2019-05-07 13:55 | Storm |  | AM
SWT-055A | 2019-05-10 04:40 | 2019-05-10 10:30 | Storm |  | AM
SWT-055A | 2019-05-10 06:15 | 2019-05-09 21:00 | Storm |  | AM
SWT-055A | 2019-05-11 08:10 | 2019-05-11 21:30 | Storm |  | AM
SWT-055A | 2019-05-16 09:20 | 2019-05-16 19:45 | Storm |  | AM
SWT-055A | 2019-05-19 08:25 | 2019-05-23 17:00 | Storm |  | AM
SWT-055A | 2019-05-26 21:25 | 2019-05-27 06:00 | Storm |  | AM
SWT-055A | 2019-05-31 05:00 | 2019-05-31 16:50 | Bad data |  | GM
SWT-055A | 2019-06-17 14:00 | 2019-06-17 19:00 | Storm |  | GM
SWT-055A | 2019-06-21 02:30 | 2019-06-21 19:00 | Storm

## Data Deliverable Notes
Site | Notes | Completed by
CAR-070 | Data gap 6/13-17 due to battery failure. High flow 8/7 was likely not stormflow, since there was no rain observed by gauges or cameras, but there was a drop in conductivity. This flow may have been a permitted discharge? Offset was adjusted for final deliverable | AM
CAR-072 | No notes | AM
CAR-072B | No notes. Data from July-September adjusted for final deliverable | AM
CAR-072O | No notes. No baseflow, just regularly occurring overnight peak flows | AM
SDG-072 | Daily pattern of flows except for Monday. Weir was patched Aug 30. Potentially leaking in August. Slightly higher flows following weir repair. | AM
SDG-080 | High baseflow and regular daily high flows. | AM
SDG-084 | new probe installed 8/5. Lots of foam in pictures indicating possible wash water source but flows are usually at night. High TDS during low flows (possibly groundwater) drops during higher flows (tap/reclaimed water influence). Some periods of very foamy water | AM
SDG-084J | Very odd flow pattern after 8/20. Seems like a seasonal trend downward. One weird flow spike was deemed erroneous since there was no change in temp or conductivity but the one flow spike was deemed legitimate since there was an associated blast of sediment and change in conductivity | AM
SDG-085 | None. Daily high flows | AM
SDG-085G | No notes | AM
SDG-085M | No Notes. Air temp unusually high, typically above 85-95 | AM
SDR-036 | No baseflow, just a few intermittent flows usually around 5am on weekdays | AM
SDR-041 | Large sustained flow 8/15 for about 8 hours, with increased TDS. Seems like maybe some sensor drift in September. Not sure if its worth adjusting now though. Missing data in September due to probe cord being disconnected by large flow 9/8. Probe was damaged by May storms and not adequately fixed until July | AM
SDR-064 | Site demobed in July, July deliverable was the final | AM
SDR-097 | two overtopping flows, one was confirmed in field. Mostly dry | AM
SDR-098 | Regular pattern of early morning higher flows. Offset was adjusted sligthly for the August data | AM
SDR-1024 | Regular pattern of flows Fri-Tuesday 3-6 am. Offset adjusted for final deliverable | AM
SDR-1031 | Regular pattern of flows in June/July then kind of wonky and lots of ponding/dry in August/September | AM
SDR-127 | Lots of leaf debris made monitoring challenging. Very irregular flows, doesn't seem to follow any pattern. Offset was adjusted for new probe in August/September | AM
SDR-127B | Several extremely high flows are present in data but not always observed at the downstream SDR-127. There are a number of overtopping flows that persist for several hours | AM
SDR-203A | Several very high overtopping flows. Breakaways popped open a few times leading to data gaps.Offset adjusted a little bit from May. Had to clean up some of the calibration points | AM
SDR-204A | Conductivity seems way too high. Several very high overtopping flows. Breakaways popped open a few times leading to data gaps.Offset adjusted a little bit from May. SDR-203A and -204A both showed very high peaks at roughly the same time on 7/16, 9/12 and 13. Seems like possible stormflow or other non-residential source? Not sure what the drainage areas are like. Bad probe from 5/19 to 6/18. Probe replaced 6/18. | AM
SDR-207 | Offset adjusted from May. Battery failure 7/31-8/5. High flows from SDR-203A and 204A are evident on 7/16, 9/12, 9/13, but peak flow rate is higher than both of those combined. Were there other outfalls experiencing these flows? Undetected rainfall? | AM
SDR-223 | Some high flows in July but otherwise mostly low but regular peaked flows | AM
SDR-228 | High flow 7/19 but otherwise very low flows. Was vandalized and probe replaced 7/15 | AM
SDR-568 | waiting on end of August and September data
SDR-723 | A period of flow in end of June early July but otherwise mostly not flowing | AM
SDR-740 | Very regular nightly flows until 7/8 and then less regular but still frequent peak flows | AM
SDR-751 | Constant but variable flows, appears weir was leaking after the 9/4 storm | AM
SDR-772 | Very high flow on 7/16 but otherwise mostly low and peaky flow | AM
SDR-780
SDR-939
SLR-045 | Weird red color 7/30
SLR-045A
SLR-045B
SLR-095 | High flow 8/30 confirmed by game cam
SWT-019
SWT-030
SWT-055
SWT-055A

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only