## Sheet1
Site | Notes
CAR-070 | None
CAR-072 | None
CAR-072B | None
CAR-072O | None
SDG-072 | None
SDG-080 | Lots of short data dropouts in July
SDG-084 | Battery failure 7/16-7/22
SDG-084J | High flow event 7/13. Seems like some kind of planned discharge
SDG-085 | Trending up after 7/18, possible obstruction? Lots of short data dropouts in July
SDG-085G | None
SDG-085M | Lots of short data dropouts in July
SDR-036 | High flow event 7/1. Looks like it's going dry
SDR-041 | Sensor failure, was replaced 7/16
SDR-064 | Demobed 7/12
SDR-097 | Another high flow event 7/22. Smaller but longer duration flow event 7/10
SDR-098 | None
SDR-1024 | Clear weekday flows pattern, then no flow on weekends. Data stops at 7/19? Where's the rest of the data?
SDR-1031 | Clear weekday flows pattern, then no flow on weekends.
SDR-127 | New probe installed. High flow event 7/16
SDR-127B | Several very large flows in June but no reason to remove them. Any other data to discount/corroborate these?
SDR-203A | High flow event 7/16
SDR-204A | High flow event 7/16, possible stormflow? Also high flow event 7/22 (same as SDR-097?)
SDR-207 | Very high flow event 7/16
SDR-223 | High flow events 7/3 and 7/11
SDR-228 | High flow event 7/19. Mostly no flow now?
SDR-568 | None
SDR-723 | None. Looks like going dry
SDR-740 | None
SDR-751 | High flow event 7/18
SDR-772 | High flow event 7/16 followed by series of higher flows
SDR-780 | Early May flow should have been clipped out
SDR-939 | None
SLR-045 | storm clips during 6/17 and 6/21 not needed
SLR-045A | level spike on 7/15 same day as manual download
SLR-045B | None
SLR-095 | data drop out 7/2, 7/11, 7/13, 7/14, 7/15, 7/17, 7/20
SWT-019 | None
SWT-030 | data drop outs 6/2, 7/6, 7/9, 7/10, 7/11, 7/14, 7/17, 7/20, 7/22
SWT-055 | data drop outs 7/1, 7/3, 7/9, 7/19, 7/20, 7/22
SWT-055A | None

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only