## Form Responses 1
Timestamp | SITE ID | Date | Time | Flow Condition | NOTES | Site Photo or Video? | 1. BEFORE: Height above (or below) v-notch (cm) | 2. AFTER: Height above (or below) v-notch (cm) | 1. Flow Measurement, Time in Seconds | 1. Flow Measurement, Volume in mL | 2. Flow Measurement, Time in Seconds | 2. Flow Measurement, Volume in mL | 3. Flow Measurement, Time in Seconds | 3. Flow Measurement, Volume in mL
2019-05-06 18:11 | CAR-070 | 2019-05-06 | 18:08 | Flowing | Great waterfowl presence
2019-05-09 09:51 | CAR-070 | 2019-05-08 | 16:45 | Flowing | Swans / backyard / west of bridge | https://drive.google.com/open?id=1ptrbDyZ5AyrnodpvaL0jP-jbZbI4Tdyj | 2.5 |  | 7.6 | 1260 | 9.8 | 1600 | 13.5 | 2170
2019-05-09 21:44 | CAR-070 | 2019-05-09 | 13:45 | Flowing | Swans / backyards |  | 2.75 |  | 5.1 | 980 | 3.8 | 720 | 4 | 790
2019-05-10 12:53 | CAR-070 | 2019-05-10 | 12:50 | Flowing | No issues | https://drive.google.com/open?id=16Zae9Fug8yRGCiF9ROMq9RlvRIm8q-Sm | 2.75 |  | 7.02 | 1510 | 4.49 | 850 | 4.88 | 940
2019-05-15 14:27 | CAR-070 | 2019-05-15 | 14:22 | Flowing | No issues | https://drive.google.com/open?id=1bfFbBVbE1PKJjMifGI0B5RQyOZ3k8MX- | 2.2 |  | 8.53 | 1530 | 10.25 | 1740 | 13.12 | 2190
| CAR-070T1 | 2019-05-06 | 18:08 | Flowing | Great waterfowl presence
| CAR-070T1 | 2019-05-08 | 16:45 | Flowing | Swans / backyard / west of bridge | https://drive.google.com/open?id=1ptrbDyZ5AyrnodpvaL0jP-jbZbI4Tdyj | 2.5 |  | 7.6 | 1260 | 9.8 | 1600 | 13.5 | 2170
| CAR-070T1 | 2019-05-09 | 13:45 | Flowing | Swans / backyards |  | 2.75 |  | 5.1 | 980 | 3.8 | 720 | 4 | 790
| CAR-070T1 | 2019-05-10 | 12:50 | Flowing | No issues | https://drive.google.com/open?id=16Zae9Fug8yRGCiF9ROMq9RlvRIm8q-Sm | 2.75 |  | 7.02 | 1510 | 4.49 | 850 | 4.88 | 940
| CAR-070T1 | 2019-05-15 | 14:22 | Flowing | No issues | https://drive.google.com/open?id=1bfFbBVbE1PKJjMifGI0B5RQyOZ3k8MX- | 2.2 |  | 8.53 | 1530 | 10.25 | 1740 | 13.12 | 2190
| CAR-070T2 | 2019-05-06 | 18:08 | Flowing | Great waterfowl presence
| CAR-070T2 | 2019-05-08 | 16:45 | Flowing | Swans / backyard / west of bridge | https://drive.google.com/open?id=1ptrbDyZ5AyrnodpvaL0jP-jbZbI4Tdyj | 2.5 |  | 7.6 | 1260 | 9.8 | 1600 | 13.5 | 2170
| CAR-070T2 | 2019-05-09 | 13:45 | Flowing | Swans / backyards |  | 2.75 |  | 5.1 | 980 | 3.8 | 720 | 4 | 790
| CAR-070T2 | 2019-05-10 | 12:50 | Flowing | No issues | https://drive.google.com/open?id=16Zae9Fug8yRGCiF9ROMq9RlvRIm8q-Sm | 2.75 |  | 7.02 | 1510 | 4.49 | 850 | 4.88 | 940
| CAR-070T2 | 2019-05-15 | 14:22 | Flowing | No issues | https://drive.google.com/open?id=1bfFbBVbE1PKJjMifGI0B5RQyOZ3k8MX- | 2.2 |  | 8.53 | 1530 | 10.25 | 1740 | 13.12 | 2190
| CAR-070T3 | 2019-05-06 | 18:08 | Flowing | Great waterfowl presence
| CAR-070T3 | 2019-05-08 | 16:45 | Flowing | Swans / backyard / west of bridge | https://drive.google.com/open?id=1ptrbDyZ5AyrnodpvaL0jP-jbZbI4Tdyj | 2.5 |  | 7.6 | 1260 | 9.8 | 1600 | 13.5 | 2170
| CAR-070T3 | 2019-05-09 | 13:45 | Flowing | Swans / backyards |  | 2.75 |  | 5.1 | 980 | 3.8 | 720 | 4 | 790
| CAR-070T3 | 2019-05-10 | 12:50 | Flowing | No issues | https://drive.google.com/open?id=16Zae9Fug8yRGCiF9ROMq9RlvRIm8q-Sm | 2.75 |  | 7.02 | 1510 | 4.49 | 850 | 4.88 | 940
| CAR-070T3 | 2019-05-15 | 14:22 | Flowing | No issues | https://drive.google.com/open?id=1bfFbBVbE1PKJjMifGI0B5RQyOZ3k8MX- | 2.2 |  | 8.53 | 1530 | 10.25 | 1740 | 13.12 | 2190
| CAR-070T4 | 2019-05-06 | 18:08 | Flowing | Great waterfowl presence
| CAR-070T4 | 2019-05-08 | 16:45 | Flowing | Swans / backyard / west of bridge | https://drive.google.com/open?id=1ptrbDyZ5AyrnodpvaL0jP-jbZbI4Tdyj | 2.5 |  | 7.6 | 1260 | 9.8 | 1600 | 13.5 | 2170
| CAR-070T4 | 2019-05-09 | 13:45 | Flowing | Swans / backyards |  | 2.75 |  | 5.1 | 980 | 3.8 | 720 | 4 | 790
| CAR-070T4 | 2019-05-10 | 12:50 | Flowing | No issues | https://drive.google.com/open?id=16Zae9Fug8yRGCiF9ROMq9RlvRIm8q-Sm | 2.75 |  | 7.02 | 1510 | 4.49 | 850 | 4.88 | 940
| CAR-070T4 | 2019-05-15 | 14:22 | Flowing | No issues | https://drive.google.com/open?id=1bfFbBVbE1PKJjMifGI0B5RQyOZ3k8MX- | 2.2 |  | 8.53 | 1530 | 10.25 | 1740 | 13.12 | 2190
| CAR-070T5 | 2019-05-06 | 18:08 | Flowing | Great waterfowl presence
| CAR-070T5 | 2019-05-08 | 16:45 | Flowing | Swans / backyard / west of bridge | https://drive.google.com/open?id=1ptrbDyZ5AyrnodpvaL0jP-jbZbI4Tdyj | 2.5 |  | 7.6 | 1260 | 9.8 | 1600 | 13.5 | 2170
| CAR-070T5 | 2019-05-09 | 13:45 | Flowing | Swans / backyards |  | 2.75 |  | 5.1 | 980 | 3.8 | 720 | 4 | 790
| CAR-070T5 | 2019-05-10 | 12:50 | Flowing | No issues | https://drive.google.com/open?id=16Zae9Fug8yRGCiF9ROMq9RlvRIm8q-Sm | 2.75 |  | 7.02 | 1510 | 4.49 | 850 | 4.88 | 940
| CAR-070T5 | 2019-05-15 | 14:22 | Flowing | No issues | https://drive.google.com/open?id=1bfFbBVbE1PKJjMifGI0B5RQyOZ3k8MX- | 2.2 |  | 8.53 | 1530 | 10.25 | 1740 | 13.12 | 2190
| CAR-070T6 | 2019-05-06 | 18:08 | Flowing | Great waterfowl presence
| CAR-070T6 | 2019-05-08 | 16:45 | Flowing | Swans / backyard / west of bridge | https://drive.google.com/open?id=1ptrbDyZ5AyrnodpvaL0jP-jbZbI4Tdyj | 2.5 |  | 7.6 | 1260 | 9.8 | 1600 | 13.5 | 2170
| CAR-070T6 | 2019-05-09 | 13:45 | Flowing | Swans / backyards |  | 2.75 |  | 5.1 | 980 | 3.8 | 720 | 4 | 790
| CAR-070T6 | 2019-05-10 | 12:50 | Flowing | No issues | https://drive.google.com/open?id=16Zae9Fug8yRGCiF9ROMq9RlvRIm8q-Sm | 2.75 |  | 7.02 | 1510 | 4.49 | 850 | 4.88 | 940
| CAR-070T6 | 2019-05-15 | 14:22 | Flowing | No issues | https://drive.google.com/open?id=1bfFbBVbE1PKJjMifGI0B5RQyOZ3k8MX- | 2.2 |  | 8.53 | 1530 | 10.25 | 1740 | 13.12 | 2190
2019-05-06 18:37 | CAR-072 | 2019-05-06 | 18:24 | Flowing | H1 = 2in H2 = 6in B1 = 4in both sides B2 = 12in C1 = C2 = 16.5in
2019-05-08 15:58 | CAR-072 | 2019-05-08 | 15:50 | Flowing | No issues | https://drive.google.com/open?id=1960PlhHcuuv2_dmZ_rdfN02XdCViGwHi | 2.3 |  | 5.5 | 620 | 10.2 | 1090 | 12.7 | 1360
2019-05-09 10:27 | CAR-072 | 2019-05-08 | 15:50 | Flowing | Mouth of culvert / edge of lake / lake san Marcos. | https://drive.google.com/open?id=1ZLYKshdhgY7gOpbekPI_aDxq5opJxRCa | 2.3 |  | 5.5 | 620 | 10.2 | 1090 | 12.7 | 1360
2019-05-09 21:38 | CAR-072 | 2019-05-09 | 13:10 | Flowing | End of main culvert. No hobo download today |  | 4 |  | 2.4 | 990 | 1.1 | 620 | 1.6 | 740
2019-05-10 12:19 | CAR-072 | 2019-05-10 | 0:15 | Flowing | No issues | https://drive.google.com/open?id=1kQI7ywKQ6Omxi7qzODXZgTc0sz9RU_MR | 3.3 |  | 4.36 | 1310 | 3.23 | 1040 | 3.52 | 1180
2019-05-15 15:19 | CAR-072 | 2019-05-15 | 15:16 | Flowing | No issues | https://drive.google.com/open?id=196PxFhlTnMEWliLsIu489q1rE0-WKL6y | 2.5 |  | 10.85 | 1810 | 11.1 | 1850 | 12.32 | 2070
2019-05-06 18:38 | CAR-072B | 2019-05-06 | 18:30 | Flowing | H1 = 2in H2 = 6in B1 = 4in both sides B2 = 12in C1 = C2 = 4.75in |  | 1.7
2019-05-09 10:23 | CAR-072B | 2019-05-08 | 16:15 | Flowing | Inside 72 pipe sand buildup. | https://drive.google.com/open?id=16LvXGlP2EzkoUZNslxLZ_VlNCz52KNEJ | 1.5 |  | 9.5 | 370 | 15.5 | 610 | 12 | 460
2019-05-09 21:41 | CAR-072B | 2019-05-09 | 13:15 | Flowing | Sand inside weir. 72b inside long drain. |  | 1.5 |  | 2.5 | 130 | 15.5 | 710 | 10.2 | 470
2019-05-10 12:36 | CAR-072B | 2019-05-10 | 12:15 | Flowing | No issues. | https://drive.google.com/open?id=1e1NejO8Y2qjIMQYiECboaQtX7g7eL2Rg | 2.25 |  | 37.98 | 1580 | 23.82 | 990 | 27.03 | 1100
2019-05-06 18:08 | CAR-072O | 2019-05-06 | 17:33 | Ponded | Moved logger higher. Cable wasn't fully plugged in
2019-05-09 09:46 | CAR-072O | 2019-05-08 | 17:30 | Ponded | No flow / extremely minor trickle . East side of the street but pin is on west side. | https://drive.google.com/open?id=1KOZxCWkVOxZyyHBU_8_eMAFtLbW2moco | 0.1 |  | 0 | 0 | 0 | 0 | 0 | 0
2019-05-09 21:36 | CAR-072O | 2019-05-09 | 12:15 | Trickle flow. Ponded yesterday. | Trickle flow. Was ponded yesterday. |  | 0.5 |  | 60 | 60 | 120 | 100 | 60 | 40
2019-05-10 12:01 | CAR-072O | 2019-05-10 | 12:00 | Ponded | Very small amount of flow, level less than 0.5 cm | https://drive.google.com/open?id=1_P3v7dl3jJk2y0ufsTywd_22Ohxabgx2 | 0
| CAR-072T1 | 2019-05-06 | 18:24 | Flowing | H1 = 2in H2 = 6in B1 = 4in both sides B2 = 12in C1 = C2 = 16.5in
| CAR-072T1 | 2019-05-08 | 15:50 | Flowing | No issues | https://drive.google.com/open?id=1960PlhHcuuv2_dmZ_rdfN02XdCViGwHi | 2.3 |  | 5.5 | 620 | 10.2 | 1090 | 12.7 | 1360
| CAR-072T1 | 2019-05-08 | 15:50 | Flowing | Mouth of culvert / edge of lake / lake san Marcos. | https://drive.google.com/open?id=1ZLYKshdhgY7gOpbekPI_aDxq5opJxRCa | 2.3 |  | 5.5 | 620 | 10.2 | 1090 | 12.7 | 1360
| CAR-072T1 | 2019-05-09 | 13:10 | Flowing | End of main culvert. No hobo download today |  | 4 |  | 2.4 | 990 | 1.1 | 620 | 1.6 | 740
| CAR-072T1 | 2019-05-10 | 0:15 | Flowing | No issues | https://drive.google.com/open?id=1kQI7ywKQ6Omxi7qzODXZgTc0sz9RU_MR | 3.3 |  | 4.36 | 1310 | 3.23 | 1040 | 3.52 | 1180
| CAR-072T1 | 2019-05-15 | 15:16 | Flowing | No issues | https://drive.google.com/open?id=196PxFhlTnMEWliLsIu489q1rE0-WKL6y | 2.5 |  | 10.85 | 1810 | 11.1 | 1850 | 12.32 | 2070
| CAR-072T2 | 2019-05-06 | 18:24 | Flowing | H1 = 2in H2 = 6in B1 = 4in both sides B2 = 12in C1 = C2 = 16.5in
| CAR-072T2 | 2019-05-08 | 15:50 | Flowing | No issues | https://drive.google.com/open?id=1960PlhHcuuv2_dmZ_rdfN02XdCViGwHi | 2.3 |  | 5.5 | 620 | 10.2 | 1090 | 12.7 | 1360
| CAR-072T2 | 2019-05-08 | 15:50 | Flowing | Mouth of culvert / edge of lake / lake san Marcos. | https://drive.google.com/open?id=1ZLYKshdhgY7gOpbekPI_aDxq5opJxRCa | 2.3 |  | 5.5 | 620 | 10.2 | 1090 | 12.7 | 1360
| CAR-072T2 | 2019-05-09 | 13:10 | Flowing | End of main culvert. No hobo download today |  | 4 |  | 2.4 | 990 | 1.1 | 620 | 1.6 | 740
| CAR-072T2 | 2019-05-10 | 0:15 | Flowing | No issues | https://drive.google.com/open?id=1kQI7ywKQ6Omxi7qzODXZgTc0sz9RU_MR | 3.3 |  | 4.36 | 1310 | 3.23 | 1040 | 3.52 | 1180
| CAR-072T2 | 2019-05-15 | 15:16 | Flowing | No issues | https://drive.google.com/open?id=196PxFhlTnMEWliLsIu489q1rE0-WKL6y | 2.5 |  | 10.85 | 1810 | 11.1 | 1850 | 12.32 | 2070
| CAR-072T3 | 2019-05-06 | 18:24 | Flowing | H1 = 2in H2 = 6in B1 = 4in both sides B2 = 12in C1 = C2 = 16.5in
| CAR-072T3 | 2019-05-08 | 15:50 | Flowing | No issues | https://drive.google.com/open?id=1960PlhHcuuv2_dmZ_rdfN02XdCViGwHi | 2.3 |  | 5.5 | 620 | 10.2 | 1090 | 12.7 | 1360
| CAR-072T3 | 2019-05-08 | 15:50 | Flowing | Mouth of culvert / edge of lake / lake san Marcos. | https://drive.google.com/open?id=1ZLYKshdhgY7gOpbekPI_aDxq5opJxRCa | 2.3 |  | 5.5 | 620 | 10.2 | 1090 | 12.7 | 1360
| CAR-072T3 | 2019-05-09 | 13:10 | Flowing | End of main culvert. No hobo download today |  | 4 |  | 2.4 | 990 | 1.1 | 620 | 1.6 | 740
| CAR-072T3 | 2019-05-10 | 0:15 | Flowing | No issues | https://drive.google.com/open?id=1kQI7ywKQ6Omxi7qzODXZgTc0sz9RU_MR | 3.3 |  | 4.36 | 1310 | 3.23 | 1040 | 3.52 | 1180
| CAR-072T3 | 2019-05-15 | 15:16 | Flowing | No issues | https://drive.google.com/open?id=196PxFhlTnMEWliLsIu489q1rE0-WKL6y | 2.5 |  | 10.85 | 1810 | 11.1 | 1850 | 12.32 | 2070
| CAR-072T4 | 2019-05-06 | 18:24 | Flowing | H1 = 2in H2 = 6in B1 = 4in both sides B2 = 12in C1 = C2 = 16.5in
| CAR-072T4 | 2019-05-08 | 15:50 | Flowing | No issues | https://drive.google.com/open?id=1960PlhHcuuv2_dmZ_rdfN02XdCViGwHi | 2.3 |  | 5.5 | 620 | 10.2 | 1090 | 12.7 | 1360
| CAR-072T4 | 2019-05-08 | 15:50 | Flowing | Mouth of culvert / edge of lake / lake san Marcos. | https://drive.google.com/open?id=1ZLYKshdhgY7gOpbekPI_aDxq5opJxRCa | 2.3 |  | 5.5 | 620 | 10.2 | 1090 | 12.7 | 1360
| CAR-072T4 | 2019-05-09 | 13:10 | Flowing | End of main culvert. No hobo download today |  | 4 |  | 2.4 | 990 | 1.1 | 620 | 1.6 | 740
| CAR-072T4 | 2019-05-10 | 0:15 | Flowing | No issues | https://drive.google.com/open?id=1kQI7ywKQ6Omxi7qzODXZgTc0sz9RU_MR | 3.3 |  | 4.36 | 1310 | 3.23 | 1040 | 3.52 | 1180
| CAR-072T4 | 2019-05-15 | 15:16 | Flowing | No issues | https://drive.google.com/open?id=196PxFhlTnMEWliLsIu489q1rE0-WKL6y | 2.5 |  | 10.85 | 1810 | 11.1 | 1850 | 12.32 | 2070
| CAR-072T5 | 2019-05-06 | 18:24 | Flowing | H1 = 2in H2 = 6in B1 = 4in both sides B2 = 12in C1 = C2 = 16.5in
| CAR-072T5 | 2019-05-08 | 15:50 | Flowing | No issues | https://drive.google.com/open?id=1960PlhHcuuv2_dmZ_rdfN02XdCViGwHi | 2.3 |  | 5.5 | 620 | 10.2 | 1090 | 12.7 | 1360
| CAR-072T5 | 2019-05-08 | 15:50 | Flowing | Mouth of culvert / edge of lake / lake san Marcos. | https://drive.google.com/open?id=1ZLYKshdhgY7gOpbekPI_aDxq5opJxRCa | 2.3 |  | 5.5 | 620 | 10.2 | 1090 | 12.7 | 1360
| CAR-072T5 | 2019-05-09 | 13:10 | Flowing | End of main culvert. No hobo download today |  | 4 |  | 2.4 | 990 | 1.1 | 620 | 1.6 | 740
| CAR-072T5 | 2019-05-10 | 0:15 | Flowing | No issues | https://drive.google.com/open?id=1kQI7ywKQ6Omxi7qzODXZgTc0sz9RU_MR | 3.3 |  | 4.36 | 1310 | 3.23 | 1040 | 3.52 | 1180
| CAR-072T5 | 2019-05-15 | 15:16 | Flowing | No issues | https://drive.google.com/open?id=196PxFhlTnMEWliLsIu489q1rE0-WKL6y | 2.5 |  | 10.85 | 1810 | 11.1 | 1850 | 12.32 | 2070
| CAR-072T6 | 2019-05-06 | 18:24 | Flowing | H1 = 2in H2 = 6in B1 = 4in both sides B2 = 12in C1 = C2 = 16.5in
| CAR-072T6 | 2019-05-08 | 15:50 | Flowing | No issues | https://drive.google.com/open?id=1960PlhHcuuv2_dmZ_rdfN02XdCViGwHi | 2.3 |  | 5.5 | 620 | 10.2 | 1090 | 12.7 | 1360
| CAR-072T6 | 2019-05-08 | 15:50 | Flowing | Mouth of culvert / edge of lake / lake san Marcos. | https://drive.google.com/open?id=1ZLYKshdhgY7gOpbekPI_aDxq5opJxRCa | 2.3 |  | 5.5 | 620 | 10.2 | 1090 | 12.7 | 1360
| CAR-072T6 | 2019-05-09 | 13:10 | Flowing | End of main culvert. No hobo download today |  | 4 |  | 2.4 | 990 | 1.1 | 620 | 1.6 | 740
| CAR-072T6 | 2019-05-10 | 0:15 | Flowing | No issues | https://drive.google.com/open?id=1kQI7ywKQ6Omxi7qzODXZgTc0sz9RU_MR | 3.3 |  | 4.36 | 1310 | 3.23 | 1040 | 3.52 | 1180
| CAR-072T6 | 2019-05-15 | 15:16 | Flowing | No issues | https://drive.google.com/open?id=196PxFhlTnMEWliLsIu489q1rE0-WKL6y | 2.5 |  | 10.85 | 1810 | 11.1 | 1850 | 12.32 | 2070
2019-05-03 18:08 | LAB_TEST | 2019-05-03 | 18:00 | Flowing | 2 small pumps I think |  | 5 |  | 3.5 | 3050
2019-05-03 18:15 | LAB_TEST | 2019-05-03 | 18:15 | Flowing | 2 small pumps |  | 5 |  | 3.6 | 3000
2019-05-03 18:18 | LAB_TEST | 2019-05-03 | 18:20 | Flowing | 2 small pumps |  | 5 |  | 6.7 | 5900
2019-05-07 11:34 | LAB_TEST | 2019-05-07 | 11:30 | Flowing | Leaf |  | 5 |  | 3 | 1100
2019-05-07 11:34 | LAB_TEST | 2019-05-07 | 11:30 | Flowing | Leaf |  | 5 |  | 3 | 1100
2019-05-14 10:16 | LAB_TEST | 2019-05-14 | 10:10 | Flowing | No leaks in pipe. | https://drive.google.com/open?id=12gGyvuVv69_C6AdNRhAwDA_JRkKSYOHz | 2 |  | 10.25 | 800 | 5.2 | 385 | 8.9 | 685
2019-05-14 17:44 | LAB_TEST | 2019-05-14 | 17:26 | Flowing | Lab weir is leaking. Level at 17:26 was 7 cm. Level at 17:36 was 5 cm. | https://drive.google.com/open?id=1qcZGUiUfO-PKtzNxcGVTGE8z-pcltaSA | 7 |  | 2.24 | 2720 | 2.45 | 2120 | 2.4 | 2160
2019-05-15 16:28 | LAB_TEST | 2019-05-15 | 13:46 | Flowing | Weir is leaking a tiny bit | https://drive.google.com/open?id=1bvn1geIbwwCQhieqg4B7P2Va6jyRVF7q | 8 |  | 1.925 | 5720 | 1.355 | 4000 | 4.75 | 9850
2019-05-15 17:25 | LAB_TEST | 2019-05-15 | 17:08 | Flowing | Not leaking | https://drive.google.com/open?id=1pdFu7OWC8uhcYORJvuJvomAC-KeRZvgJ | 8.1 |  | 0.73 | 3020 | 0.81 | 2190 | 1.13 | 3105
2019-05-03 18:08 | LAB_TESTT1 | 2019-05-03 | 18:00 | Flowing | 2 small pumps I think |  | 5 |  | 3.5 | 3050
2019-05-03 18:15 | LAB_TESTT1 | 2019-05-03 | 18:15 | Flowing | 2 small pumps |  | 5 |  | 3.6 | 3000
2019-05-03 18:18 | LAB_TESTT1 | 2019-05-03 | 18:20 | Flowing | 2 small pumps |  | 5 |  | 6.7 | 5900
2019-05-07 11:34 | LAB_TESTT1 | 2019-05-07 | 11:30 | Flowing | Leaf |  | 5 |  | 3 | 1100
2019-05-07 11:34 | LAB_TESTT1 | 2019-05-07 | 11:30 | Flowing | Leaf |  | 5 |  | 3 | 1100
2019-05-14 10:16 | LAB_TESTT1 | 2019-05-14 | 10:10 | Flowing | No leaks in pipe. | https://drive.google.com/open?id=12gGyvuVv69_C6AdNRhAwDA_JRkKSYOHz | 2 |  | 10.25 | 800 | 5.2 | 385 | 8.9 | 685
2019-05-14 17:44 | LAB_TESTT1 | 2019-05-14 | 17:26 | Flowing | Lab weir is leaking. Level at 17:26 was 7 cm. Level at 17:36 was 5 cm. | https://drive.google.com/open?id=1qcZGUiUfO-PKtzNxcGVTGE8z-pcltaSA | 7 |  | 2.24 | 2720 | 2.45 | 2120 | 2.4 | 2160
2019-05-15 16:28 | LAB_TESTT1 | 2019-05-15 | 13:46 | Flowing | Weir is leaking a tiny bit | https://drive.google.com/open?id=1bvn1geIbwwCQhieqg4B7P2Va6jyRVF7q | 8 |  | 1.925 | 5720 | 1.355 | 4000 | 4.75 | 9850
2019-05-15 17:25 | LAB_TESTT1 | 2019-05-15 | 17:08 | Flowing | Not leaking | https://drive.google.com/open?id=1pdFu7OWC8uhcYORJvuJvomAC-KeRZvgJ | 8.1 |  | 0.73 | 3020 | 0.81 | 2190 | 1.13 | 3105
2019-05-03 18:08 | LAB_TESTT2 | 2019-05-03 | 18:00 | Flowing | 2 small pumps I think |  | 5 |  | 3.5 | 3050
2019-05-03 18:15 | LAB_TESTT2 | 2019-05-03 | 18:15 | Flowing | 2 small pumps |  | 5 |  | 3.6 | 3000
2019-05-03 18:18 | LAB_TESTT2 | 2019-05-03 | 18:20 | Flowing | 2 small pumps |  | 5 |  | 6.7 | 5900
2019-05-07 11:34 | LAB_TESTT2 | 2019-05-07 | 11:30 | Flowing | Leaf |  | 5 |  | 3 | 1100
2019-05-07 11:34 | LAB_TESTT2 | 2019-05-07 | 11:30 | Flowing | Leaf |  | 5 |  | 3 | 1100
2019-05-14 10:16 | LAB_TESTT2 | 2019-05-14 | 10:10 | Flowing | No leaks in pipe. | https://drive.google.com/open?id=12gGyvuVv69_C6AdNRhAwDA_JRkKSYOHz | 2 |  | 10.25 | 800 | 5.2 | 385 | 8.9 | 685
2019-05-14 17:44 | LAB_TESTT2 | 2019-05-14 | 17:26 | Flowing | Lab weir is leaking. Level at 17:26 was 7 cm. Level at 17:36 was 5 cm. | https://drive.google.com/open?id=1qcZGUiUfO-PKtzNxcGVTGE8z-pcltaSA | 7 |  | 2.24 | 2720 | 2.45 | 2120 | 2.4 | 2160
2019-05-15 16:28 | LAB_TESTT2 | 2019-05-15 | 13:46 | Flowing | Weir is leaking a tiny bit | https://drive.google.com/open?id=1bvn1geIbwwCQhieqg4B7P2Va6jyRVF7q | 8 |  | 1.925 | 5720 | 1.355 | 4000 | 4.75 | 9850
2019-05-15 17:25 | LAB_TESTT2 | 2019-05-15 | 17:08 | Flowing | Not leaking | https://drive.google.com/open?id=1pdFu7OWC8uhcYORJvuJvomAC-KeRZvgJ | 8.1 |  | 0.73 | 3020 | 0.81 | 2190 | 1.13 | 3105
2019-05-03 18:08 | LAB_TESTT3 | 2019-05-03 | 18:00 | Flowing | 2 small pumps I think |  | 5 |  | 3.5 | 3050
2019-05-03 18:15 | LAB_TESTT3 | 2019-05-03 | 18:15 | Flowing | 2 small pumps |  | 5 |  | 3.6 | 3000
2019-05-03 18:18 | LAB_TESTT3 | 2019-05-03 | 18:20 | Flowing | 2 small pumps |  | 5 |  | 6.7 | 5900
2019-05-07 11:34 | LAB_TESTT3 | 2019-05-07 | 11:30 | Flowing | Leaf |  | 5 |  | 3 | 1100
2019-05-07 11:34 | LAB_TESTT3 | 2019-05-07 | 11:30 | Flowing | Leaf |  | 5 |  | 3 | 1100
2019-05-14 10:16 | LAB_TESTT3 | 2019-05-14 | 10:10 | Flowing | No leaks in pipe. | https://drive.google.com/open?id=12gGyvuVv69_C6AdNRhAwDA_JRkKSYOHz | 2 |  | 10.25 | 800 | 5.2 | 385 | 8.9 | 685
2019-05-14 17:44 | LAB_TESTT3 | 2019-05-14 | 17:26 | Flowing | Lab weir is leaking. Level at 17:26 was 7 cm. Level at 17:36 was 5 cm. | https://drive.google.com/open?id=1qcZGUiUfO-PKtzNxcGVTGE8z-pcltaSA | 7 |  | 2.24 | 2720 | 2.45 | 2120 | 2.4 | 2160
2019-05-15 16:28 | LAB_TESTT3 | 2019-05-15 | 13:46 | Flowing | Weir is leaking a tiny bit | https://drive.google.com/open?id=1bvn1geIbwwCQhieqg4B7P2Va6jyRVF7q | 8 |  | 1.925 | 5720 | 1.355 | 4000 | 4.75 | 9850
2019-05-15 17:25 | LAB_TESTT3 | 2019-05-15 | 17:08 | Flowing | Not leaking | https://drive.google.com/open?id=1pdFu7OWC8uhcYORJvuJvomAC-KeRZvgJ | 8.1 |  | 0.73 | 3020 | 0.81 | 2190 | 1.13 | 3105
2019-05-03 18:08 | LAB_TESTT4 | 2019-05-03 | 18:00 | Flowing | 2 small pumps I think |  | 5 |  | 3.5 | 3050
2019-05-03 18:15 | LAB_TESTT4 | 2019-05-03 | 18:15 | Flowing | 2 small pumps |  | 5 |  | 3.6 | 3000
2019-05-03 18:18 | LAB_TESTT4 | 2019-05-03 | 18:20 | Flowing | 2 small pumps |  | 5 |  | 6.7 | 5900
2019-05-07 11:34 | LAB_TESTT4 | 2019-05-07 | 11:30 | Flowing | Leaf |  | 5 |  | 3 | 1100
2019-05-07 11:34 | LAB_TESTT4 | 2019-05-07 | 11:30 | Flowing | Leaf |  | 5 |  | 3 | 1100
2019-05-14 10:16 | LAB_TESTT4 | 2019-05-14 | 10:10 | Flowing | No leaks in pipe. | https://drive.google.com/open?id=12gGyvuVv69_C6AdNRhAwDA_JRkKSYOHz | 2 |  | 10.25 | 800 | 5.2 | 385 | 8.9 | 685
2019-05-14 17:44 | LAB_TESTT4 | 2019-05-14 | 17:26 | Flowing | Lab weir is leaking. Level at 17:26 was 7 cm. Level at 17:36 was 5 cm. | https://drive.google.com/open?id=1qcZGUiUfO-PKtzNxcGVTGE8z-pcltaSA | 7 |  | 2.24 | 2720 | 2.45 | 2120 | 2.4 | 2160
2019-05-15 16:28 | LAB_TESTT4 | 2019-05-15 | 13:46 | Flowing | Weir is leaking a tiny bit | https://drive.google.com/open?id=1bvn1geIbwwCQhieqg4B7P2Va6jyRVF7q | 8 |  | 1.925 | 5720 | 1.355 | 4000 | 4.75 | 9850
2019-05-15 17:25 | LAB_TESTT4 | 2019-05-15 | 17:08 | Flowing | Not leaking | https://drive.google.com/open?id=1pdFu7OWC8uhcYORJvuJvomAC-KeRZvgJ | 8.1 |  | 0.73 | 3020 | 0.81 | 2190 | 1.13 | 3105
2019-05-03 18:08 | LAB_TESTT5 | 2019-05-03 | 18:00 | Flowing | 2 small pumps I think |  | 5 |  | 3.5 | 3050
2019-05-03 18:15 | LAB_TESTT5 | 2019-05-03 | 18:15 | Flowing | 2 small pumps |  | 5 |  | 3.6 | 3000
2019-05-03 18:18 | LAB_TESTT5 | 2019-05-03 | 18:20 | Flowing | 2 small pumps |  | 5 |  | 6.7 | 5900
2019-05-07 11:34 | LAB_TESTT5 | 2019-05-07 | 11:30 | Flowing | Leaf |  | 5 |  | 3 | 1100
2019-05-07 11:34 | LAB_TESTT5 | 2019-05-07 | 11:30 | Flowing | Leaf |  | 5 |  | 3 | 1100
2019-05-14 10:16 | LAB_TESTT5 | 2019-05-14 | 10:10 | Flowing | No leaks in pipe. | https://drive.google.com/open?id=12gGyvuVv69_C6AdNRhAwDA_JRkKSYOHz | 2 |  | 10.25 | 800 | 5.2 | 385 | 8.9 | 685
2019-05-14 17:44 | LAB_TESTT5 | 2019-05-14 | 17:26 | Flowing | Lab weir is leaking. Level at 17:26 was 7 cm. Level at 17:36 was 5 cm. | https://drive.google.com/open?id=1qcZGUiUfO-PKtzNxcGVTGE8z-pcltaSA | 7 |  | 2.24 | 2720 | 2.45 | 2120 | 2.4 | 2160
2019-05-15 16:28 | LAB_TESTT5 | 2019-05-15 | 13:46 | Flowing | Weir is leaking a tiny bit | https://drive.google.com/open?id=1bvn1geIbwwCQhieqg4B7P2Va6jyRVF7q | 8 |  | 1.925 | 5720 | 1.355 | 4000 | 4.75 | 9850
2019-05-15 17:25 | LAB_TESTT5 | 2019-05-15 | 17:08 | Flowing | Not leaking | https://drive.google.com/open?id=1pdFu7OWC8uhcYORJvuJvomAC-KeRZvgJ | 8.1 |  | 0.73 | 3020 | 0.81 | 2190 | 1.13 | 3105
2019-05-03 18:08 | LAB_TESTT6 | 2019-05-03 | 18:00 | Flowing | 2 small pumps I think |  | 5 |  | 3.5 | 3050
2019-05-03 18:15 | LAB_TESTT6 | 2019-05-03 | 18:15 | Flowing | 2 small pumps |  | 5 |  | 3.6 | 3000
2019-05-03 18:18 | LAB_TESTT6 | 2019-05-03 | 18:20 | Flowing | 2 small pumps |  | 5 |  | 6.7 | 5900
2019-05-07 11:34 | LAB_TESTT6 | 2019-05-07 | 11:30 | Flowing | Leaf |  | 5 |  | 3 | 1100
2019-05-07 11:34 | LAB_TESTT6 | 2019-05-07 | 11:30 | Flowing | Leaf |  | 5 |  | 3 | 1100
2019-05-14 10:16 | LAB_TESTT6 | 2019-05-14 | 10:10 | Flowing | No leaks in pipe. | https://drive.google.com/open?id=12gGyvuVv69_C6AdNRhAwDA_JRkKSYOHz | 2 |  | 10.25 | 800 | 5.2 | 385 | 8.9 | 685
2019-05-14 17:44 | LAB_TESTT6 | 2019-05-14 | 17:26 | Flowing | Lab weir is leaking. Level at 17:26 was 7 cm. Level at 17:36 was 5 cm. | https://drive.google.com/open?id=1qcZGUiUfO-PKtzNxcGVTGE8z-pcltaSA | 7 |  | 2.24 | 2720 | 2.45 | 2120 | 2.4 | 2160
2019-05-15 16:28 | LAB_TESTT6 | 2019-05-15 | 13:46 | Flowing | Weir is leaking a tiny bit | https://drive.google.com/open?id=1bvn1geIbwwCQhieqg4B7P2Va6jyRVF7q | 8 |  | 1.925 | 5720 | 1.355 | 4000 | 4.75 | 9850
2019-05-15 17:25 | LAB_TESTT6 | 2019-05-15 | 17:08 | Flowing | Not leaking | https://drive.google.com/open?id=1pdFu7OWC8uhcYORJvuJvomAC-KeRZvgJ | 8.1 |  | 0.73 | 3020 | 0.81 | 2190 | 1.13 | 3105
2019-05-08 10:30 | SDG-072 | 2019-05-08 | 10:22 | Ponded | No flow today. Site was also visited yesterday and a hole was plugged with concrete and no flow was visible. | https://drive.google.com/open?id=1tpMAP1vPL5Dl8Y-1x6Ru14M1gCxgD21O | 7.3
2019-05-09 21:46 | SDG-072 | 2019-05-09 | 2:50 | Ponded | Leak fixed on 5/7. Was left bottom side. Water level seems to be slowly rising. Water level 1” below bottom of V. | https://drive.google.com/open?id=15v8hd2LWevFefGL01Y2jchs7lPmfT7mO | 1 |  | 0 | 0 | 0 | 0 | 0 | 0
2019-05-13 16:05 | SDG-072 | 2019-05-13 | 16:05 | Ponded | Appears to not be leaking | https://drive.google.com/open?id=1s4vO8uYd1fDIsFpGjE18FsKHTk2Copaf | -2.75
2019-05-16 09:46 | SDG-072 | 2019-05-15 | 10:05 | Flowing | flowing |  | 2.2 |  | 15 | 1700 | 15 | 1700
| SDG-080 | 2019-05-01 | 12:00 | Flowing | flowing
| SDG-080T1 | 2019-05-01 | 12:00 | Flowing | flowing
| SDG-080T2 | 2019-05-01 | 12:00 | Flowing | flowing
| SDG-080T3 | 2019-05-01 | 12:00 | Flowing | flowing
| SDG-080T4 | 2019-05-01 | 12:00 | Flowing | flowing
| SDG-080T5 | 2019-05-01 | 12:00 | Flowing | flowing
| SDG-080T6 | 2019-05-01 | 12:00 | Flowing | flowing
2019-05-07 16:36 | SDG-084 | 2019-05-07 | 16:30 | Flowing | Flowing well. | https://drive.google.com/open?id=1s1poyL5RcfS95aklBd2rN5cKz3PyX18V | 3.2 |  | 7.41 | 1750 | 4.25 | 1025 | 11.78 | 2375
2019-05-08 11:02 | SDG-084 | 2019-05-08 | 11:00 | Flowing | No issues | https://drive.google.com/open?id=1CY_UGnpCYeEvnSlNOUJ60kjxK8Hj0aIm | 2.9 |  | 2.9 | 530 | 2.6 | 510 | 3 | 495
2019-05-09 21:48 | SDG-084 | 2019-05-09 | 15:00 | Flowing | Medical office parking lot |  | 3 |  | 3.63 | 720 | 3.31 | 540 | 3.53 | 700
2019-05-10 14:08 | SDG-084 | 2019-05-10 | 1:00 | Flowing | all good |  | 3.4 |  | 10 | 2430 | 10 | 2430
2019-05-08 13:17 | SDG-084J | 2019-05-08 | 13:05 | Flowing | Man hole on sidewalk near intersection | https://drive.google.com/open?id=1AjCIVzLoWR7dJu1k1YubRswIFjyG7a5Z, https://drive.google.com/open?id=1yIWY_sRCaMXWVhZCtTbQ51ijHYzo-wQX | 1.8 |  | 8.9 | 765 | 9.2 | 775 | 10.5 | 885
2019-05-08 15:48 | SDG-084J | 2019-05-08 | 13:05 | Flowing | Man hole on sidewalk near intersection | https://drive.google.com/open?id=1uNgfOVVi6OuSrTsDIL3115oo8SAY2ApB, https://drive.google.com/open?id=12xfwXnWgQLGO7UPliz_QD6u94d4Ozy9I | 1.8 |  | 8.9 | 765 | 9.2 | 775 | 10.5 | 885
2019-05-09 21:56 | SDG-084J | 2019-05-09 | 16:25 | Flowing | Done canyon and lone quail rd |  | 1.5 |  | 5.4 | 400 | 7.1 | 500 | 7.06 | 530
2019-05-10 14:17 | SDG-084J | 2019-05-10 | 14:00 | Flowing | No issues. | https://drive.google.com/open?id=1aVFDjfhLpJXom72ZhC1fFjogCWR42HRy | 1.8 |  | 24.88 | 1950 | 11.25 | 860 | 16.21 | 1230
2019-05-07 16:51 | SDG-085 | 2019-05-07 | 16:45 | Flowing | Flowing good. | https://drive.google.com/open?id=1wbPiAVbu4JaXfTuFP4r8AvPFMWmZn9zX | 4.1 |  | 6.73 | 3640 | 4.38 | 1870 | 2.94 | 1560
2019-05-08 11:26 | SDG-085 | 2019-05-08 | 11:20 | Flowing | No issues | https://drive.google.com/open?id=1oRJngBYQBMUZiiOlh5nLDuNa5gk7R8lE | 3.8 |  | 2.8 | 1325 | 6.2 | 3140 | 3.75 | 1740
2019-05-09 21:50 | SDG-085 | 2019-05-09 | 15:15 | Flowing | Behind credit union bank |  | 4 |  | 2.4 | 1300 | 1.5 | 940 | 1.1 | 540
2019-05-10 14:05 | SDG-085 | 2019-05-10 | 0:31 | Flowing | all look good |  | 3.4 |  | 10 | 2430 | 10 | 2430
2019-05-10 14:10 | SDG-085 | 2019-05-10 | 0:00 | Flowing | all good |  | 3.9 |  | 7 | 2700 | 7 | 2700
2019-05-16 10:02 | SDG-085 | 2019-05-15 | 9:33 | Flowing | flowing |  | 3.9 |  | 7.35 | 3000
2019-05-08 12:27 | SDG-085G | 2019-05-08 | 12:15 | Ponded | Flow very small / non measurable | https://drive.google.com/open?id=1pTCuMepFk8myM3KgShEKJT_mk9a__Ujx, https://drive.google.com/open?id=1rfk3g0jgVmyK5GQLAacPqVOH0027v20z, https://drive.google.com/open?id=1z8gHFNRdURAP9vfgQzBRPL5KKl52cjFp | 0.3 |  | 0 | 0 | 0 | 0 | 0 | 0
2019-05-09 21:51 | SDG-085G | 2019-05-09 | 15:45 | Ponded | 4s ranch and deer ridge road. No flow. |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
2019-05-16 10:04 | SDG-085G | 2019-05-15 | 10:00 | Flowing | very low flow |  | 0.4 |  | 30 | 30
2019-05-08 15:51 | SDG-085M | 2019-05-08 | 13:50 | Flowing | Large manhole in street | https://drive.google.com/open?id=1EbBEmj2n48gddgtkUFyPImjCgT2YppQU | 2.1 |  | 9.5 | 1010 | 7.2 | 760 | 6.7 | 700
2019-05-09 21:53 | SDG-085M | 2019-05-09 | 16:05 | Flowing | Prairie springs and cimarron crest |  | 2.5 |  | 4.4 | 590 | 5.4 | 700 | 5.4 | 680
2019-05-10 14:52 | SDG-085M | 2019-05-10 | 14:35 | Flowing | No issues | https://drive.google.com/open?id=1vH3M50tm53prSWbuum-ZbOiFq2Bo31Q6 | 2.3 |  | 19.57 | 2350 | 12.36 | 1420 | 13.1 | 1510
2019-05-13 15:52 | SDG-085M | 2019-05-13 | 15:37 | Flowing | Fixed telemetry issue. No issues with weir. | https://drive.google.com/open?id=18ysv5mu0WIddEGAauXqx5_dO2-4hC_wz | 1.9 |  | 6.71 | 500 | 8.71 | 600 | 9.41 | 650
2019-05-06 11:30 | SDR-036 | 2019-05-06 | 11:24 | Flowing | Everything looks good | https://drive.google.com/open?id=1LWloFybWirAlzBXcJp3FryOs8pAWWzMj | 5.5 | 5.5 | 4.87 | 5600
2019-05-07 13:05 | SDR-036 | 2019-05-07 | 13:00 | Flowing | Sedimentation at sensor |  | 1.4 |  | 25 | 300 | 20 | 290 | 20 | 290
2019-05-08 12:39 | SDR-036 | 2019-05-08 | 12:31 | Flowing | SDR-036 12:31, 50ml 1cm H1 = 2in H2 = 6in B1 = 4in both sides B2 = 12in C1 = C2 = 26in |  | 1 |  | 15 | 50
2019-05-09 10:21 | SDR-036 | 2019-05-09 | 10:18 | Flowing | Installed camera | https://drive.google.com/open?id=1fjrC5zyl9gAWmepI_E5Oqm_8ubJXjzQG, https://drive.google.com/open?id=1t2xJU4xo5WW0e3U34txnIVuuUkIz9rE- | 0.8 |  | 15.24 | 180
2019-05-06 12:03 | SDR-041 | 2019-05-06 | 11:56 | Flowing | At Ha Hana road sign. Weir is bowing out quite a bit but no issues. | https://drive.google.com/open?id=1Z_1f9EkmgJId3PlPX8puu5j4AFQ-PlPm | 3 |  | 7.11 | 2400
2019-05-10 16:23 | SDR-041 | 2019-05-10 | 16:15 | Flowing | None |  | 3 |  | 30 | 7800 | 30 | 7500 | 60 | 7500
2019-05-14 12:57 | SDR-041 | 2019-05-14 | 12:53 | Flowing | No issues | https://drive.google.com/open?id=1-IYOETJU9Dfkhl9D7V_8yxcMfPTP-urG | 2.8 |  | 6.33 | 1600 | 8.5 | 2150 | 9.55 | 2380
2019-05-16 10:16 | SDR-041 | 2019-05-15 | 12:57 | Flowing | flowing |  | 3 |  | 12 | 4500
2019-05-06 13:27 | SDR-064 | 2019-05-06 | 13:15 | Ponded | Water level was right at bottom of v notch but no flow | https://drive.google.com/open?id=153-bfsQm6aStyd2zY5eNF7ma7R2JD_8r | 0
2019-05-09 11:04 | SDR-064 | 2019-05-09 | 11:01 | Ponded | Installed camera. Water was ponded behind weir below v. | https://drive.google.com/open?id=1uO1opBtZ18NQR-qsMe7PgVBvm2YX66Kw | -0.8 |  | 0 | 0
2019-05-14 14:59 | SDR-064 | 2019-05-14 | 14:57 | Ponded | No flow. Camera blocking ammo box from opening. | https://drive.google.com/open?id=1QqC_bOQXQBBjQWKwl0klBzZJetNGOZCc | -2.4
2019-05-16 09:57 | SDR-064 | 2019-05-15 | 12:04 | Ponded | ponded |  | -1.3
2019-05-06 14:00 | SDR-097 | 2019-05-06 | 13:46 | Flowing | No issues. | https://drive.google.com/open?id=1_smv8wxy0ws0AXSkhHFDi6XyMWhC9So3 | 0.9 |  | 18.22 | 150
2019-05-09 16:02 | SDR-097 | 2019-05-09 | 16:00 | Ponded | Ponded, fixed leak with concrete. No flow. | https://drive.google.com/open?id=17vVpYRXvutAX8UOZj1VMh_f4X7IzO4sB | -1.4
2019-05-10 16:36 | SDR-097 | 2019-05-10 | 16:35 | Dry | None
2019-05-13 13:24 | SDR-097 | 2019-05-13 | 13:20 | Ponded | Attempted to fix leak one hour before measurement |  | -3.6
2019-05-06 13:57 | SDR-098 | 2019-05-06 | 13:51 | Flowing | No issues | https://drive.google.com/open?id=1TrBDx29w_8bAmpJRkQ-rjftrS3m5PJ1w | 1.9 |  | 16.1 | 1220
2019-05-09 14:02 | SDR-098 | 2019-05-09 | 13:55 | Ponded | No flow, ponding. Significant sediment accumulation observed. | https://drive.google.com/open?id=1OQKhiFCLCvQhuuBxVn7gk1PP4g0kw7o9
2019-05-10 16:32 | SDR-098 | 2019-05-10 | 16:30 | Flowing | None |  | 0.5 |  | 60 | 340 | 60 | 330
2019-05-13 13:38 | SDR-098 | 2019-05-13 | 13:36 | Ponded | Ponded at v notch | https://drive.google.com/open?id=1jtbfklpPYCnFQYp4JLtjm1Ufs9OflZYr | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
2019-05-06 12:30 | SDR-1024 | 2019-05-06 | 0:19 | Flowing | No issues | https://drive.google.com/open?id=1U99JFA7MfpPp-vH18L8DDZscG82LFg5t | 1.4 |  | 16.24 | 400
2019-05-06 13:44 | SDR-1024 | 2019-05-06 | 13:36 | Flowing | Use these numbers for SDR 1024 calibration, not earlier ones. See photo for SDR 1024 from earlier submission. |  | 1 |  | 16.54 | 320
2019-05-09 15:34 | SDR-1024 | 2019-05-09 | 15:20 | Flowing | Low flow | https://drive.google.com/open?id=1cyn8bbRumXJIdp77Pj-nTYeq2MTpZUb3 | 1 |  | 39.39 | 395 | 45.3 | 450 | 60.08 | 570
2019-05-10 16:59 | SDR-1024 | 2019-05-10 | 16:40 | Ponded | None |  | 0
2019-05-13 13:17 | SDR-1024 | 2019-05-13 | 13:08 | Flowing | No issues | https://drive.google.com/open?id=1BGHYbs9lQ_7trSgcaTgF8lGiK6MV_y-K | 1.1 |  | 31.22 | 380 | 31.74 | 390 | 33.57 | 410
2019-05-06 13:52 | SDR-1031 | 2019-05-06 | 13:41 | Flowing | No issues | https://drive.google.com/open?id=1LC-WwULYvKVRoKJW_NG_v6pJ3gBvuffh | 6 |  | 16.06 | 50
2019-05-09 14:41 | SDR-1031 | 2019-05-09 | 14:39 | Flowing | Very low flow. Not able to calibrate. | https://drive.google.com/open?id=1Jd3pG89gNk5A2Jx9R9KHlUrwq4T28wZ9 | 0.2
2019-05-10 16:38 | SDR-1031 | 2019-05-10 | 16:38 | Ponded | None |  | 0
2019-05-13 12:33 | SDR-1031 | 2019-05-13 | 12:30 | Ponded | Water ponded slightly below v notch | https://drive.google.com/open?id=1k4njmwdl9852ECOVVxHNsxMoWznKm6Ob | -0.32 |  | 0 | 0 | 0 | 0 | 0 | 0
2019-05-06 11:39 | SDR-127 | 2019-05-06 | 11:32 | Flowing | Mosquito lady site. No issues. | https://drive.google.com/open?id=1XOptoZ4Q85FCj6SwgA1H6C-FM72Mp2JL | 4.7 |  | 4.6 | 4200
2019-05-07 13:32 | SDR-127 | 2019-05-07 | 13:25 | Flowing | Murky | https://drive.google.com/open?id=1WD9y2a2DDESmv6bRnM0gX7svipbgv9pm | 1.7 |  | 20 | 1490 | 10 | 750 | 20 | 1500
2019-05-09 10:42 | SDR-127 | 2019-05-09 | 10:35 | Flowing | Installed camera. | https://drive.google.com/open?id=1Yi1nCwnV35F1sRDHmRdKcOKoQQOQo3bW | 1.2 |  | 14.97 | 480
2019-05-14 12:01 | SDR-127 | 2019-05-14 | 11:58 | Ponded | No issues | https://drive.google.com/open?id=1mQqKKfHw9LBFJLln7vqq9gRVkNCZ4v07 | 0
2019-05-10 15:56 | SDR-127B | 2019-05-10 | 15:55 | Flowing | None |  | 0.3 |  | 60 | 45 | 0.3 | 40
2019-05-14 12:27 | SDR-127B | 2019-05-14 | 12:25 | Ponded | Dead rat in water | https://drive.google.com/open?id=1UlkhVs6s2CcUmcsu9zPJMEHTKSKeZUXP | -2.7
2019-05-15 10:08 | SDR-127B | 2019-05-15 | 9:58 | Ponded | No issues | https://drive.google.com/open?id=1cHhRkQAWWlNWINvOswiauODZDASGUb-M | -2.2
2019-05-06 11:09 | SDR-203A | 2019-05-06 | 10:55 | Flowing | Floating rat site, lower outfall | https://drive.google.com/open?id=1LykeNoujYIjD5JPuduaR8ISOEF2kLZJ3 | 3.2 | 3.1 | 17.18 | 5200
2019-05-08 14:51 | SDR-203A | 2019-05-08 | 13:25 | Ponded | None |  | 0
2019-05-10 13:19 | SDR-203A | 2019-05-10 | 12:50 | Ponded | None
2019-05-10 13:19 | SDR-203A | 2019-05-10 | 12:50 | Ponded | None
2019-05-10 13:22 | SDR-203A | 2019-05-10 | 12:50 | Ponded | None
2019-05-10 13:25 | SDR-203A | 2019-05-10 | 12:50 | Ponded | None
2019-05-06 11:21 | SDR-204A | 2019-05-06 | 10:59 | Flowing | Floating rat site, lower outfall. | https://drive.google.com/open?id=1E25RdT3011EeydtVV6xnC36aUnYH1iTO | 2.5 | 2.5 | 22.29 | 4200
2019-05-08 14:53 | SDR-204A | 2019-05-08 | 13:30 | Flowing | None |  | 0.6 |  | 60 | 180 | 60 | 170 | 60 | 170
2019-05-08 15:45 | SDR-204A | 2019-05-08 | 13:30 | Flowing | None |  | 0.6 |  | 60 | 180 | 60 | 170 | 60 | 170
2019-05-10 13:40 | SDR-204A | 2019-05-10 | 12:55 | Flowing | Small leakage observed and repaired with cement. |  | 0.7 |  | 60 | 240 | 60 | 225 | 60 | 230
2019-05-06 11:50 | SDR-207 | 2019-05-06 | 11:45 | Flowing | Everything looks fine. | https://drive.google.com/open?id=15qNOnnXnUzovaAV4G3I5SnBNZL8wo7Jq | 8.7 |  | 1.88 | 8200
2019-05-07 13:57 | SDR-207 | 2019-05-07 | 13:45 | Flowing | Flowing sedimentation | https://drive.google.com/open?id=1gWXFKvZ6aMaoNv-j8lcwLJr3aJoTvFMl | 8.2 |  | 1.1 | 4100 | 1.2 | 4440 | 1.2 | 4480
2019-05-09 16:32 | SDR-207 | 2019-05-09 | 16:30 | Flowing | No issues | https://drive.google.com/open?id=1G2fQXczMraOMnBpGcm0OyHGj_1xGbp8Q | 7.4 |  | 1.65 | 3600 | 1.1 | 2680 | 1.75 | 3890
2019-05-14 11:17 | SDR-207 | 2019-05-14 | 11:10 | Flowing | No issues | https://drive.google.com/open?id=1McVg-729LVpMpQR0JsIcEIrl7iSFFsFx | 6.7 |  | 1.15 | 2450 | 1.33 | 3130 | 1.26 | 2520
2019-05-08 14:49 | SDR-223 | 2019-05-08 | 11:55 | Flowing | None |  | 0.6 |  | 60 | 170 | 60 | 160 | 60 | 160
2019-05-09 12:20 | SDR-223 | 2019-05-09 | 0:18 | Flowing | Barely flowing, non-measurable. | https://drive.google.com/open?id=1p1jkqoIcw5OwJR9xRsVwomKJ6CHq4h6j | 0.8
2019-05-10 12:14 | SDR-223 | 2019-05-10 | 12:10 | Flowing | None |  | 0.7 |  | 60 | 290 | 60 | 295
2019-05-14 10:24 | SDR-223 | 2019-05-14 | 10:19 | Flowing | No issues | https://drive.google.com/open?id=1Q44tO_6KmAxzVnFFJfh6orp7CCl6UTq4 | 0.7 |  | 64.03 | 170 | 61.12 | 150 | 49.08 | 130
2019-05-06 12:55 | SDR-228 | 2019-05-06 | 12:50 | Flowing | No issues | https://drive.google.com/open?id=17WlrNSl9m63xM1PJOL_9LONk4vQ5N6xP | 0.9 |  | 16.15 | 200
2019-05-14 13:41 | SDR-228 | 2019-05-14 | 13:35 | Flowing | No issues | https://drive.google.com/open?id=19hHQ5hiRVOyZXKWuzRyX9kMDkPMKQvFL | 0.9 |  | 40 | 400 | 35.9 | 360 | 30 | 300
2019-05-16 09:58 | SDR-228 | 2019-05-15 | 11:54 | Flowing | flowing |  | 0.5 |  | 30 | 1060
2019-05-08 16:35 | SDR-568 | 2019-05-08 | 12:10 | Breakaway popped open | Both breakaways popped open. Site was repaired with new breakaways and patched up with more cement.
2019-05-09 12:43 | SDR-568 | 2019-05-09 | 0:40 | Flowing | No issues | https://drive.google.com/open?id=1nHybqM1Bb6CAdXPPtkWpvmInKwF-Zu73 | 3.3 |  | 4.45 | 1410 | 4.34 | 1360 | 8.45 | 2670
2019-05-09 16:15 | SDR-568 | 2019-05-08 | 12:10 | Breakaway popped open | Both breakaways popped open. Site was repaired with new breakaways and patched up with more cement.
2019-05-10 10:37 | SDR-568 | 2019-05-08 | 12:10 | Breakaway popped open | Both breakaways popped open. Site was repaired with new breakaways and patched up with more cement.
2019-05-10 12:24 | SDR-568 | 2019-05-10 | 12:17 | Flowing | None |  | 1.3 |  | 30 | 1010 | 30 | 990 | 30 | 1010
2019-05-06 13:10 | SDR-723 | 2019-05-06 | 13:04 | Flowing | No issues. | https://drive.google.com/open?id=16cpJuJmGYWQR3WlYx_UN1q3Q-prkrOjG | 0.9 |  | 15.45 | 110
2019-05-14 15:20 | SDR-723 | 2019-05-14 | 15:11 | Ponded | No issues | https://drive.google.com/open?id=1zW_yEpW55m6RsETxj39uQMofjpYk_9An | -1.9
2019-05-16 09:49 | SDR-723 | 2019-05-15 | 13:13 | no flow ponded below v notch -2 cent | no flow |  | -2
2019-05-06 12:18 | SDR-740 | 2019-05-06 | 12:14 | Flowing | No issues | https://drive.google.com/open?id=18tPGeVuQOIE6UVYK1RyuxC3JLJbwl7kh | 1.4 |  | 15.95 | 400
2019-05-09 15:41 | SDR-740 | 2019-05-09 | 15:34 | Ponded, possibly leaking. | Ponding below V notch. Possible leak, attempting patch. |  | -2.6
2019-05-10 17:01 | SDR-740 | 2019-05-10 | 16:55 | Ponded | None |  | 0
2019-05-13 12:56 | SDR-740 | 2019-05-13 | 0:53 | Ponded | Ponded at v notch | https://drive.google.com/open?id=1x-kRKo8mjiX-RwFe_Kh81QBQxPIJtgFH | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
2019-05-06 12:40 | SDR-751 | 2019-05-06 | 0:29 | Flowing | No issues | https://drive.google.com/open?id=1k7_rkpdNgdWCvx4_NMTYDq-6BfXyI6s6 | 1 |  | 15.42 | 200
2019-05-09 15:00 | SDR-751 | 2019-05-09 | 14:55 | Flowing | Low flow. | https://drive.google.com/open?id=1P8H5WgMZZNkC2VvopDxdcIWui6tMpJ_z | 0.7 |  | 60.23 | 280 | 90.02 | 440 | 45.08 | 210
2019-05-10 17:05 | SDR-751 | 2019-05-10 | 16:48 | Ponded | None |  | 0
2019-05-13 12:45 | SDR-751 | 2019-05-13 | 0:37 | Flowing | Trickle flow | https://drive.google.com/open?id=1qaTLTOWbcOJvM19cNWy9kS1wdWAaYNCd | 0.6 |  | 60.26 | 290 | 38.61 | 185 | 30.09 | 150
2019-05-06 10:27 | SDR-772 | 2019-05-06 | 10:19 | Flowing | A few leaves in v notch were cleared. | https://drive.google.com/open?id=1XtAT9daqZt7-bHWJM4RloBz6Fyubicln | 4.6 |  | 10.97 | 7500
2019-05-07 15:22 | SDR-772 | 2019-05-07 | 15:07 | Flowing | No issues | https://drive.google.com/open?id=1-32C2k5CFw1heXgKjMk72-mn-GThPSrj | 0.7 |  | 53.27 | 355
2019-05-10 17:24 | SDR-772 | 2019-05-10 | 17:23 | Ponded | None |  | 0
2019-05-14 11:01 | SDR-772 | 2019-05-14 | 10:50 | Flowing | No issues. Very low flow. | https://drive.google.com/open?id=1G4C_K-RgVsxUx14HUo7L5s3KYYVg_HL0 | 0.6 |  | 68.95 | 63 | 90.05 | 95 | 100.1 | 90
2019-05-06 10:41 | SDR-780 | 2019-05-06 | 10:31 | Flowing | Water level near top of v notch. Flow estimate is rough due to high flow. | https://drive.google.com/open?id=1YljKTjwJjkNURf5BJeQWW78hGy60Gv8f | 14 |  | 0.74 | 11400
2019-05-07 15:46 | SDR-780 | 2019-05-07 | 15:41 | Flowing | Could not get telemetry to connect | https://drive.google.com/open?id=1UCMVSoHNaYRhCgCcOS3Djjy0OB4QQAUz | 8 |  | 1.3 | 4090
2019-05-08 13:10 | SDR-780 | 2019-05-08 | 13:04 | Flowing | Installed new batteries. Previous batteries were rechargeables. SDR-780 13:04, 600ml 8cm H1 = 2inin H2 = 6in B1 = 13.5in both sides B2 = 12in C1 = 3'6" left C2 = 13'5" |  | 8 |  | 2 | 600
2019-05-14 11:38 | SDR-780 | 2019-05-14 | 11:37 | Flowing | Very high flow, flowing in the composite, over flowing the v notch. | https://drive.google.com/open?id=17_2BiWfGJXyqsCUQBeyrfVXMn_CiS0Ik | 16.8
2019-05-06 11:18 | SDR-939 | 2019-05-06 | 11:12 | Flowing | No issues | https://drive.google.com/open?id=1Q725apwYH3rrpvige1hIRCVpebsUoyKt | 1.4 | 1.4 | 15.19 | 400
2019-05-07 16:22 | SDR-939 | 2019-05-07 | 16:09 | Flowing | Barely any flow. Not measurable. | https://drive.google.com/open?id=19NYYSa0p7BPz_TIX1kuOq4zAN7vuJsl- | 0.1
2019-05-08 14:22 | SDR-939 | 2019-05-08 | 14:20 | Ponded | None |  | 0
2019-05-10 13:38 | SDR-939 | 2019-05-10 | 13:27 | Flowing | None |  | 0.5 |  | 30 | 160 | 30 | 150
2019-05-06 16:54 | SLR-045 | 2019-05-06 | 16:45 | Flowing | Same flow as 045A. Very clear water
2019-05-09 21:34 | SLR-045 | 2019-05-09 | 11:30 | Flowing | Downhill from 45A and 45B | https://drive.google.com/open?id=1OptW1bw5VMQ0fmMzqfJMFDfE2IyTE8Pv | 4.8 |  | 1.4 | 850 | 1 | 500 | 0.55 | 380
2019-05-10 11:24 | SLR-045 | 2019-05-10 | 11:00 | Flowing | No issues | https://drive.google.com/open?id=1992ELl72lSrffmDtCARyDUPp-mN6N6BX | 7.5 |  | 0.88 | 2430 | 1.02 | 2320 | 1.25 | 2980
2019-05-15 11:34 | SLR-045 | 2019-05-15 | 11:30 | Flowing | No issues | https://drive.google.com/open?id=14ikJuoQ3xZKn6sao-QKuYMgQdyRNX9m0 | 7.3 |  | 1.9 | 4063 | 1.49 | 3800 | 1.42 | 3240
2019-05-06 16:08 | SLR-045A | 2019-05-06 | 16:00 | Flowing | Smells like chlorine |  | 7.6
2019-05-09 21:30 | SLR-045A | 2019-05-09 | 11:00 | Flowing | Very fast flow. Main weir | https://drive.google.com/open?id=1-4Bin3N8ndNff8eDFNJycQqpyLP2tbka | 7.5 |  | 0.6 | 1050 | 0.4 | 1170 | 0.4 | 1070
2019-05-10 11:20 | SLR-045A | 2019-05-10 | 10:45 | Flowing | No issues. | https://drive.google.com/open?id=1-mwXkwl4v9Kapn3MpODSOu2PIBXIfWcR | 7.75 |  | 1.26 | 3340 | 0.95 | 2410 | 0.77 | 2050
2019-05-15 11:59 | SLR-045A | 2019-05-15 | 12:00 | Flowing | No issues | https://drive.google.com/open?id=1ZOanh1oBBHtWcBECbSTiDxoSAjBQNVb0 | 2.7 |  | 5.95 | 1063 | 4.83 | 695 | 6.05 | 830
2019-05-06 16:11 | SLR-045B | 2019-05-06 | 16:00 | Ponded | Can't tell if leaking. Too wet from flow at SLR-045A. Cement is close to bottom of V |  | 0
2019-05-09 21:32 | SLR-045B | 2019-05-09 | 11:15 | Ponded | No flow. | https://drive.google.com/open?id=1DN9yNgTPLp4g_hWWzbIhDdhpHLIxltNH | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
2019-05-10 11:17 | SLR-045B | 2019-05-10 | 10:30 | Ponded | Low flow, unable to sample. | https://drive.google.com/open?id=1xfr0cuPMuq7DkTiAIiuEzctMph4CEf59 | 0
2019-05-15 11:51 | SLR-045B | 2019-05-15 | 11:45 | Flowing | Very little flow - unmeasurable, one breakaway popped | https://drive.google.com/open?id=1i-jHsiHtP2hfj_LZrZmIdYs0weUXXZ7g | 0.1
2019-05-09 10:12 | SLR-095 | 2019-05-09 | 10:05 | Flowing | Sand around sensor | https://drive.google.com/open?id=1y_i8CkzSmWJGKUgJAPo_LdHlEqOGrxgh | 3 |  | 6.91 | 1320 | 4.01 | 810 | 4 | 800
2019-05-09 21:27 | SLR-095 | 2019-05-09 | 10:10 | Flowing | Energy dissipating location | https://drive.google.com/open?id=1ln-rBTKx0i5eGA8VhhP6kTjfgGMMm-jt | 3 |  | 6.91 | 1320 | 4.01 | 810 | 4 | 800
2019-05-10 14:04 | SLR-095 | 2019-05-10 | 11:26 | Flowing | flowing no problems found |  | 2.9 |  | 15 | 2650 | 15 | 2650
2019-05-15 12:42 | SLR-095 | 2019-05-15 | 12:32 | Flowing | No issues | https://drive.google.com/open?id=1WX04DtkedH1pu2qC0_8KW0AKOU-5f9ER | 2.7 |  | 5.32 | 885 | 8.92 | 1510 | 8.62 | 1450
2019-05-07 12:07 | SWT-019 | 2019-05-07 | 12:00 | Flowing | Weird maggot things in pool | https://drive.google.com/open?id=159zx9JoWOb8PyZYHKcOeIikAYl88cwKk | 0.3 |  | 180.25 | 110
2019-05-08 10:35 | SWT-019 | 2019-05-06 | 22:26 | Flowing | Probe cable pushes itself loose from Port connection. Used string to keep it tied down |  | 1 |  | 15 | 140
2019-05-09 10:04 | SWT-019 | 2019-05-09 | 9:56 | Flowing | No issues | https://drive.google.com/open?id=1g6lvviYsrC340yCZm7jTRLngTKdUqe15 | 0.7 |  | 60 | 300 | 45 | 245 | 60 | 305
2019-05-10 10:46 | SWT-019 | 2019-05-10 | 10:37 | Flowing | Flow increased after the first measurement due to rain flow. Second level was 0.7cm and third was 1.0cm. |  | 0.6 |  | 45 | 130 | 45 | 430 | 45 | 1180
2019-05-07 12:46 | SWT-030 | 2019-05-07 | 0:31 | Flowing | No issues | https://drive.google.com/open?id=1k0UnwxoMBbwmy8nJ5NuKG7ADirF4e8bf | 2.5 |  | 9.61 | 2020
2019-05-08 14:40 | SWT-030 | 2019-05-08 | 9:55 | Flowing | None |  | 2.5 |  | 30 | 6140 | 30 | 6360 | 30 | 6250
2019-05-09 10:40 | SWT-030 | 2019-05-09 | 10:31 | Flowing | No issues | https://drive.google.com/open?id=1AVdd6R_XIM-oPJ9FJOhibOTCN7W4R-zH | 3.6 |  | 3.76 | 1460 | 7.49 | 2800 | 6.89 | 2460
2019-05-10 11:17 | SWT-030 | 2019-05-10 | 11:10 | Flowing | None |  | 2.5 |  | 30 | 6200 | 30 | 6300
2019-05-07 15:18 | SWT-055 | 2019-05-07 | 13:04 | Flowing | Water overflowing on side, weir bowing, water at top of v notch | https://drive.google.com/open?id=1EzFpTU2lV1S_So7I3BbV6AUQSKmIVbqJ, https://drive.google.com/open?id=11eM5BcsY1mFJHsVr10IrJX9E3MfJnMBd | 14.5 |  | 1.03 | 14200
2019-05-08 14:43 | SWT-055 | 2019-05-08 | 10:40 | Flowing | High flow |  | 10 |  | 1.47 | 7620 | 1.25 | 7230 | 1.44 | 7580
2019-05-09 11:13 | SWT-055 | 2019-05-09 | 11:05 | Flowing | Very high flow, made flow measurements difficult. | https://drive.google.com/open?id=1fr8iPrKeWg9ZluWJn0s_ehpyJskhL8MK | 10.5 |  | 0.87 | 4420 | 0.85 | 5460 | 1.11 | 5570
2019-05-10 11:33 | SWT-055 | 2019-05-10 | 11:31 | Flowing | High flow |  | 10 |  | 1.68 | 7050 | 1.66 | 7030
2019-05-07 13:57 | SWT-055A | 2019-05-07 | 13:33 | Flowing | Patched concrete in right side since it was below top of weir plate. | https://drive.google.com/open?id=157lIFmRrHi7xLF7hYukOgaUZipPX2Eiw, https://drive.google.com/open?id=1vVhFsIVkXR-3Q0Vmu626zNL8LOEiurXB | 9 |  | 0.84 | 3100
2019-05-09 11:48 | SWT-055A | 2019-05-09 | 11:40 | Flowing | Fast flow but able to capture. | https://drive.google.com/open?id=1yKxiKxLkhAAuMhMR8gg_ywtCs0v7isNn | 9.5 |  | 1.8 | 6850 | 0.8 | 3930 | 1.23 | 4680
2019-05-10 11:46 | SWT-055A | 2019-05-10 | 11:43 | Flowing | None |  | 7.7 |  | 2.69 | 7950 | 2.57 | 6800 | 2.14 | 6300
2019-05-14 09:54 | SWT-055A | 2019-05-14 | 9:47 | Flowing | No issues |  | 8.1 |  | 1.14 | 3200 | 1.27 | 3110 | 1.12 | 3260
Note on G175: Responder updated this value.

## Site list
CAR-015
CAR-059
CAR-069L
CAR-070
CAR-072
CAR-072O
CAR-072Q
HST01
SDG-072
SDG-074
SDG-077
SDG-080
SDG-084
SDG-085
SDG-085M
SDG-115
SDG-115B
SDR-036
SDR-036J
SDR-041
SDR-064
SDR-097
SDR-098
SDR-127
SDR-127B
SDR-151
SDR-203A
SDR-204A
SDR-207
SDR-207G
SDR-207L
SDR-207M
SDR-228
SDR-554
SDR-607
SDR-754
SLR-041
SLR-045
SLR-095
SLR-150
SLR-152
SLR-152A
SLR-152H
SLR-155
SLR-155F
SWT-019
SWT-023
SWT-030
SWT-055
SWT-055A
SWT-235
CAR-070T1
CAR-070T2
CAR-070T3
CAR-070T4
CAR-070T5
CAR-070T6
CAR-072T1
CAR-072T2
CAR-072T3
CAR-072T4
CAR-072T5
CAR-072T6
LAB_TESTT1
LAB_TESTT2
LAB_TESTT3
LAB_TESTT4
LAB_TESTT5
LAB_TESTT6
SDG-080T1
SDG-080T2
SDG-080T3
SDG-080T4
SDG-080T5
SDG-080T6