## Sheet1
Site | Notes
CAR-072 | None concerning flow. Water quality sampling teams noted a greenish color during sampling
SDG-072 | Alta data is lower but there is a lot of data dropout. Flow data matches up very well with QC measurements
SDG-084 | Battery failure 7/16-7/22. Probe failed 7/30 and was replaced 8/5. Alta data is much lower and doesn't fit the same flow pattern.
SDG-085 | None
SDR-036 | High flow event 7/1. It's mostly drying out.
SDR-041 | Sensor failure, was replaced 7/16. New probe is not well-calibrated. It may need an offset adjustment.
SDR-064 | Demobed 7/12
SDR-098 | The Alta data doesn't agree very well in pattern after 7/14, but weir data matches up with available photos pretty well. Alta data is lower in level overall and supports adjusting the offset. Appears the later June and July QC points are lower now, indicating drift or sensor movement. Offset could be adjusted. Flows are more frequent after 7/20
SDR-127 | New probe installed. High flow event 7/16. Could use more calibration/QC points since many in May and June were made when probe was going bad.
SLR-045 | None
SLR-095 | Adjusted the offset for the new probe installed in June

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only