## Sheet1
Site | Notes | = Op Plan Site
CAR-070 | There's a data gap 6/13-17 due to battery failure. A high flow on 8/7 was likely not stormflow, since there was no rain observed by gauges or cameras, but there was a drop in conductivity. This flow may have been a permitted discharge? Offset was adjusted for final deliverable.
CAR-072 | No notes. Site was monitored continuously with no issues.
CAR-072B | No notes. Data from July-September adjusted for final deliverable
CAR-072O | No notes. No baseflow, just regularly occurring overnight peak flows
SDG-072 | Daily pattern of flows except for Monday. Weir was potentially leaking in August; patched Aug 30. Slightly higher flows following weir repair.
SDG-080 | High baseflow and regular daily high flows.
SDG-084 | The original probe failed, and new probe was installed 6/18, then again on 8/5. Several periods of foamy water in time-lapse pictures indicating possible wash water source but flows are usually at night. High TDS during low flows (possibly groundwater) drops during higher flows (tap/reclaimed water influence). Some periods of very foamy water
SDG-084J | Probe failed and was replaced 6/18. Very odd flow pattern after 8/20. Seems like a seasonal trend downward. One weird flow spike was deemed erroneous since there was no change in temp or conductivity but the one flow spike was deemed legitimate since there was an associated blast of sediment and change in conductivity
SDG-085 | No notes. Daily high flows
SDG-085G | No notes.
SDG-085M | No notes. Air temp unusually high, typically above 85-95
SDR-036 | No baseflow, just a few intermittent flows usually around 5am on weekdays. Mostly dry in July, August, September
SDR-041 | Large sustained flow 8/15 for about 8 hours, with increased TDS. Probe was damaged by May storms and not adequately fixed until July. The probe failed and was replaced 7/16. Missing data in September due to probe cord being disconnected by large flow 9/8.
SDR-064 | Monitoring equipment was demobed in July to accommodate construction in the channel.
SDR-097 | Mostly dry except for several large flows including two overtopping flows, one of which was confirmed in field observations.
SDR-098 | Regular pattern of early morning higher flows. Offset was adjusted sligthly for the August data to correct for sensor drift.
SDR-1024 | Regular pattern of flows Fri-Tuesday 3-6 am. Offset adjusted for final deliverable
SDR-1031 | Regular pattern of flows in June/July then kind of wonky and lots of ponding/dry in August/September
SDR-127 | Lots of leaf debris made monitoring challenging. Very irregular flows, doesn't seem to follow any pattern. Offset was adjusted for August/September data due to new probe (installed 6/17) that required recalibration.
SDR-127B | Several extremely high flows are present in data but not always observed at the downstream SDR-127. There are a number of overtopping flows that persist for several hours and showed extremely high levels (on the order of 50" of water level. The pipe is only 36" so these data are highly suspect, but corroborated by observations of debris at approximately 50" above the vault floor.
SDR-203A | Several very high overtopping flows. Breakaways popped open a few times leading to data gaps. Offset adjusted slightly from May provisional deliverable.
SDR-204A | Probe failed and was replaced 6/18. Conductivity seems way too high. Several very high overtopping flows. Breakaways popped open a few times leading to data gaps.Offset adjusted a little bit from May. SDR-203A and -204A both showed very high peaks at roughly the same time on 7/16, 9/12 and 13. Seems like possible stormflow or other non-residential source? Not sure what the drainage areas are like.
SDR-207 | Offset adjusted from May. Battery failure caused data gap 7/31-8/5. High flows from SDR-203A and 204A are evident on 7/16, 9/12, 9/13, but peak flow rate is higher than both of those combined. Were there other outfalls experiencing these flows? Undetected rainfall?
SDR-223 | Some high flows in July but otherwise mostly low but regular peaked flows
SDR-228 | Site was vandalized, and repaired on 7/15 with a new probe.High flow 7/19 but otherwise very low flows. Was vandalized and probe replaced
SDR-568 | Data was corrupted on the datalogger from 8/18 - 9/5.
SDR-723 | A period of flow in end of June early July but otherwise mostly not flowing
SDR-740 | Very regular nightly flows until 7/8 and then less regular but still frequent peak flows
SDR-751 | Constant but variable flows. Weir was apparently leaking after the 9/4 storm, data was clipped.
SDR-772 | Very high flow on 7/16 but otherwise mostly low, peaky flow
SDR-780 | A series of wet weather events in May and one in September. Several high flow events not assosiated with wet weather (5/13-5/14, 8/15, and 9/13). Data was slightly adjusted from May deliverable to improve calibration.
SDR-939 | A series of wet weather events in May. Two wet weather events in June. Last wet weather event 9/4. Applied offsets due to apparent drifting caused by May and September stormflow events
SLR-045 | Weird red color 7/30. A series of wet weather events in May. Confirmed pool overflow 6/13-6/21 and 7/20-7/22. Field staff noted on 7/31 that SLR-045 level was lower than SLR-045A. Field staff suspected leak and added extra morter around weir seam. From 7/28 on, consistent negative level periods in raw data. Data processing team suspects a leak in the conveyance between SLR-045A and SLR-045.
SLR-045A | A series of wet weather events in May. Data drop out 6/13 due to logging error. Data drop out 6/21-6/25 due to battery failure. Erroneous data 7/9-7/15.
SLR-045B | A series of wet weather events in May. Data drop out 6/13 due to logging error. Data drop out 6/21-6/25 due to battery failure. Probe replaced 6/17
SLR-095 | Faulty probe replaced 6/17/19.High flow 8/30 confirmed by game cam. A series of wet weather events in May. Last wet weather event 9/4. Data drop outs 8/1-8/5 due to battery failure.
SWT-019 | A series of wet weather events in May. Last wet weather event 9/4. Data was slightly adjusted from May deliverable to improve calibration.
SWT-030 | A series of wet weather events in May. Last wet weather event 9/4. Data drop out between 7/28 and 7/30 due to battery failure.
SWT-055 | A series of wet weather events in May. Two wet weather events in June. Last wet weather event 9/4. Data was slightly adjusted from May deliverable to improve calibration.
SWT-055A | A series of wet weather events in May. Two wet weather events in June. Data drop out from 7/26-7/30 due to battery failure. Last wet weather event 9/4.

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only